## mail-approval-shutdown
S # | DISCO | Circle | Division | Sub Division | Name of 132 KV Grid Station | Name of Feeder | Feeder Code | Date | Time From | Time To | Purpose of Shut Down | Affected Area | Remarks
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Margalla | 132 KV T/Line Fateh jang – Bahtarmore T-Off Fauji Cement plant. (ISO-101) (along with related Earth Switches.) (FTJ-1 – BMW-1) |  |  | 09-01-2026 | 09:00 Hrs | 14:00 Hrs | For Safety purpose for de-jumpering at location No. 94 (dead Tower T-Off FCP) to isolate the working portion for dismantling of existing towers between Location No. 94 to Fateh Jang for remodeling of 132 KV T/Line New Wah to Fateh Jang to Bahtar More. | During this Shut Down only Fauji Cement Plant will be affected for 03 hrs & after de-jumpering the same will be fed from 132 KV Bahtarmore. However, 132 KV GSS Bahtar More will be fed from New Wah side & 132 KV GSS Fateh Jang will be fed from Sangjani along with other sources.
2 |  |  |  |  | 132 KV T/L Bahtermore (BMW-1) to Tower No. 94. (Dead Tower FCP) along with related earth switch |  |  | 09-01-2026 To 25-02-2026 (Contineous) | 09-01-2026 14:00 Hrs | 25-02-2026 16:00 Hrs | During this period, the portion of line will be isolated/ de-energized as working portion from 132 KV GSS Bahtermore to location No. 94. | No area will be affected. As 132KV Fauji Cement pland will be fed from 132KV GSS Fateh Jang side & 132KV GSS Bahtermore will be fed from 132KV GSS New Wah side.
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | A.E (T) Sub Divisoin No-I Islamabad | 132KV Kahuta City (KHC-2) - Palandri (PLD-3) along with related earth Switch. |  |  | 17-01-2026 To 15-02-2026 (Contineous) | 17-01-2026 08:00 Hrs | 15-02-2026 18:00 Hrs | For Erection/stringing purpose | No area will be affected as 132KV GSS Kahuta City along with Chaint will be fed from 132KV GSS KRL Kahuta side & Palandri, Tararkhal & Hajeera will be fed from Kotli side.
2 | IESCO | GSO CIRCLE IESCO ISD | SS&TL DIVISIONIESCO RAJJAR | A.E (T) Chakwal | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) |  |  | 17-01-2026 to 15-02-2026 (Contineous) | 15-01-2026 08:00 Hrs | 15-02-2026 18:00 Hrs | Remodeling/Stringing of Chakwal - Talagang circuit from Loc No. 01 to 33 | 132KV GSS Bhagwal will be affected from 09:00 Hrs to 15:00 Hrs. after that No area will be affected as 132KV Chakwal already feeding from 500KV Rawat, Bhagwal will be fed from Talagang side & Talagang will be fed from Tamman side.
1 | IESCO | Cantt | Rawat | Kahuta | 132KV Kahuta City | Kahuta City-1 | 9001 | 24.01.2026 26.01.2026 28.01.2026 31.01.2026 02.02..2026 04.02.2026 07.02.2026 09.02.2026 11.02.2026 14.02.2026 | 07:00 | 18:00 | for Errection/Stringing at Location No. 05 to 26 at 132KV T/Line Kahuta City to Plandri. | Kahuta City-1 & Surrounding area
2 | IESCO | Cantt | Rawat | Kahuta | 132KV Kahuta City | Lehtrar-1 | 9005 | 22.01.2026 24.01.2026 26.01.2026 28.01.2026 31.01.2026 02.02.2026 04.02.2026 07.02.2026 09.02.2026 11.02.2026 14.02.2026 |  |  |  | Lehtrar-1 & Surrounding area
1 | IESCO | Chakwal | Chakwal | Main Bazar | 132KV Chakwal | Main Bazar | '002214 | 24.01.2026 27.01.2026 31.01.2026 03.02.2026 07.02.2026 10.02.2026 14.02.2026 17.02.2026 | 09:00 | 14:00 | For Dismantling of HT/LT Structures and shifting of T/F from old to new line under area planning of 11 KV Islamia Chowk Feeder and 11 KV Main Bazar Feeder Emanating from 132 KV Chakwal Grid station | Surrounding area of Feeder
2 | IESCO | Chakwal | Chakwal | Main Bazar | 132KV Chakwal | ISLAMIA CHOWK | '002223 | 26.01.2026 29.01.2026 02.02.2026 11.02.2026 | 09:00 | 14:00 | For Shifting of line under deposit head Punjab Highway, CM Punjab new road construction project Bhoun road Chakwal | Surrounding area of Feeder
1 | IESCO | Jhelum | Jhelum-II | Rural | Jhelum | Pakhwal | 7720 | 22.01.26 24.01.26 27.01.26 31.01.26 | 0900 | 1200 | Stringing of 11KV Pakhwal Feede | Vill: Pakhwal, Chak Doulat etc
9 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-1 (20/26 MVA) 132KV GSS D-12 | following 11kv feedeers will be affected |  | 07-02-2026 | 09:00 | 12:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | FECHS (E-11/2) | 104003 |  |  |  |  | FECHS Sector (E-11/2)
[6 empty] | D-12/2 | 104002 |  |  |  |  | SectorD-12/2
[6 empty] | D-12/1 | 104001 |  |  |  |  | Sector D-12/1
[6 empty] | Services | 104005 |  |  |  |  | Services Society
[6 empty] | Shah Allah Ditta | 104011 |  |  |  |  | SHAH ALLAH DITTA PIND SIRISARAL,PIND SANGRIYAL
[6 empty] | Northern Strip E-11 | 104013 |  |  |  |  | Northern Strip E-11
[6 empty] | Northern Strip -2 | 104014 |  |  |  |  | Northern Strip -2
10 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-2 (20/26 MVA) 132KV GSS D-12 | following 11kv feedeers will be affected |  | 08-02-2026 | 9:00 | 11:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | Railway road | 104004 |  |  |  |  | DHREK MOHRI,BANNI STOP,ABADI RAILWAY RD
[6 empty] | D-12/Markaz | 104010 |  |  |  |  | Sector D-12/Markaz
[6 empty] | D-12/4 | 104007 |  |  |  |  | Sector D-12/4
[6 empty] | D-12/3 | 104006 |  |  |  |  | Sector D-12/3
[6 empty] | MPCHS | 104008 |  |  |  |  | E-11/3 (MPHS)
[6 empty] | NPF | 104009 |  |  |  |  | SECTOR E-11/4 (NPF)
[6 empty] | Kalinjar | 104012 |  |  |  |  | village Kalinjar & srounding
11 | IESCO | GSO | SS&TL Islamabad | AE(T) No.2 | Power Transformer T-9 (20/26 MVA) 500KV GSS New Rawat | following 11kv feedeers will be affected |  | 08-02-2026 | 9:00 | 13:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rajjar Team.
[6 empty] | Relaince | 064501 |  |  |  |  | Relaince
[6 empty] | Behal | 064507 |  |  |  |  | Behal
[6 empty] | Ghumti | 064512 |  |  |  |  | Ghumti
[6 empty] | IFM | 064511 |  |  |  |  | IFM
[6 empty] | Jrar camp | 064510 |  |  |  |  | Jrar camp
12 | IESCO | GSO | SS&TL Islamabad | AE(T) No.2 | Power Transformer T-10 (20/26 MVA) 500KV GSS New Rawat | following 11kv feedeers will be affected |  | 08-02-2026 | 12:00 | 16:00
[6 empty] | Industrial | 064502 |  |  |  |  | Industrial
[6 empty] | Aamar | 064506 |  |  |  |  | Aamar
[6 empty] | Lab-2 | 064505 |  |  |  |  | Lab-2
[6 empty] | Lab-1 | 064504 |  |  |  |  | Lab-1
[6 empty] | Jhata Hathyal | 064503 |  |  |  |  | Jhata Hathyal
1 | IESCO | City | Westridge | Tarnol | KTM | EME Complex | 008615 | 28-01-2026 31-01-2026 10.02.2026 12.02.2026 18.02.2026 | 10:00 Hrs | 13:00 Hrs | HT Fitting & Stringing AQ Khan Research Laboratory & Haji Camo widening | EME Complex
2 | [5 empty] | Jhangi | 008608 |  |  |  |  | Shaheenabad, Faisal Cly, Jhangi Syedan, Tarnol & Surrounding
3 | [5 empty] | P&T Wani | 008610 |  |  |  |  | Jhangi Syedan, Haidri Chowk & Surrounding area
4 | [5 empty] | Azharabad | 008620 |  |  |  |  | Peshawer Road, Pind Paracha
5 | [5 empty] | Golra | 008605 |  |  |  |  | Naseerabad Awan Colony
6 | [5 empty] | Zarkoon Heights | 008628 |  |  |  |  | Zarkoon Heights
7 | [5 empty] | CWO | 008601 |  |  |  |  | --
8 | [5 empty] | New Azharabad | [5 empty] | Not Energized
1 | IESCO | IBD | XEN-I | Rawal | Zero Point | Service Road | 22333 | 02-02-2026 05.02.2026 09.02.2026 12.02.2026 | 10:00 | 13:00 | 11KV Vip Feeder From U/G to O/H From Zero Point Grid Station to NACTA Office G-7/1 Islamabad | Service Road and Surrounding Areas
2 | IESCO | IBD | XEN-I | Khana Dak | Zero Point | Highway | 22315 |  |  |  |  | Highway and Surrounding Areas
3 | IESCO | IBD | XEN-I | Khana Dak | Zero Point | Zia Masjid | 22342 |  |  |  |  | Zia Masjid and Surrounding Areas
4 | IESCO | IBD | XEN-I | G-6 | Zero Point | Aabpara | 22303 |  |  |  |  | Aabpara and Surrounding Areas
1 | IESCO | Attock | Taxila | Sangjani | 132KV B17 GRID | SARAY KHARBOZA | 121802 | 07/02/2026 10/02/2026 12/02/2026 14/02/2026 17/02/2026 19/02/2026 | 09:00am | 12:00pm | AMI Project | SARAY KHARBOZA & Surrounding area
2 |  |  |  |  | 220KV SANGJANI GRID | SHAH ALLAH DITTA | 081011 | 06/02/2026 09/02/2026 11/02/2026 13/02/2026 16/02/2026 18/02/2026 |  |  |  | SHAH ALLAH DITTA & Surrounding area
1 | IESCO | Cantt | Cantt | Jhanda | 132KV Chaklala | CNC | 002524 | 01.02.2026 08.02.2026 15.02.2026 | 10:00 | 13:00 | For shifting of HT/LT line from Jinnah Park Chowk to Ammar Chowk | Army House & sorrounding area | Subject to NOC for 11 KV CNC Feeder from Army House
2 |  |  | Tariqabad | Tariqabad | 132KV Chaklala | Humayun Road | 002525 |  |  |  |  | Askari 13, 14 & 7, Dk Nawaz & sorrounding area
3 |  |  | Cantt | Jhanda | 132KV Cantt | Jhanda | 017921 |  |  |  |  | jhanda chichi police line ,special branch askari 10 police station c/line &iesco complex
4 |  |  | Tariqabad | Tariqabad |  | State Bank | 002521 | 15.02.2026 |  |  |  | New gulzar-e-Quaid & sorrounding area
1 | IESCO | Jhelum | G. Khan | Gujar Khan | Gujar Khan | Gujar Khan | 4901 | 02.02.26 09.02.26 12.02.26 | 09:00am | 12:00pm | Completion of deposit works beautification of Main Bazar Gujar Khan & Sohawa Bazar | Gujar Khan City, SIE etc
2 | IESCO | Jhelum | G. Khan | Gujar Khan | Gujar Khan | Scheme-I | 4922 |  |  |  |  | Scheme Gujar Khan, Barki etc
3 | IESCO | Jhelum | G. Khan | Sohawa | Sohawa | Main Bazar | 125005 | 03.02.26 07.02.26 11.02.26 |  |  |  | Main Bazar Sohawa, Noor Pur Syedan etc
1 | IESCO | Attock | Taxila | H/Abdal | 132 Bhatar More | Bharama | 112005 | 04-02-2026 08-02-2026 12-02-2026 | 09:00 | 16:00 | for safety purpose during Stringing of conductor between location No. 71 to 77 for remodeling work of 132kv T/line New Wah to Bhatar More to Fateh Jang | Bharama
2 |  |  |  |  | 132 KV New Wah | Pathar Garh | 014609 | 08-02-2026 12-02-2026 | 09:00 | 16:00 |  | Pather Gar
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | R.E New Wah | 132KV New Wah (WAH-5) to Loc No. 18 (open) along with related earth switch |  |  | 01-02-2026 | 09:00 Hrs | 12:00 Hrs | For safety purpose to mproivisw jumper for lod shifting of WAH-6 to WAH-5 for remodelling work of 132KV T/Line POF East, West and North. | 132KV POF East, West & North Grids (Consumer) will be affected.
2 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | R.E New Wah | 132KV New Wah (WAH-6) - POF East, North along with related earth switch |  |  | 01-02-2026 To 31-03-2026 (Contineous) | 01-02-2026 09:00 Hrs | 31-03-2026 16:00 Hrs | For saftety puprose for errection & stringing work between Loc No. 01 to 17 of WAH-6 portion for remodelling work of 132KV T/Line POF East, West & North. | No area will affected as POF East, West and North will mbe fed from 132KV GSS New Wah (WAH-5)
1 | IESCO | IBD | XEN-I | Rawal | Tramari | Waheedabad | 105516 | 02-02-2026 09.02.2026 11.02.2026 | 10:00 | 13:00 | SDG Work Dk Mangoo&Masjid Quba Chapar Chirah | Waheedabad and Surrounding Areas
2 | IESCO | IBD | XEN-I | Rawal | Tramari | Burma | 105502 |  |  |  |  | Burma and Surrounding Areas
1 | IESCO | City | St.Town | F-Block | 132 KV H-11 | Raja Sultan | 072716 | 03-02-2026 07.02.2026 09.02.2026 | 09:00 Hrs | 12:00 Hrs | Replacement of Damage HT PC pole with HT Structure 45' (Safety Hazard) | Raja Sultan and Surrounding areas
2 |  |  | City | Asgharmall | 132 KV H-11 | Eid Gah | 72714 |  |  |  |  | Eid Gah and Surrounding areas
3 |  |  |  |  | 132 KV Pirwadhai | Bagh Sardarn | 043326 |  |  |  |  | Bagh Sardaran and Surroundig areas
4 |  |  |  | Pirwadhai | 132 KV Pirwadhai | Mohammadi Chowk | 6438 |  |  |  |  | Muhammadi Chowk and Surrounding areas
5 |  |  |  | K.S.S | I-10 | Khayaban-e-Sir Syed | 6411 |  |  |  |  | K.S.S and Surrounding areas
1 | IESCO | IBD | B/Khu | Patriata | 132KV Kuldana Murree | TDCP | 13717 | 03-02-2026 09-02-2026 | 09:00 | 14:00 | Removal / Shifting of services remodling of Jhika Gali Chowk Tehsil & District Murree | Patriata Chair left
2 | IESCO | IBD | B/Khu | J/Gali | 132KV Kuldana Murree | MCM | 13716 |  | 09:00 | 14:00 |  | Murree Military college
3 | IESCO | IBD | B/Khu | J/Gali | 132KV Kuldana Murree | GHARIAL | 13711 |  | 09:00 | 14:00 |  | J/gali Bazar Gjarial camp.Kashmiri Bazar,seher bagla Aliot
4 | IESCO | IBD | B/Khu | Patriata | 132KV Kuldana Murree | Upper Topa | 13705 |  | 09:00 | 14:00 |  | Mohra Batnara, Sambal Bia, Ghora Bastal, Khajut, Hokra Karri.
5 | IESCO | IBD | B/Khu | Patriata | 132KV Kuldana Murree | Partriata | 13712 |  | 09:00 | 14:00 |  | Charhan, Mohra Syedan, Sambal Syedan, Ghel, Sorasi, Dhanda, Waghal, Bandi, Ban, Khalabut
6 | IESCO | IBD | B/Khu | Patriata | 132KV Kuldana Murree | PAF | 13710 |  | 09:00 | 14:00 |  | PAF
7 | IESCO | IBD | B/Khu | Murree | 132KV Kuldana Murree | Kuldana | 13702 |  | 09:00 | 14:00 |  | Mall Road, Kashmir Point and Mashyari.
8 | IESCO | IBD | Div-I | Tarlai | 132 KV Rawal | Scheme-II | 17430 | 10-02-2026 16-02-2026 | 09:00 | 14:00 | External Electrification work IRO IT Technology Park Chak Shahzad Islamabad | Scheme -I & Scheme - II
9 | IESCO | IBD | B/Kahu | B/K (U) | 132 KV Tramri GS | Kurri | 105506 |  | 09:00 | 14:00 |  | Kuri Sher.
10 | IESCO | IBD | B/Kahu | B/K (U) | 132 KV Tramri GS | Rehara | 105511 |  | 09:00 | 14:00 |  | Mohra Noor, Rehara
11 | IESCO | IBD | B/Khu | B/K (U) | 132 KV Tramri | CM Pak Zong | 105509 |  | 09:00 | 14:00 |  | Independent
12 | IESCO | IBD | Div-I | G-6 | Rawal | Mehfooz Shaheed/Chak Shehzad | 17424 |  | 09:00 | 14:00 |  | Rawal Town, Schme-4, Sohan Vil, CDA Tubewells (Ameen Faheem)
18 | IESCO | IBD | B/Kahu | B/K (U) | University | N.I.H | 89210 | 04-02-2026 09-02-2026 12-02-2026 16-02-2026 | 09:00 | 14:00 | Stringing of HT line/ Installation of HT Structure 58' Beneath the existing HT lines in IRO Bifurcation of 11KV Shah Pur Feeder /Strinning of HT line in R/O External Electrification of Park View City Housing Society | Malpur, Lake view, Banigala, NIH, Dk. Jillani, LVL, Dk. Mohri.
19 | IESCO | IBD | B/Kahu | B/K (U) | University | T&T | 89204 |  | 09:00 | 14:00 |  | Mangoo Town, 17 Meel, Abdullah Town.
20 | IESCO | IBD | B/Khu | B/K (U) | 132/220 KV G/S B/Khu | B/ Khu-I | 89201 |  | 09:00 | 14:00 |  | Bhara Kahu Bazar, Sanjalian and Surrounding Area
21 | IESCO | IBD | B/Khu | B/K (U) | 132/220 KV G/S B/Khu | B/ Khu-II | 89219 |  | 09:00 | 14:00 |  | Madina Town, Nain Sukh,and Surrounding Area
22 | IESCO | IBD | B/Khu | B/Khu (R) | 132/220 KV G/S B/Khu | Tret | 89203 |  | 09:00 | 14:00 |  | Nai Abadi,Country Form
23 | IESCO | IBD | B/Khu | B/K (R) | 132/220 KV G/S B/Khu | Golf city | 89216 |  | 09:00 | 14:00 |  | Golf City
24 | IESCO | IBD | Div-1 | Nilore | 132/220kv G/S B/Khu | Park View | 122511 |  | 09:00 | 14:00 |  | Park View city
25 | IESCO | IBD | Div-1 | Nilore | 132/220kv G/S B/Khu | Athal | 89217 |  | 09:00 | 14:00 |  | Simly dam road , Athal Road, Tumair, Athal.
26 | IESCO | IBD | Div-I | Tarlai | 132 KV Tramri GS | Kund Rajgan | 105522 | 03-02-2026 11-02-2026 15-02-2026 | 09:00 | 14:00 | External Electrification work IRO IT Technology Park Chak Shahzad Islamabad | Chatta Bakhtawa and surrounding Area
27 | IESCO | IBD | Div-I | Tarlai | 132 KV Tramri GS | King Hamad University | New |  | 09:00 | 14:00 |  | King Hamad University
28 | Div-I | IBD | Div-I | TARLAI | TARMARI | TARMARI | 105503 |  | 09:00 | 14:00 |  | JAIGOT ROAD ,GULBERAG TOWN,JABBI, QAZI ABAD, TAMMA
29 | Div-I | IBD | Div-I | Tarlai | Trammari | Comsats | 105508 |  | 09:00 | 14:00 |  | Comsats University
30 | IESCO | IBD | Div-I | Tarlai | 132 KV Tramri | Chata | 105507 |  | 09:00 | 14:00 |  | Chattah Bakhtawar and surrounding
16 | IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot | 04MVA Power Transformer T-1 at 132KV GSS Fatehpur | following 11kv feedeers will be affected |  | 07-02-2026 | 11:00 Hrs | 15:00 Hrs | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | City | 103301 |  |  |  |  | Bulk Supply
17 | IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot | 04MVA Power Transformer T-2 at 132KV GSS Fatehpur | following 11kv feedeers will be affected
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Datot | 103306 |  |  |  |  | Bulk Supply
18 | IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot | 04MVA Power Transformer T-3 at 132KV GSS Fatehpur | following 11kv feedeers will be affected |  | 08-02-2026 | 09:00 | 14:00
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Jandrot | 103305 |  |  |  |  | Bulk Supply
19 | IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot | 05MVA Power Transformer T-4 at 132KV GSS Fatehpur | following 11kv feedeers will be affected
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Mohra | 103302 |  |  |  |  | Bulk Supply
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Karala | 103304 |  |  |  |  | Bulk Supply
1 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV GSS Bahtar. | Babraki | 112015 | 06.02.2026, 16.02.2026, 18.02.2026, 24.02.2026, 26.02.2026 | 11:00 Hours | 13:00 Hours | 11 KV Pothar Gar feeder errecting of HT structures,PC Poles and HT stringing | Babraki Crushers,Lunda Market,Dara Market,Kohsar valley
2 | [5 empty] | Kohsar Valley | 112013
1 | IESCO | Attock | Pindi Gheb | Fateh Jang R | 132KV Fateh Jang | Tanaza Dam | 27215 | 31.01.2026 01.02.2026 07.02.2026 08.02.2026 14.02.2026 15.02.2026 | 09:00 | 14:00 | Defence Project Horizon Tech Service (Pvt) Ltd | Atomic Energy, Fateh Jang, Hastal, Taja Bara, Kot Fateh Khan, & Surrounding Area
2 | [5 empty] | Laniwala | 27210
3 |  |  |  | Fateh Jang U |  | City-II | 27216
4 |  |  |  | Fateh Jang U |  | Sajjad Shaheed | 27211
5 |  |  |  | Fateh Jang U |  | Nescom | 27218
1 | IESCO | Chakwal | Chakwal | Ghaziabad | Chakwal | MENGEN | 2211 | 12.02.2026 16.02.2026 | 9:00 | 12:00 | Completion of Safety Hazard Work at Village Mengen | Talagang Road, Oudherwal, Chakora, Dhoke Faisal, Dhakoo, Mengon, Bullay Bala, Chak Bhoun, Dhoke Maken, Vero, Lakhwal, Mehro Pelo etc
2 | IESCO | Chakwal | Chakwal | Main Bazar | Chakwal | ISLAMIA CHOWK | 2223 | 09.02.2026 | 9:00 | 12:00 | Completion of Road Widening of Project Chakwal-Kallar Kahar | Moti Bazar, Islamia Chowk to Bhoun Chowk, Nia Mohallah, Khumeni Chowk, Moh: Gharbi, Moh: Khawajgan, Sarpak, Kot Ganish Eid Gah,
3 | IESCO | Chakwal | Dhudial | Chakwal City | Chakwal | AARA BAZAR | 2218 | 07.02.2026 | 9:00 | 12:00 | For Safety Purpose | Ara Bazar, Urdu Bazar, Ghala Mandi, Railway Road, Talagang Road, Pindi Road, Cristian Colony, Moh: Rehmania, Dhoke Feroze etc
1 | IESCO | Cantt | T/Abad | Adiala | 132KV Adiala | Khasala | 109108 | 12.02.2026 | 10:00 | 13:00 | For completeion of LV work IRO Mehmoodabad Jarahi | Khasala & Surrounding areas
2 | [5 empty] | Kalyal | 109101 | 10.02.2026 |  |  | For completeion of LV work IRO Old Abadi Gorakh Pur | Kalyal & Surrounding areas
3 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Kamalabad | Dheri Hassanabad | 001027 | 11.02.2026 14.02.2026 17.02.2026 |  |  | For removal of Safety Hazad Pole & shifting of line at Newly erected pole | Dheri Hassanabad & sorrounding area
4 | [5 empty] | Lalkurti | 001004 |  |  |  |  | Lalkurti & Surrounding areas
5 | [5 empty] | Maj Riaz Manzoor | 001017 |  |  |  |  | Maj Riaz Manzoor Road & sorrounding area
1 | IESCO | City | westridge | Misrial | 132KV Pirwadhai | Askari-xi | 43325 | 07.02.2026 10.02.2026 12.02.2026 | 10:00 | 13:00 | Deposit work Army Grave yard | Askari-xi
2 | IESCO | City | westridge | westridge | 132KV KTM | NRC | 8622 |  |  |  |  | NRC
1 | IESCO | City | Westridge | Tarnol | Tarnol | Nogazi | 104901 | 05.02.2026 12.02.2026 18.02.2026 | 11:00 | 14:00 | Reconductoring of HT Line of Top City feeder | village Nogazi, Fateh Jang road
2 | IESCO | City | Westridge | Tarnol | Tarnol | Shalimar Town | 104912 |  | 9:00 | 14:00 |  | Shalimar Town
3 | IESCO | City | Westridge | Tarnol | Tarnol | Top City | 104905 |  | 9:00 | 14:00 |  | Top City
4 | IESCO | City | Westridge | Tarnol | Tarnol | Nogazi | 104901 | 09.02.2026 21.02.2026 | 9:00 | 14:00 |  | village Nogazi, Fateh Jang road
5 | IESCO | City | Westridge | Tarnol | Tarnol | Shalimar Town | 104912 |  | 9:00 | 14:00 |  | Shalimar Town
6 | IESCO | City | Westridge | Tarnol | Tarnol | Fizaiya-I | 104902 |  | 9:00 | 14:00 |  | Fizaya
7 | IESCO | City | Westridge | Tarnol | Tarnol | Fizaia-II | 104904 |  | 9:00 | 14:00 |  | Fizaya-II
8 | IESCO | City | Westridge | Tarnol | Tarnol | Top City | 104905 |  | 9:00 | 14:00 |  | Top City
1 | IESCO | Attock | Taxila | Hassan Abdal | 132KV New Wah | Hassan Abdal | 14617 | 08.02.2026 15.02.2026 | 09:00 | 14:00 | shfiting of HT/LT Hassan Abdal City under City Beautificaton and Public Safety initiave | Hassan Abdal
1 | IESCO | Attock | Taxila | Hassan Abdal | 132KV Bahtar | Babaraki | 112015 | 10.02.2026 12.02.2026 | 09:00 | 14:00 | 11KV Pather Ghar feeder Erection of HT Str, PC Poles & HT striniging | Babraki Crusher, Lunda Market, Dara Market, Kohsar Valley & Surrounding area
2 | IESCO | Attock |  |  | 132KV Bahtar | Khosar Valley | 112013 |  | 09:00 | 14:00
3 | IESCO | Attock | Pindi Gheb | Fateh Jang U | 132KV Bahtar | Jhang | 112004 |  | 09:00 | 14:00 |  | Village Jhang Ameer Khan Kareema
4 | IESCO | Attock | Taxila | Wah Cantt | 132KV Bahtar | Daraik | 112006 |  | 09:00 | 14:00 |  | Village Bahter, Pind Bahadur Khan, Darik
5 | IESCO | Attock | Taxila | Wah Cantt | 132KV Bahtar | Wah General Hospital | 112018 |  | 09:00 | 14:00 |  | Wah General Hospital | load shifted on Kashif Gul Feeder
6 | IESCO | Attock | Taxila | Wah Cantt | 132KV Bahtar | Kohistan Enclave | 112011 |  | 09:00 | 14:00 |  | Kohistan Enclave
7 | IESCO | Attock | Taxila | Wah Cantt | 132KV Bahtar | Bahtar More | 112020 |  | 09:00 | 14:00 |  | Wah Villas, Bather More, GT road Sadaat Colony
8 | IESCO | Attock | Taxila | Wah Cantt | 132KV Bahtar | P. Small Industrial | 112016 |  | 09:00 | 14:00 |  | Basti, Qabristan Road Lala Rukh
9 | IESCO | Attock | Taxila | Hassan Abdal | 132KV Bahtar | Barhama | 112005 |  | 09:00 | 14:00 |  | Brahma, Hisar, Chukra & Bukra
1 | IESCO | Attock | Taxila | Wah Cantt | 132KV GSS New Wah | Gudwal-I | 14615 | 07-02-2026 10-02-2026 | 08:00 Hrs | 16:00 Hrs | for safety purpose during stringing of conductor from location NO. 17 to 22 & 22 to 23 for remodeling of 132KV T/Line New Wah (Wah-5) to POF North | Gudwal-I
|  |  |  | Wah Cantt |  | Gudwal-II | 14616 |  |  |  |  | Gudwal-II
2 |  |  |  | Mora Chowk |  | Garhi Afghan | 14626 |  |  |  |  | Garhi Afghan
1 | IESCO | Cantt | Tariqabad | Chakri | 132KV Chakri | Chahan | 96802 | 09.02.2026 14.02.2026 17.02.2026 | 09:00 | 13:00 | For D/W Sky 47 Capital Smart City | Chan, Rajar, Kinger, Mera Kalwan, Mara Khurrd.
2 |  |  |  | Adyala |  | Chauntra | 96804 |  |  |  |  | Chountra, Pind Maloo, Adawal, Chokar, Dhalla, Kasala Kurd.
3 |  |  |  | Chakri |  | Rajjar | 96803 |  |  |  |  | Mujahid, Sihal, Pelo thallian, Kollian, Ghreeba moorat etc.
4 | [5 empty] | SPF | 96807 |  |  |  |  | Sadiq Poultry Form
5 | [5 empty] | Chakri | 96801 |  |  |  |  | Moorat & Surrounding areas
6 | IESCO | City Rwp | City | Committee Chowk | Cantt | Committee Chowk | 0017915 | 07-02-2026 10-02-2026 14-02-2026 16-02-2026 | 09:00 | 14:00 | Tipu Road Feeder HT Work | Committee Chowk arounding Srounding
7 | IESCO | City Rwp | City | Zafar-Ul-Haq Road | Cantt | Zafar-ul-Haq | 17914 |  | 09:00 | 14:00 |  | Zafar-ul-Haq Road, Murree Road, Srafraz Road , Dhoke Khabba,Mukha Singh State Milat Colony
8 | IESCO | City Rwp | City | Committee Chowk | Cantt | Arya Mohallah | 17933 |  | 09:00 | 14:00 |  | Arya Mohallah, Dhoke Elahi Bux
9 | IESCO | Cantt | Cantt | Civil Line | Cantt | Dk.Farman Ali | 17922 |  | 09:00 | 14:00 |  | Dhoke Farman Ali, Dk, Khabba, -T&T Exchange.
10 | IESCO | Cantt | Cantt | Civil Line | Cantt | Tipu road | 17916 |  | 09:00 | 14:00 |  | Tipu Road, Fauji Tower, Rwp Medical College
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | R.E 132KV GSS Rawal | 20/26MVA Power Transformer T-3 At 132KV GSS F-6, Islamabad (still not approved by CE (O&M) distb. |  |  | 07-02-2026 To 12-02-2026 (Contineous) | 07-02-2026 07:00 Hrs | 12-02-2026 20:00 Hrs | For safety purpose during augmentation of 20/26MVA Power Transformer T-3 with 40MVA Power Transformer | No area will be affected as load of Power Transformer T-3 will be shifted to Power Transformer T-2 through Bus Coupler through sub Incoming (Bus Coupler).
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Divisoin Rawalpindi | 500/220/132 KV T/L New Rawat to DHA Phase-4 Ckt (E1Q2 – DHR-1) & 132 KV T/L New Rawat to Old Chakri Ckt. (E2Q2 – CKR-1) Along with related Earth switches. |  |  | 08-02-2026 To 11-02-2026 (Contineous) | 08-02-2026 08:00 Hrs | 11-02-2026 18:00 Hrs | For Safety purpose during erection of ZM30+3 Towers at both locations No. 49 & 50, and stringing conductor from location No. 48 to 51 to provide clearance of Transmission Lines for Rawalpindi Ring Road Project. | No area will be affected, however 132 KV GSS DHA Phase-4 will be fed from 132 KV GSS Adyala & 132 KV Old Chakri will be fed from 132 KV GSS Chakwal Side.
2 |  |  |  |  | 500/220/132 KV T/L New Rawat to DHA Phase-4 Ckt (E1Q2 – DHR-1) & 132 KV T/L Chakri Road to Chakwal Ckt. (CHR-4 – CWL-6) Along with related Earth switches. |  |  | 13-02-2026 To 15-02-2026 (Contineous) | 13-02-2026 08:00 Hrs | 15-02-2026 18:00 Hrs | For Safety purpose during erection of ZM30+3 Towers at both location No. 19, and stringing conductor from location No. 18 to 20 to provide clearance of Transmission Lines for Rawalpindi Ring Road Project. | No area will be affected, however 132 KV GSS DHA Phase-4 will be fed from 132 KV GSS Adyala & 132 KV Chakri Road will be fed from 132 KV GSS I-16 Side
| IESCO | Cantt | Mandra | Wadala | 500/220/132 KV GSS New Rawat | Jhatha Hathial | 64503 | 14.02.2026 15.02.2026 | 08:00 | 16:00 |  | Jhatha Hathial
1 | IESCO | Chakwal | Chakwal | Ghazi Abad | 132 KV Grid Station Chakwal | Mureed | 2201 | 08.02.2026 | 10:00 | 12:00 | Replacement of Damaged PC Pole near Village Oudherwal | Village Oudherwal, Village Mureed, District Complex, Thoa Bahadar, Dhoke Sial, Hastal
1 | IESCO | City | St.Town | Chandni Chowk | 132 KV St.Town | Faizabad | 095813 | 07-02-2026 10-02-2026 | 10:00 Hrs | 13:00 Hrs | Shifting of 11 Kv line Faizabad Feeder near PSO Pump Hamza Camp Rawalpindi | Shamsabad, Gulshan Dadan, Murree Road, Faizabad
1 | IESCO | Attock | Attock | Attock Cantt | 132KV Sanjwal | Attock Cantt | 18901 | 10-02-2026 12-02-2026 17-02-2026 | 01:30pm | 04:30pm | Stringing & Erection of Pole iro 11KV independent Feeder MCH Attock | Attock Cantt & Surroundign Area
2 | [5 empty] | Dhoke Fateh | 18911 |  |  |  |  | Dhoke Fateh & Surroundign Area
3 | [5 empty] | D.i Colony | 18909 |  |  |  |  | D.i Colony & Surroundign Area
4 | [5 empty] | Katachry | 18902 |  |  |  |  | Katachry & Surroundign Area
1 | IESCO | City | S/Town | Sadiqabad | 132KV Chaklala | Benazir Bhutto Hospital | 2531 | 07-02-2026 10-02-2026 14-02-2026 17-02-2026 | 09:00 | 14:00 | For erection of poles RIC Feeder | Benazir Bhutto Hospital
2 | IESCO | City | City | Zafar-ul-Haq | 132KV Chaklala | Tehmasamabad | 2518 |  | 09:00 | 14:00 |  | Tehmasamabad
3 | IESCO | City | City | Zafar-ul-Haq | 132KV Chaklala | Dk.Hukam Dad | 2527 |  | 09:00 | 14:00 |  | Dk.Hukam Dad
4 | IESCO | Cantt | Cantt | Chaklala | 132 KV Chaklala | RIC | 2534 |  | 9:00 | 14:00 | For erection of poles RIC Feeder | RIC and Srounding Area
5 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Cantt | Askari-7 | 017919 | 08.02.2026 11.02.2026 15.02.2026 | 9:00 | 14:00 | For GPO Chowk underpass Signal Free Mall Road Project (Part A) Rawalpindi | Askari-7 & sorrounding area
6 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Cantt | Sir Syed Road | 017913 |  | 9:00 | 14:00 |  | Sir Syed Road & sorrounding area
7 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Cantt | CMH Flats | 017936 |  | 9:00 | 14:00 |  | Sir Syed Road & sorrounding area
8 | IESCO | Cantt | Cantt | Civil Line | 132KV Cantt | FFC | 017927 |  | 9:00 | 14:00 |  | FFC & sorrounding area
9 | IESCO | Cantt | Cantt | Civil Line | 132KV Cantt | Khadim Hussain Road | 017727 |  | 9:00 | 14:00 |  | Khadim Hussain Road & sorrounding area
10 | IESCO | Cantt | Cantt | Civil Line | 132KV Cantt | Adam Jee Road | 017932 |  | 9:00 | 14:00 |  | Adam Jee Road & sorrounding area
11 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Cantt | Askari-7 | 017919 | 18.02.2026 | 9:00 | 14:00 |  | Askari-7 & sorrounding area
12 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Cantt | Sir Syed Road | 017913 |  | 9:00 | 14:00 |  | Sir Syed Road & sorrounding area
13 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Cantt | CMH Flats | 017936 |  | 9:00 | 14:00 |  | Sir Syed Road & sorrounding area
14 | IESCO | Cantt | Cantt | Civil Line | 132KV Cantt | FFC | 017927 |  | 9:00 | 14:00 |  | FFC & sorrounding area
15 | IESCO | Cantt | Cantt | Civil Line | 132KV Cantt | Khadim Hussain Road | 017727 |  | 9:00 | 14:00 |  | Khadim Hussain Road & sorrounding area
16 | IESCO | Cantt | Cantt | Civil Line | 132KV Cantt | Adam Jee Road | 017932 |  | 9:00 | 14:00 |  | Adam Jee Road & sorrounding area
17 | IESCO | Cantt | Tariqabad | R.A Bazar | 132KV Cantt | GHQ Express | 17924 | 18.02.2026 15.02.2026 | 9:00 | 14:00 |  | GHQ & sorrounding area | Subject to provision of NOC from GHQ.
19 | IESCO | Cantt | Mandra | Wadala | 132 KV Old Rawat | Pind Jatla | 17727 | 2026-02-09 | 9:00 | 14:00 | Area Planing of 11KVA jatha Hathial and 11KVA Pind Jatla Feeder | Pind Jatla & Sorrounding Area
20 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Jatha Hathial | 64503 |  | 9:00 | 14:00 |  | Jatha Hathial & sorrounding Area
21 | IESCO | Cantt | Mandra | CB Khan | 500KV New Rawat | Bhall | 64507 | 2026-02-19 | 9:00 | 14:00 |  | Bhall & Sorrounding Area
22 | IESCO | Cantt | Tariq Abad | Adyala | 500KV New Rawat | Jarar Camp | 64510 |  | 9:00 | 14:00 |  | Jarar Camp & Sorrounding Area
1 | IESCO | City | S-Town | M-Town | 132 KV I-8 | Muzamil Town | 061133 | 07.02.26 | 900 | 1200 | For installation of Transformer | Muzamil Town & surrounding area
2 | IESCO | City | S-Town | M-Town |  | Khurram Colony | 061122 |  |  |  | For Safety purpose | Khurram Colony & Surrounding area
3 | IESCO | City | S-Town | M-Town |  | Kurri Road | 061123 |  |  |  | For Safety purpose | Kurri road & surrounding area
1 | IESCO | City | St.Town | Sadiqabad | 132 KV I-8 | A-Block | 061104 | 07.02.2026 | 11:00 Hrs | 14:00 Hrs | Tree Trimming | A.Block,Dk.Paracha,C-Block,Murree Road and surrounding area
2 |  |  |  |  | 132 KV St.Town | Affandi Colony | 095808 |  |  |  | Safety Purpose | S/Abad,M.Town,Afandi Colony,And Surrounding Area.
3 |  |  |  |  | 132 KV St.Town | C-Block | 095831 |  |  |  | Safety Purpose | C-Block, Dk Khillo, Kurri Road & Surrounding Area.
4 |  |  |  |  | 132 KV I-8 | A-Block | 061104 | 10.02.2026 |  |  | Tree Trimming | A.Block,Dk.Paracha,C-Block,Murree Road and surrounding area
5 |  |  |  | Ch. Chowk | 132 KV St.Town | National Market | 095822 |  |  |  | Safety Purpose | National Market, Asghar A/Mall Scheme and surounding area.
6 |  |  | City | Asgharmall | 132 KV St.Town | Asgharmall | 95805 |  |  |  | Safety Purpose | Asghar Mall Road, Kurree Road, cha sultan chowk, chaklala road
7 |  |  | St.Town | Sadiqabad | 132 KV St.Town | Sadiqabad | Sadiqabad | 14.02.2026 |  |  | Tree Trimming | Dk.Babu Irfan,S/Abad,M.Town,Afandi Colony,
8 |  |  |  |  | 132 KV St.Town | Affandi Colony | 095808 |  |  |  | Safety Purpose | S/Abad,M.Town,Afandi Colony,And Surrounding Area.
9 |  |  |  |  | 132 KV I-8 | A-Block | 061104 |  |  |  | Safety Purpose | A.Block,Dk.Paracha,C-Block,Murree Road and surrounding area
10 |  |  |  |  | 132 KV St.Town | National Market | 095822 |  |  |  | Safety Purpose | National Market, Asghar A/Mall Scheme and surounding area.
1 | IESCO | Attock | Taxila | Margalla | 132KV Sangjani | Capital Square-1 | 121804 | 09-02-2026 10-02-2026 11-02-2026 | 08:30 AM | 11:00 AM | cleaning of manhole / duct line as per committee recommendation, constituted by CE P&E | Capital Square-1
2 | [5 empty] | Capital Square-2 | 121805 |  |  |  |  | Capital Square-2
1 | IESCO | Attock | Pindi Gheb | Fateh Jang Rural | 132 KV Fateh Jnag | Muhammad Feeder | 27213 | 07-02-2026 09-02-2026 11-02-2026 14-02-2026 | 11:00am | 02:00pm | Defence Project Horizon Tech Service (Pvt) Ltd | Sadqal , College Mor, Ajwala, Langer & Surrounding Area
2 | [5 empty] | Gagan Feeder | 27217
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | Addl: Manager 220 KV Grid Station NGC Burhan | 132KV Burhan (E8Q1) - Faqirabad (FQB-1) circuit a.w related isolators & earth switch |  |  | 07-02-2026 | 07-02-2026 08:00 Hrs | 07-02-2026 16:30 Hrs | For Annual Maintenance & Testing | Area of Faqirabad will be affected. 10 to 15MW load management will be carried out.
2 |  |  |  |  | 132kV ISPR - D-12 Circuit controlling C.B E14Q1 Along with Line Isolator & 132KV Bus Bar No-1 |  |  | 08-02-2026 (Sunday) | 09:00 Hrs | 11:00 Hrs | For tightening of droppers upper T-clamps, nut bolts and greasing of Busbar Isolators | No area will be affected. As 132KV GSS D-12 will be fed from 132KV GSS G-9 side.
[5 empty] | 132kV ISPR - D-12 Circuit controlling C.B E14Q1 Along with Line Isolator & 132KV Bus Bar No-2 |  |  |  | 12:00 Hrs | 14:00 Hrs |  | No area will be affected. As 132KV GSS D-12 will be fed from 132KV GSS G-9 side.
[5 empty] | 132kV ISPR - KTM Circuit controlling C.B E12Q1 Along with Line Isolator & 132KV Bus Bar No-2 |  |  |  | 14:00 Hrs | 15:00 Hrs |  | No area will be affected.
[5 empty] | 132kV ISPR - Sangjani-II Circuit controlling C.B E15Q1 Along with Line Isolator & 132KV Bus Bar No-2 |  |  |  | 15:00 Hrs | 16:00 Hrs |  | No area will be affected.
1 |  |  | Tariqabad | Tariqabad | 132KV Chaklala | Humayun Road | 002525 | 06.02.2026 07.02.2026 08.02.2026 | 14:00:00 AM | 17:00 | For Dismentling of safe City building for safety hazards | Askari 13, 14 & 7, Dk Nawaz & sorrounding area
1 | IESCO | IBD | Div-I | F-6 | New Bhara Kahu | Punjab House | 89211 | 07.02.2026 | 11.00 | 16.00 | for Construction of Red Zone on Margallah Road | Punjab House
2 | IESCO | IBD | Div-I | F-6 | New Bhara Kahu | Khaban-e-Iqbal | 89207 |  | 11.00 | 16.00 |  | Khaban-e-Iqbal
3 | IESCO | IBD | Div-I | F-6 | G-5 | F-6/2 | 105511 |  | 11.00 | 16.00 |  | F-6/2
4 | IESCO | IBD | B/Kahu | B/K (R) | 220KV University | Bari Imam | 89212 |  | 11.00 | 16.00 |  | Bari Imam
5 | IESCO | IBD | B/Kahu | B/K (R) | 220KV University | Said pur | 122510 |  | 11.00 | 16.00 |  | Saidpur
6 | IESCO | IBD | B/Kahu | B/K (R) | 220KV University | Pir Sohawa | 122503 |  | 11.00 | 16.00 |  | Pir Sohawa