## mail-approval-shutdown
S # | DISCO | Circle | Division | Sub Division | Name of 132 KV Grid Station | Name of Feeder | Feeder Code | Date | Existing Operation Maintenance Date | Proposed Change Date for Operation Maintenance | Time From | Time To | Purpose of Shut Down | Affected Area | Remarks
2 |  |  |  |  | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) |  |  | 01-01-2026 to 31-01-2026 (Contineous) |  |  | 01-01-2026 09:00 Hrs | 31-01-2026 18:00 Hrs | Remodeling/Stringing of Chakwal - Talagang circuit from Loc No. 01 to 33 | 132KV GSS Bhagwal will be affected from 09:00 Hrs to 15:00 Hrs. after that No area will be affected as 132KV Chakwal already feeding from 500KV Rawat, Bhagwal will be fed from Talagang side & Talagang will be fed from Tamman side.
1 | IESCO | Cantt | Tariqabad | Tariqabad | 132 KV Chaklala | Humayun Road | 002525 | 10.01.2026 17.01.2026 24.01.2026 31.01.2026 |  |  | 14:00 | 17:00 | For load shifting at Katchery Chowk safe city project | Askari 13, 14 & 7, Dk Nawaz & sorrounding area
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Margalla | 132 KV T/Line Fateh jang – Bahtarmore T-Off Fauji Cement plant. (ISO-101) (along with related Earth Switches.) (FTJ-1 – BMW-1) |  |  | 09-01-2026 |  |  | 09:00 Hrs | 14:00 Hrs | For Safety purpose for de-jumpering at location No. 94 (dead Tower T-Off FCP) to isolate the working portion for dismantling of existing towers between Location No. 94 to Fateh Jang for remodeling of 132 KV T/Line New Wah to Fateh Jang to Bahtar More. | During this Shut Down only Fauji Cement Plant will be affected for 03 hrs & after de-jumpering the same will be fed from 132 KV Bahtarmore. However, 132 KV GSS Bahtar More will be fed from New Wah side & 132 KV GSS Fateh Jang will be fed from Sangjani along with other sources.
2 |  |  |  |  | 132 KV T/L Bahtermore (BMW-1) to Tower No. 94. (Dead Tower FCP) along with related earth switch |  |  | 09-01-2026 To 25-02-2026 (Contineous) |  |  | 09-01-2026 14:00 Hrs | 25-02-2026 16:00 Hrs | During this period, the portion of line will be isolated/ de-energized as working portion from 132 KV GSS Bahtermore to location No. 94. | No area will be affected. As 132KV Fauji Cement pland will be fed from 132KV GSS Fateh Jang side & 132KV GSS Bahtermore will be fed from 132KV GSS New Wah side.
1 | IESCO | IBD | Divn-II | I-10 | H-11 | I-10/2 (Old) | 72704 | 13.01.2026 20.01.2026 27.01.2026 31.01.2026 |  |  | 10.00 AM | 01.00 PM | Bifurcation of 11KV I-10/2 Feeder from H-11 Gss to newly Construction 132 KV I-11 GSS (2K23412DOP-HT-32) | I-10/2
2 | IESCO | IBD | Divn-II | I-10 | I-11 | I-10/2 (New) | 128604
11 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | Old Rawat | 017716 | 17.01.2026 21.01.2026 26.01.2026 31.01.2026 | 07.01.2026 10.01.2026 |  | 09:00 | 14:00 | For shifting of HT Line from T-Chowk to HASCOL Pump T-Chowk Flyover | Rawat & sorrounding area
12 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | New Rawat | 017701 |  | 12.01.2026 |  | 09:00 | 14:00 |  | Rawat & sorrounding area
13 | IESCO | Cantt | Rawat | Rawat | 500KV New Rawat | AOWHS | 064506 |  | - |  | 09:00 | 14:00 |  | Emaar & sorrounding area
14 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | Suparco | 017717 |  | - |  | 09:00 | 14:00 |  | Suparco & sorrounding area
15 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | CWO | 17722 |  | - |  | 09:00 | 14:00 |  | CWO & surrounding area
16 | IESCO | Cantt | Rawat | Rawat | 132KV Sowan | IST | 87422 |  | - |  | 09:00 | 14:00 |  | Space Technology & sorrounding area
17 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | REHMATABAD | 002519 | 21.01.2026 28.01.2026 31.01.2026 | 06.01.2026 |  | 09:00 | 14:00 | For shifting of HT line Chungi No.III to Gulraiz Phase-III Chaklala Rwp Deposit Work | Rehmatabad & sorrounding area
18 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | REHMATABAD-II | 002530 |  | - |  | 09:00 | 14:00 |  | Rehmatabad & sorrounding area
19 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | JAIL PARK | 002516 |  | 12.01.2026 |  | 09:00 | 14:00 |  | Jail Park & sorrounding area
20 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | KOT JABBI | 002539 |  | 08.01.2026 13.01.2026 |  | 09:00 | 14:00 |  | Kot Jabbi & sorrounding area
21 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | MACCA CHOWK | 002535 |  | 01.01.2026 15.01.2026 |  | 09:00 | 14:00 |  | Mecca Chowk & sorrounding area
22 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | BOSTAN KHAN | 002538 |  | 10.01.2026 14.01.2026 |  | 09:00 | 14:00 |  | Bostan Road & sorrounding area
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | A.E (T) Sub Divisoin No-I Islamabad | 132KV Kahuta City (KHC-2) - Palandri (PLD-3) along with related earth Switch. |  |  | 17-01-2026 To 15-02-2026 (Contineous) |  |  | 17-01-2026 08:00 Hrs | 15-02-2026 18:00 Hrs | For Erection/stringing purpose | No area will be affected as 132KV GSS Kahuta City along with Chaint will be fed from 132KV GSS KRL Kahuta side & Palandri, Tararkhal & Hajeera will be fed from Kotli side.
2 | IESCO | GSO CIRCLE IESCO ISD | SS&TL DIVISIONIESCO RAJJAR | A.E (T) Chakwal | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) |  |  | 17-01-2026 to 15-02-2026 (Contineous) |  |  | 15-01-2026 08:00 Hrs | 15-02-2026 18:00 Hrs | Remodeling/Stringing of Chakwal - Talagang circuit from Loc No. 01 to 33 | 132KV GSS Bhagwal will be affected from 09:00 Hrs to 15:00 Hrs. after that No area will be affected as 132KV Chakwal already feeding from 500KV Rawat, Bhagwal will be fed from Talagang side & Talagang will be fed from Tamman side.
1 | IESCO | Chakwal | Chakwal | Ghazi Abad | 132KV Grid Station Chakwal | MUREED | 002201 | 19.01.2026 24.01.2026 28.01.2026 31.01.2026 02.02.2026 07.01.2026 11.02.2026 14.02.2026 | 01.01.2026 05.01.2026 10.01.2026 |  | 0800 Hrs | 1400 Hrs | Stringing of Location # 06 to 33 of 132KV T/Line Chakwal - Talagang | Mureed & Surrounding Area
2 | [5 empty] | AL-QAIM MILLS | 002206 |  | - |  |  |  |  | Al-Qaim Mills & Surrounding Area
3 | [5 empty] | JAMALWAL | 002219 |  | 03.01.2026 07.01.2026 12.01.2026 15.01.2026 |  |  |  |  | Jamalwala & Surrounding Area
4 | [5 empty] | MENGAN | 002211 |  | 06.01.2026 13.01.2026 |  |  |  |  | Mengan & Srounding area
1 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV New Wah | Hassan Abdal | 14617 | 20.01.2026 22.01.2026 27.01.2026 29.01.2026 03.02.2026 05.02.2026 |  |  | 03:00 PM | 06.00 PM | shfiting of HT/LT Hassan Abdal City under City Beautificaton and Public Safety initiave | Hassan Abdal & Surrounding Area | 11 KV Hassan Abdal Feeder is Feeding Court Copmlex Wrothy C.E (O&M) Vide letter no 140-48 dated 08.01.2026 has stoped all shut down during court working hours (08.00am 03.00PM This office process / carried out shut down after working hours of court
1 | IESCO | IBD | XEN-II | I-9 | I-10 | Industrial-I | 6409 | 24-01-2026 31.01.2026 |  |  | 10:00 | 13:00 | Shifting of H/T Line Due to Rehabilitayion and widening of 7 UP chowk to NISCOM Hospital Islamabad. | Independent
2 | IESCO | IBD | XEN-II | I-9 | I-10 | Industrial-II | 6422 | [6 empty] | Independent
3 | IESCO | IBD | XEN-II | I-9 | I-10 | Industrial-III | 6431 | [6 empty] | Independent
4 | IESCO | IBD | XEN-II | I-9 | I-10 | Warid | 6439 | [6 empty] | Independent
5 | IESCO | IBD | XEN-II | I-9 | I-10 | Old PTN | 6405 | [6 empty] | Independent
6 | IESCO | IBD | XEN-II | I-9 | I-10 | EVC-II | 6441 | [6 empty] | Independent
7 | IESCO | IBD | XEN-II | I-9 | H-11 | SES | 72731 | [6 empty] | Independent
8 | IESCO | IBD | XEN-II | I-9 | H-11 | Fazal Ghee | 72705 | [6 empty] | Independent
9 | IESCO | IBD | XEN-II | I-9 | H-11 | Ufone | 72733 | [6 empty] | Independent
1 | IESCO | Cantt | Rawat | Kahuta | 132KV Kahuta City | Kahuta City-1 | 9001 | 24.01.2026 26.01.2026 28.01.2026 31.01.2026 02.02..2026 04.02.2026 07.02.2026 09.02.2026 11.02.2026 14.02.2026 | - |  | 07:00 | 18:00 | for Errection/Stringing at Location No. 05 to 26 at 132KV T/Line Kahuta City to Plandri. | Kahuta City-1 & Surrounding area
2 | IESCO | Cantt | Rawat | Kahuta | 132KV Kahuta City | Lehtrar-1 | 9005 | 22.01.2026 24.01.2026 26.01.2026 28.01.2026 31.01.2026 02.02.2026 04.02.2026 07.02.2026 09.02.2026 11.02.2026 14.02.2026 | 27.01.2026 |  |  |  |  | Lehtrar-1 & Surrounding area
3 | IESCO | Cantt | Rawat | Kahuta | 132KV Kahuta City | Narh | 9006 | 22.01.2026 24.01.2026 26.01.2026 28.01.2026 31.01.2026 | 19.01.2026 22.01.2026 28.01.2026 31.01.2026 |  |  |  |  | Narh & Surrounding area
1 | IESCO | Chakwal | Chakwal | Main Bazar | 132KV Chakwal | Main Bazar | '002214 | 24.01.2026 27.01.2026 31.01.2026 03.02.2026 07.02.2026 10.02.2026 14.02.2026 17.02.2026 |  |  | 09:00 | 14:00 | For Dismantling of HT/LT Structures and shifting of T/F from old to new line under area planning of 11 KV Islamia Chowk Feeder and 11 KV Main Bazar Feeder Emanating from 132 KV Chakwal Grid station | Surrounding area of Feeder
2 | IESCO | Chakwal | Chakwal | Main Bazar | 132KV Chakwal | ISLAMIA CHOWK | '002223 | 26.01.2026 29.01.2026 02.02.2026 11.02.2026 |  |  | 09:00 | 14:00 | For Shifting of line under deposit head Punjab Highway, CM Punjab new road construction project Bhoun road Chakwal | Surrounding area of Feeder
1 | IESCO | City | Westridge | Kamalabad | Kamalabad | Kamalabad | 1025 | 22-01-2026 28-01-2026 31-01-2026 |  |  | 10:00 Hrs | 01:00 Hrs | Reconducting of HT Conductor Safety Hazard Work Molve Khurshed Misrial Road Rawalpindi | Kamalabad & surrounding areas
1 | IESCO | Jhelum | Jhelum-II | Rural | Jhelum | Pakhwal | 7720 | 22.01.26 24.01.26 27.01.26 31.01.26 |  |  | 0900 | 1200 | Stringing of 11KV Pakhwal Feede | Vill: Pakhwal, Chak Doulat etc
1 | IESCO | Attock | Taxila | Margalla | 132 KV Margalla | Bahlot | 083303 | 25.01.2026 31.01.2026 | 22.01.2026 28.01.2026 |  | 09:00 | 16:00 | for safety purpose during stringing of conductor between location No. 77 to 85 for remodeling work of 132KV T/line new Wah to Bhatar More to Fateh Jang | Bahlot
2 | IESCO | Attock | Taxila | Margalla | 132 KV Bhatar More | Dhraik | 112006 |  | 29.01.2026 |  | 09:00 | 16:00 |  | Dhrail
3 | IESCO | Attock | Taxila | Margalla | 132 KV Bhatar More | Multi Orchard | 112012 |  | - |  | 09:00 | 16:00 |  | Multi Orchard
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | R.E New Wah | 132KV New Wah (WAH-5) - POF North - POF West & 132KV New Wah (WAH-6) - POF East |  |  | 25-01-2026 |  |  | 09:00 Hrs | 13:00 Hrs | For opening of droppers/jumpers from Loc No. 18 to POF East, for erection of new ZM-60 Tower | No area will be affected as POF Grids (Consumer) will be fed through 11KV Generation of POF Power House.
2 | [7 empty] | 01-02-2026 |  |  | 09:00 Hrs | 13:00 Hrs | For Providing of Droppers/jumpers from Loc No. 18 to POF East
3 |  |  |  |  | 132KV New Wah (WAH-6) Loc No. 18 to POF East |  |  | 25-01-2026 To 01-02-2026 (Contineous) |  |  | 25-01-2026 09:00 Hrs | 01-02-2026 13:00 Hrs | For safety purpose for erection & stringing work between Loc No. 01 to 17 for remodeling work of 132KV T/Line POF East, West and North.
5 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.1 | Power Transformer T-3 (31.5/40 MVA) At 132KV GSS PirWadhai | following 11kv feedeers will be affected |  | 31-01-2026 |  |  | 09:00 | 14:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | Dhook Haso | 43309 | [6 empty] | Dk.Hassu, Moh Alam Abad, Gulshan Fatima, Moh Hafiz Abad, Gulshan Data.
[6 empty] | Ratta | 43304 | [6 empty] | Baboo Lal Hussain Road, Ratta Amral , Railway Workshop
[6 empty] | C.Factory | 43321 | [6 empty] | Police Line , Sabzi Mandi, Carriage Factory
[6 empty] | M.Road | 43318 | [6 empty] | PIA Cly, Cantt View Cly, Ilyas Colony, Niazi Town, Madina Cly, Range Road & Shallay Valley.
[6 empty] | AMC | 43319 | [6 empty] | Exempted
[6 empty] | BB Shaheed | 43327 | [6 empty] | Ratta Amral., Mohanpura & Surranding area.
[6 empty] | M.M K/Road | 43323 | [6 empty] | Gunjmandi Road, Astable Road , Civl Hospital.
[6 empty] | Ahsan Abad | 43332 | [6 empty] | Ahsan Abad
[6 empty] | Subhan Shaheed | 43333 | [6 empty] | Subhan Shaheed
[6 empty] | Railway Colony | 43331 | [6 empty] | Railway Colony
[6 empty] | CDL Colny | 43335 | [6 empty] | CDL Colny
[6 empty] | Alam Abad | 43336 | [6 empty] | Alam Abad
[6 empty] | FAUJI COLONY | 43337 | [6 empty] | FAUJI COLONY
[6 empty] | NUTECH UNI | 43338 | [6 empty] | NUTECH UNI
6 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-3 (10/13 MVA) at 132KV GSS G-5 | following 11kv feedeers will be affected |  | 31-01-2026 |  |  | 09:00 | 12:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Islamabad Team.
[6 empty] | Sareena Complex | 75018 | [6 empty] | Sareena Complex
[6 empty] | Sareena Hotle | 75013 | [6 empty] | Sareena Hotle
[6 empty] | K.Block | 75021 | [6 empty] | K.Block
[6 empty] | Comsteck | 75015 | [6 empty] | Comsteck
[6 empty] | Karakrum Hight | 75026 | [6 empty] | Karakrum Hight
7 |  |  |  | AE(T) No.2 | Power Transformer T-4 (10/13 MVA) at 132KV GSS G-5 | following 11kv feedeers will be affected |  | 01-02-2026 |  |  | 09:00 | 12:00
[6 empty] | USA-B | 75023 | [6 empty] | USA-B
[6 empty] | USA-A | 75022 | [6 empty] | USA-A
[6 empty] | USA-C | 75024 | [6 empty] | USA-C
[6 empty] | Old USA Embassy | 75019 | [6 empty] | Old USA Embassy
8 | IESCO | GSO Circle | SS&TL ISD | RE-I-8 | 132KV GSS Taramari Power Transformer T-1 (31.5/40MVA) | Following 11KV Feeders willl be affected |  | 01-02-2026 |  |  | 09:00 | 12:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | Khana Dak | 105501 | [6 empty] | Khana Dak
[6 empty] | Burma | 105502 | [6 empty] | Burma and Surrounding
[6 empty] | Tramri | 105503 | [6 empty] | Tramri and surrounding
[6 empty] | Sudhran Road | 105504 | [6 empty] | Village Sudhran village and surrounding
[6 empty] | ISI | 105505 | [6 empty] | ISI flats
[6 empty] | Kurri Road | 105506 | [6 empty] | Bahria Enclave
[6 empty] | Al-Noor Colony | 105515 | [6 empty] | Gangal, Dr qadeer Khan Road and srounding
[6 empty] | Wahed abad | 105516 | [6 empty] | Wahed abad
[6 empty] | Lehtrar Road | 105517 | [6 empty] | Lehtrar Road
9 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-1 (20/26 MVA) 132KV GSS D-12 | following 11kv feedeers will be affected |  | 07-02-2026 |  |  | 09:00 | 12:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | FECHS (E-11/2) | 104003 | [6 empty] | FECHS Sector (E-11/2)
[6 empty] | D-12/2 | 104002 | [6 empty] | SectorD-12/2
[6 empty] | D-12/1 | 104001 | [6 empty] | Sector D-12/1
[6 empty] | Services | 104005 | [6 empty] | Services Society
[6 empty] | Shah Allah Ditta | 104011 | [6 empty] | SHAH ALLAH DITTA PIND SIRISARAL,PIND SANGRIYAL
[6 empty] | Northern Strip E-11 | 104013 | [6 empty] | Northern Strip E-11
[6 empty] | Northern Strip -2 | 104014 | [6 empty] | Northern Strip -2
10 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-2 (20/26 MVA) 132KV GSS D-12 | following 11kv feedeers will be affected |  | 08-02-2026 |  |  | 9:00 | 11:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | Railway road | 104004 | [6 empty] | DHREK MOHRI,BANNI STOP,ABADI RAILWAY RD
[6 empty] | D-12/Markaz | 104010 | [6 empty] | Sector D-12/Markaz
[6 empty] | D-12/4 | 104007 | [6 empty] | Sector D-12/4
[6 empty] | D-12/3 | 104006 | [6 empty] | Sector D-12/3
[6 empty] | MPCHS | 104008 | [6 empty] | E-11/3 (MPHS)
[6 empty] | NPF | 104009 | [6 empty] | SECTOR E-11/4 (NPF)
[6 empty] | Kalinjar | 104012 | [6 empty] | village Kalinjar & srounding
11 | IESCO | GSO | SS&TL Islamabad | AE(T) No.2 | Power Transformer T-9 (20/26 MVA) 500KV GSS New Rawat | following 11kv feedeers will be affected |  | 08-02-2026 |  |  | 9:00 | 13:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rajjar Team.
[6 empty] | Relaince | 064501 | [6 empty] | Relaince
[6 empty] | Behal | 064507 | [6 empty] | Behal
[6 empty] | Ghumti | 064512 | [6 empty] | Ghumti
[6 empty] | IFM | 064511 | [6 empty] | IFM
[6 empty] | Jrar camp | 064510 | [6 empty] | Jrar camp
12 | IESCO | GSO | SS&TL Islamabad | AE(T) No.2 | Power Transformer T-10 (20/26 MVA) 500KV GSS New Rawat | following 11kv feedeers will be affected |  | 08-02-2026 |  |  | 12:00 | 16:00
[6 empty] | Industrial | 064502 | [6 empty] | Industrial
[6 empty] | Aamar | 064506 | [6 empty] | Aamar
[6 empty] | Lab-2 | 064505 | [6 empty] | Lab-2
[6 empty] | Lab-1 | 064504 | [6 empty] | Lab-1
[6 empty] | Jhata Hathyal | 064503 | [6 empty] | Jhata Hathyal
1 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Chaklala | Humayun Road | 002525 | 27.01.2026 29.01.2026 31.01.2026 |  |  | 14:00 | 17:00 | For shifting of HT Line & Demolishing Building at Katchery Chowk Project | VIP, Courts, Katchehry, Askari 13, 14 & 7, Dk Nawaz & sorrounding area
1 | IESCO | City | Westridge | Tarnol | KTM | EME Complex | 008615 | 28-01-2026 31-01-2026 10.02.2026 12.02.2026 18.02.2026 |  |  | 10:00 Hrs | 13:00 Hrs | HT Fitting & Stringing AQ Khan Research Laboratory & Haji Camo widening | EME Complex
2 | [5 empty] | Jhangi | 008608 | [6 empty] | Shaheenabad, Faisal Cly, Jhangi Syedan, Tarnol & Surrounding
3 | [5 empty] | P&T Wani | 008610 | [6 empty] | Jhangi Syedan, Haidri Chowk & Surrounding area
4 | [5 empty] | Azharabad | 008620 | [6 empty] | Peshawer Road, Pind Paracha
5 | [5 empty] | Golra | 008605 | [6 empty] | Naseerabad Awan Colony
6 | [5 empty] | Zarkoon Heights | 008628 | [6 empty] | Zarkoon Heights
7 | [5 empty] | CWO | 008601 | [6 empty] | --
8 | [5 empty] | New Azharabad | [7 empty] | Not Energized
1 | IESCO | IBD | XEN-I | Nilore | Nilore | Chirah | 14704 | 29-01-2026 03.02.2026 |  |  | 10:00 | 13:00 | SDG Work Dk Mangoo&Masjid Quba Chapar Chirah | Chirah and Surrounding Areas
1 | IESCO | IBD | XEN-I | Rawal | Zero Point | Service Road | 22333 | 02-02-2026 05.02.2026 09.02.2026 12.02.2026 |  |  | 10:00 | 13:00 | 11KV Vip Feeder From U/G to O/H From Zero Point Grid Station to NACTA Office G-7/1 Islamabad | Service Road and Surrounding Areas
2 | IESCO | IBD | XEN-I | Khana Dak | Zero Point | Highway | 22315 | [6 empty] | Highway and Surrounding Areas
3 | IESCO | IBD | XEN-I | Khana Dak | Zero Point | Zia Masjid | 22342 | [6 empty] | Zia Masjid and Surrounding Areas
4 | IESCO | IBD | XEN-I | G-6 | Zero Point | Aabpara | 22303 | [6 empty] | Aabpara and Surrounding Areas
1 | IESCO | Attock | Taxila | Sangjani | 132KV B17 GRID | SARAY KHARBOZA | 121802 | 03/02/2026 05/02/2026 07/02/2026 10/02/2026 12/02/2026 14/02/2026 17/02/2026 19/02/2026 |  |  | 09:00am | 12:00pm | AMI Project | SARAY KHARBOZA & Surrounding area
2 |  |  |  |  | 220KV SANGJANI GRID | SHAH ALLAH DITTA | 081011 | 02/02/2026 04/02/2026 06/02/2026 09/02/2026 11/02/2026 13/02/2026 16/02/2026 18/02/2026 | [5 empty] | SHAH ALLAH DITTA & Surrounding area
1 | IESCO | Attock | Pindi Gheb | Fateh Jang R | 132KV Pindi Gheb | Gul Muhammad | 27213 | 31.01.2026 |  |  | 09:00am | 12:00pm | Defence Project Horizon Tec Service (Pvt) Ltd | Sadqal, College Mor, Ajwala, Langar & Surrounding Area
1 | IESCO | Cantt | Cantt | Jhanda | 132KV Chaklala | CNC | 002524 | 01.02.2026 08.02.2026 15.02.2026 |  |  | 10:00 | 13:00 | For shifting of HT/LT line from Jinnah Park Chowk to Ammar Chowk | Army House & sorrounding area | Subject to NOC for 11 KV CNC Feeder from Army House
2 |  |  | Tariqabad | Tariqabad | 132KV Chaklala | Humayun Road | 002525 | [6 empty] | Askari 13, 14 & 7, Dk Nawaz & sorrounding area
3 |  |  | Cantt | Jhanda | 132KV Cantt | Jhanda | 017921 | [6 empty] | jhanda chichi police line ,special branch askari 10 police station c/line &iesco complex
4 |  |  | Tariqabad | Tariqabad |  | State Bank | 002521 | 15.02.2026 | [5 empty] | New gulzar-e-Quaid & sorrounding area
1 | IESCO | Jhelum | G. Khan | Gujar Khan | Gujar Khan | Gujar Khan | 4901 | 02.02.26 09.02.26 12.02.26 |  |  | 09:00am | 12:00pm | Completion of deposit works beautification of Main Bazar Gujar Khan & Sohawa Bazar | Gujar Khan City, SIE etc
2 | IESCO | Jhelum | G. Khan | Gujar Khan | Gujar Khan | Scheme-I | 4922 | [6 empty] | Scheme Gujar Khan, Barki etc
3 | IESCO | Jhelum | G. Khan | Sohawa | Sohawa | Main Bazar | 125005 | 03.02.26 07.02.26 11.02.26 | [5 empty] | Main Bazar Sohawa, Noor Pur Syedan etc
1 | IESCO | Attock | Pindi Gheb | Fateh Jang R | 132KV Fateh Jang | Tanaza Dam | 27215 | 31.01.2026 01.02.2026 |  |  | 09:00 | 14:00 | Defence Project Horizon Tech Service (Pvt) Ltd | Atomic Energy, Fateh Jang, Hastal, Taja Bara, Kot Fateh Khan, & Surrounding Area
2 | [5 empty] | Laniwala | 27210
3 |  |  |  | Fateh Jang U |  | City-II | 27216
4 |  |  |  | Fateh Jang U |  | Sajjad Shaheed | 27211
5 |  |  |  | Fateh Jang U |  | Nescom | 27218
1 | IESCO | Attock | Taxila | H/Abdal | 132 Bhatar More | Bharama | 112005 | 04-02-2026 08-02-2026 12-02-2026 |  |  | 09:00 | 16:00 | for safety purpose during Stringing of conductor between location No. 71 to 77 for remodeling work of 132kv T/line New Wah to Bhatar More to Fateh Jang | Bharama
2 |  |  |  |  | 132 KV New Wah | Pathar Garh | 014609 | 08-02-2026 12-02-2026 |  |  | 09:00 | 16:00 |  | Pather Gar
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | R.E New Wah | 132KV New Wah (WAH-5) to Loc No. 18 (open) along with related earth switch |  |  | 01-02-2026 |  |  | 09:00 Hrs | 12:00 Hrs | For safety purpose to mproivisw jumper for lod shifting of WAH-6 to WAH-5 for remodelling work of 132KV T/Line POF East, West and North. | 132KV POF East, West & North Grids (Consumer) will be affected.
2 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | R.E New Wah | 132KV New Wah (WAH-6) - POF East, North along with related earth switch |  |  | 01-02-2026 To 31-03-2026 (Contineous) |  |  | 01-02-2026 09:00 Hrs | 31-03-2026 16:00 Hrs | For saftety puprose for errection & stringing work between Loc No. 01 to 17 of WAH-6 portion for remodelling work of 132KV T/Line POF East, West & North. | No area will affected as POF East, West and North will mbe fed from 132KV GSS New Wah (WAH-5)
1 | IESCO | Cantt | Cantt Rwp | Korang | 132 KV Sowan | 11kv feeder (T-1) |  | 01.02.2026 |  |  | 09:00 | 13:00 | To set aside the 11KV outgoing cable for excavation of under construction additional 11kv outgong nfeeder trench | Bostan Road, Car Chowk and surroundings.
[6 empty] | Jail Park 1 | 87407
2 | IESCO | Cantt | Rawat | Rawat | 132 KV Sowan | Zeta-I | 87424 |  |  |  | 09:00 | 13:00 |  | Ind
3 | IESCO | Cantt | Cantt Rwp | Morgha | 132 KV Sowan | Pindi Board | 87415 |  |  |  | 09:00 | 13:00 |  | BISE and surroundings.
4 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | RCCI express | 87413 |  |  |  | 09:00 | 13:00 |  | Inductrial
5 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | PEPSI COLA | 87408 |  |  |  | 09:00 | 13:00 |  | Indpd
6 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | FAUJI FOUNDATION HOSPITAL | 87405 |  |  |  | 09:00 | 13:00 |  | Fuji founadation and sorrendings.
7 | IESCO | Cantt | Rawat | Rawat | 132 KV Sowan | ZARAJ-II | 87423 |  |  |  | 09:00 | 13:00 |  | Ind
8 | IESCO | Cantt | Cantt Rwp | Morgha | 132 KV Sowan | 11kv feeder (T-2) |  |  |  |  | 09:00 | 13:00 |  | Morgaha, Park veiw and surroundings.
[6 empty] | Park Veiw | 87410
9 | IESCO | Cantt | Rawat | Rawat | 132 KV Sowan | Sowan Indus | 87404 |  |  |  | 09:00 | 13:00 |  | Indpd
10 | IESCO | Cantt | Rawat | Sowan | 132 KV Sowan | Sarwar Shaheed | 87401 |  |  |  | 09:00 | 13:00 |  | Imrat and surrending
11 | IESCO | Cantt | Rawat | Rawat | 132 KV Sowan | IST | 87422 |  |  |  | 09:00 | 13:00 |  | Ind
12 | IESCO | Cantt | Rawat | Rawat | 132 KV Sowan | ZARAJ HOUSING SCHEME | 87411 |  |  |  | 09:00 | 13:00 |  | Ind
13 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | AOWHS | 64506 | [6 empty] | AWHS and surroundings.
14 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | Walyat complex | 87412 |  |  |  | 09:00 | 13:00 |  | Walyat Complex and surroundings.
15 | IESCO | Cantt | Cantt Rwp | Korang | 132 KV Sowan | 11kv feeder (T-3) |  |  |  |  | 09:00 | 13:00 |  | Car Chowk and surroundings.
[6 empty] | Car Chowk | 87414 |  |  |  | 09:00 | 13:00
16 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | Mehbob Shaheed | 87418 |  |  |  | 09:00 | 13:00 |  | Christen colony and surrounding
17 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | Mohra Nagyal | 87421 |  |  |  | 09:00 | 13:00 |  | Mohra Nagiyal and surroundings.
18 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | Humak | 87419 |  |  |  | 09:00 | 13:00 |  | Humak and surrending
19 | IESCO | Cantt | Rawat | Rawat | 132 KV Sowan | IMARAT BUILDERS MALL | 87420 |  |  |  | 09:00 | 13:00 |  | Ind
20 | IESCO | Cantt | Sowan | Sowan | 132 KV Sowan | MODEL TOWN | 87403 |  |  |  | 09:00 | 13:00 |  | Model Town and surrending
21 | IESCO | Cantt | Cantt Rwp | Morgha | 132 KV Sowan | Ex Lawyer | 87416 |  |  |  | 09:00 | 13:00 |  | Ex Lawyer colony and surroundings.
22 | IESCO | Cantt | Rawat | Rawat | 132 KV Sowan | DHOKE AWAN | 87417 |  |  |  | 09:00 | 13:00 |  | Ex Lawyer colony and surroundings.
23 | IESCO | Cantt | Cantt Rwp | Morgah | 132 KV Sowan | Morgah | 87406 |  |  |  | 09:00 | 13:00 |  | Morgaha and surroundings.
1 | IESCO | City | Westridge | Tarnol | 132 KV KTM | Golra | 008605 | 31-01-2026 |  |  | 10:00 Hrs | 13:00 Hrs | To setright 11Kv jumpers of Golra feeder | Golra Morr and Surrounding areas
2 | [5 empty] | Shamas Colony | 008626 | [6 empty] | Shamas Colony and surrounding areas
3 | [5 empty] | Quaid-e-Azam International Hospital | 008624 | [6 empty] | Independent
1 | IESCO | Cantt | Cantt | Jhanda | 132KV Cantt | Jhanda | 017921 | 01.02.2026 |  |  | 9:30 | 12:30 | For emergent work at Katchery Chowk Project | jhanda chichi police line ,special branch askari 10 police station c/line &iesco complex
1 | IESCO | IBD | XEN-II | F-11 | F-11 | Golden Height | 69215 | 31.01.2026 |  |  | 10:00 | 13:00 | For Safety Purpose | Golden Height
2 | IESCO | IBD | XEN-II | F-8 | F-11 | F-10/3 | 69212 | [6 empty] | F-10/3
3 | IESCO | IBD | XEN-II | F-11 | F-11 | F-11/3 | 69209 | [6 empty] | F-11/3
4 | IESCO | IBD | XEN-II | F-11 | F-11 | F-11 Tower | 69220 | [6 empty] | F-11 Tower
5 | IESCO | IBD | XEN-II | F-11 | F-11 | F-11/2 | 69216 | [6 empty] | F-11/2
6 | IESCO | IBD | XEN-II | F-11 | F-11 | F-11/4 | 69218 | [6 empty] | F-11/4
7 | IESCO | IBD | XEN-II | F-11 | F-11 | F-11 Markaz | 69211 | [6 empty] | F-11 Markaz
8 | IESCO | IBD | XEN-II | F-11 | F-11 | Capital Residence | 69226 | [6 empty] | Capital Residence
1 | IESCO | IBD | XEN-I | Rawal | Tramari | Waheedabad | 105516 | 02-02-2026 09.02.2026 11.02.2026 |  |  | 10:00 | 13:00 | SDG Work Dk Mangoo&Masjid Quba Chapar Chirah | Waheedabad and Surrounding Areas
2 | IESCO | IBD | XEN-I | Rawal | Tramari | Burma | 105502 | [6 empty] | Burma and Surrounding Areas
1 | IESCO | City | S/Town | Muslim Town | I-8 | Khuram Colony | 61122 | 31.01.2026 |  |  | 9:00 | 23:00 | Safety Purpose
2 | IESCO | City | S/Town | Muslim Town | I-8 | MuzamilmTown | 61133 | [5 empty] | Maintenance
1 | IESCO | City | St.Town | F-Block | 132 KV H-11 | Raja Sultan | 072716 | 03-02-2026 07.02.2026 09.02.2026 |  |  | 09:00 Hrs | 12:00 Hrs | Replacement of Damage HT PC pole with HT Structure 45' (Safety Hazard) | Raja Sultan and Surrounding areas
2 |  |  | City | Asgharmall | 132 KV H-11 | Eid Gah | 72714 | [6 empty] | Eid Gah and Surrounding areas
3 |  |  |  |  | 132 KV Pirwadhai | Bagh Sardarn | 043326 | [6 empty] | Bagh Sardaran and Surroundig areas
4 |  |  |  | Pirwadhai | 132 KV Pirwadhai | Mohammadi Chowk | 6438 | [6 empty] | Muhammadi Chowk and Surrounding areas
5 |  |  |  | K.S.S | I-10 | Khayaban-e-Sir Syed | 6411 | [6 empty] | K.S.S and Surrounding areas
6 |  |  |  | K.S.S | 132 KV Pirwadhai | Gulzar Shaheed | 43328 | 02.02.2026 |  |  |  |  | Removal of Safety Hazard IRO Zia Haq Colony Islam Pura | Zia Haq Colony and Surrounding areas