## mail-approval-shutdown
S # | DISCO | Circle | Division | Sub Division | Name of 132 KV Grid Station | Name of Feeder | Feeder Code | Date | Existing Operation Maintenance Date | Proposed Change Date for Operation Maintenance | Time From | Time To | Purpose of Shut Down | Affected Area | Remarks
35 | IESCO | IBD | B/Kahu | B/K (U) | 132 KV Tramri GS | Kurri | 105506 | 31-12-2025 05-01-2026 12-01-2026 14-01-2026 19-01-2026 21-01-2026 | 16-12-2025 24-12-2025 05-01-2026 12-01-2026 |  | 09:00 | 14:00 | External Electrification work IRO IT Technology Park Chak Shahzad Islamabad | Kuri Sher.
36 | IESCO | IBD | B/Kahu | B/K (U) | 132 KV Tramri GS | Rehara | 105511 |  | 16.12.2025 24-12-2025 05-01-2026 12-01-2026 |  | 09:00 | 14:00 |  | Mohra Noor, Rehara
37 | IESCO | IBD | B/Khu | B/K (U) | 132 KV Tramri | CM Pak Zong | 105509 |  | 16-12-2025 24-12-2025 05-01-2026 12-01-2026 |  | 09:00 | 14:00 |  | Independent
1 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | C.W.O. | 058204 | 01.01.2026 08.01.2026 13.01.2026 15.01.2026 20.01.2026 22.01.2026 27.01.2026 29.01.2026 | Nil |  | 0900 | 1400 | Shifting of HT/LT Line due to dulization of Lillah - Jhelum Road | Army Area - Civil Work Organization.
2 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | Abdullah Pur | 058206 |  | 01.01.2026 06.01.2026 10.01.2026, (Cancelled on dated 14.01.2026) |  | 0900 | 1400 |  | Chak Mujahid Shumali, Karyala, Chak Shadi, Pinanwal,
3 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | Jalal Pur | 058203 |  | 05.01.2026 08.01.2026 13.01.2026 |  | 0900 | 1400 |  | Chak Mujahid Shumali, Karyala, Chak Shadi, Pinanwal,
4 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | Sagharpur | 058202 |  | 03.01.2026 07.01.2026 (Cancelled on dated 12.01.2026) 15.01.2026 |  | 0900 | 1400 |  | Chak Mujahid Shumali, Karyala, Chak Shadi, Pinanwal,
2 |  |  |  |  | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) |  |  | 01-01-2026 to 31-01-2026 (Contineous) |  |  | 01-01-2026 09:00 Hrs | 31-01-2026 18:00 Hrs | Remodeling/Stringing of Chakwal - Talagang circuit from Loc No. 01 to 33 | 132KV GSS Bhagwal will be affected from 09:00 Hrs to 15:00 Hrs. after that No area will be affected as 132KV Chakwal already feeding from 500KV Rawat, Bhagwal will be fed from Talagang side & Talagang will be fed from Tamman side.
5 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) SS&TL Sub Division Margalla | 132 KV T/L Fateh Jang (FTJ-1) to Tower No. 94 (Dead Tower FCP). |  |  | 01-01-2026 To 20-01-2026 (Contineous) |  |  | 01-01-2026 09:00 Hrs | 20-01-2026 16:00 Hrs | For safety purpose for erection of new Tower & Stringing of conductor between location No.94 To 132KV GSS Fateh jang. | No area will be affected. However, 132KV GSS Fauji Cement Plant (Consumer Grid) is already being fed form 132KV GSS Bather More & 132KV GSS Fateh Jang is fed form Sangjani side along with other sourcess.
1 | IESCO | Cantt | Tariqabad | Adyala | 132KV Adyala | Adyala | 109106 | 07.01.2026 13.01.2026 20.01.2026 |  |  | 10:00 | 13:00 | For stringing work iro LV Work Ali Town near Dost Muhammad House | Adyala & sorrounding area
1 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV Bahtar | BABRAKI | 112015 | 05.01.2026 09.01.2026 16.01.2026 19.01.2026 23.01.2026 26.01.2026 30.01.2026 | 29.12.2025 13.01.2026 |  | 09:00 | 14:00 | 11Kv Pather Garh Feeder Erection of HT Str, PC Poles and strining | Babraki Crusher, Lunda Market, Dara Market and Kohsar Valley & surrounding area
2 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV Bahtar | KOHSAR VALLEY | 112013 |  | 22.12.2025 12.01.2026 |  | 09:00 | 14:00
3 | IESCO | Attock | Attock | Attock Cantt | 132 KV Sanjwal | ATTOCK CANTT | 018901 | 06-01-2026 13-01-2026 15-01-2026 20-01-2026 22-01-2026 27-01-2026 29-01-2026 | 31.12.2025 13.01.2026 |  | 09:00 | 14:00 | Strining & Errection of Pole in R/o 11 KV Independent MCH Attock | Attock Cantt, Saddar & surrounding area
4 | IESCO | Attock | Attock | Attock Cantt | 132 KV Sanjwal | DHOKE FATEH | 018911 | 12-01-2026 15-01-2026 20-01-2026 22-01-2026 27-01-2026 29-01-2026 | 31.12.2025 06.01.2026 |  | 09:00 | 14:00 |  | Dk. Fateh & surrounding area
5 | IESCO | Attock | Attock | Attock Cantt | 132 KV Sanjwal | KATCHERY | 018902 |  | 31.12.2025 15.01.2026 |  | 09:00 | 14:00 |  | Katachery & surrounding area
6 | IESCO | Attock | Attock | Attock Cantt | 132 KV Sanjwal | DARUL ISLAM | 018909 |  | 31.12.2025 07.01.2026 12.01.2026 |  | 09:00 | 14:00 |  | DI Colony & surrounding area
7 | IESCO | Attock | Attock | Attock City | 132 KV Attock | 3-MEELA | 075113 | 07-01-2026 10-01-2026 14-01-2026 20-01-2026 22-01-2026 27-01-2026 29-01-2026 | 30.12.2025 05.01.2026 14.01.2026 |  | 09:00 | 14:00 | Re-Conductring of 3-Meela feeder | Teen Meela & surrounding area
8 | IESCO | Attock | Attock | Attock City | 132 KV Attock | BAGH NEELAB | 075114 | 05-01-2026 07-01-2026 10-01-2026 15-01-2026 20-01-2026 22-01-2026 29-01-2026 | 30.12.2025 13.01.2026 |  | 09:00 | 14:00 |  | Bagh Neelab & surrounding area
9 | IESCO | Attock | Attock | Attock City | 132 KV Attock | ATTOCK RURAL | 075101 | 05-01-2026 07-01-2026 10-01-2026 13-01-2026 20-01-2026 22-01-2026 | 01.01.2026 15.01.2026 |  | 09:00 | 14:00 | Re-Conductring of 3-Meela feeder | Attock Rural & surrounding area
11 | IESCO | Attock | Attock | Attock City | 132 KV Attock | FAWARA CHOWK | 075103 | 13.01.2026 20-01-2026 26-01-2026 28-01-2026 | 29.12.2025 08.01.2026 |  | 09:00 | 14:00 |  | A,B,C,R Block & surrounding area
12 | IESCO | Attock | Taxila | Sangjani | 132 KV B-17 | CABINET DIVISION | 121813 | 08.01.2026 10.01.2026 13.01.2026 15.01.2026 17.01.2026 | 03.01.2026 10.01.2026 15.01.2026 |  | 09:00 | 14:00 | Shifting of HT line at circular road sangjani. | Cabinet Div Society
13 | IESCO | Attock | Taxila | Sangjani | 220 KV Sangjani | SANG JANI | 81003 |  | - |  | 09:00 | 14:00 |  | Sangjani & surrounding area
14 | IESCO | Attock | Taxila | Sangjani | 132 KV B-17 | PIND PARIAN | 121801 |  | - |  | 09:00 | 14:00 |  | Ppind Parrian & surrounding area
15 | IESCO | Attock | Taxila | Sangjani | 132 KV B-17 | SARA-E-KHARBOZA | 121802 |  | 31.12.2025 06.01.2026 13.01.2026 |  | 09:00 | 14:00 |  | Saray Kharbooza & surrounding area
16 | IESCO | Attock | Taxila | Sangjani | 220 KV Sangjani | SHAH ALLAH DITTA | 81011 |  | 31.12.2025 06.01.2026 13.01.2026 |  | 09:00 | 14:00 |  | Shah Allah Ditta & surrounding area
17 | IESCO | Attock | Taxila | Sangjani | 132 KV B-17 | GULSHAN E SEHAT | 121806 |  | 01.01.2026 |  | 09:00 | 14:00 |  | Gulshan e Sehat & surrounding area
18 | IESCO | Attock | Taxila | Sangjani | 220 KV Sangjani | PASWAL | 81002 |  | 05.01.2026 08.01.2026 12.01.2026 14.01.2026 |  | 09:00 | 14:00 |  | Paswal & surrounding area
1 | IESCO | Cantt | Tariqabad | Tariqabad | 132 KV Chaklala | Humayun Road | 002525 | 10.01.2026 17.01.2026 24.01.2026 31.01.2026 |  |  | 14:00 | 17:00 | For load shifting at Katchery Chowk safe city project | Askari 13, 14 & 7, Dk Nawaz & sorrounding area
2 | IESCO | Cantt | Cantt | Jhanda | 132KV Cantt | VIP | 17911 | 03.01.2026 15.01.2026 22.01.2026 29.01.2026 |  |  | 10:00 | 13:00 | For erection of poles at Katchery Chowk | VIP & sorrounding area
4 |  |  |  | Tariqabad | 132KV Kamalabad | Maj Riaz Manzoor | 001017 | 12.01.2026 17.01.2026 |  |  | 9:00 | 12:00 | For erection of HT Str & Stringing of HT Line iro Safety Hazard Work | Maj Riaz Manzoor Road & sorrounding area
5 | [5 empty] | Tulsa Road | 001026 | [6 empty] | Cirection colony, shah jeven colony, habib colony ect.
6 | [5 empty] | Lalazar | 001005 | [6 empty] | Lalazar & sorrounding area
7 |  |  |  | R.A Bazar |  | Jhawra | 001016 | [6 empty] | Jhawara & sorrounding area
8 |  |  |  | Tariqabad |  | Dheri Hassanabad | 001027 | [6 empty] | Humayoun Road & sorrounding area
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Margalla | 132 KV T/Line Fateh jang – Bahtarmore T-Off Fauji Cement plant. (ISO-101) (along with related Earth Switches.) (FTJ-1 – BMW-1) |  |  | 09-01-2026 |  |  | 09:00 Hrs | 14:00 Hrs | For Safety purpose for de-jumpering at location No. 94 (dead Tower T-Off FCP) to isolate the working portion for dismantling of existing towers between Location No. 94 to Fateh Jang for remodeling of 132 KV T/Line New Wah to Fateh Jang to Bahtar More. | During this Shut Down only Fauji Cement Plant will be affected for 03 hrs & after de-jumpering the same will be fed from 132 KV Bahtarmore. However, 132 KV GSS Bahtar More will be fed from New Wah side & 132 KV GSS Fateh Jang will be fed from Sangjani along with other sources.
2 |  |  |  |  | 132 KV T/L Bahtermore (BMW-1) to Tower No. 94. (Dead Tower FCP) along with related earth switch |  |  | 09-01-2026 To 25-02-2026 (Contineous) |  |  | 09-01-2026 14:00 Hrs | 25-02-2026 16:00 Hrs | During this period, the portion of line will be isolated/ de-energized as working portion from 132 KV GSS Bahtermore to location No. 94. | No area will be affected. As 132KV Fauji Cement pland will be fed from 132KV GSS Fateh Jang side & 132KV GSS Bahtermore will be fed from 132KV GSS New Wah side.
1 | IESCO | IBD | NO.II | G-9 | G-9 | Karachi Company | 122311 | 13-01-2026 20-01-2026 |  |  | 09:00 | 14:00 | Conversion of 03 Nos 11 KV Underground Feeders G-10/2 G-10/3 & G-10/4 to Overhead from Main Hole 132 KV GSS G-9 to G-10/3 Signal 2K25412DOPHT58 | Karachi Company
2 | IESCO | IBD | NO.II | G-9 | G-9 | Ibne Sina | 122313 |  |  |  | 09:00 | 14:00 |  | G-9 Markaz
3 | IESCO | IBD | NO.II | G-9 | G-9 | G-9/1 | 122304 |  |  |  | 09:00 | 14:00 |  | G-9/1
4 | IESCO | IBD | NO.II | G-9 | G-9 | G-9/2 | 122305 |  |  |  | 09:00 | 14:00 |  | G-9/2
5 | IESCO | IBD | NO.II | G-9 | G-9 | G-9/3 | 122306 |  |  |  | 09:00 | 14:00 |  | G-9/3
6 | IESCO | IBD | NO.I` | Tarlai | Tramri | Kund Rajgan | 105522 | 15-01-2026 21-01-2026 |  |  | 09:00 | 14:00 | Stringing of Ospray Conductor at CM Pak Complex Kurri Road Islamabad | Chatta Bakhtawar
7 | IESCO | IBD | NO.I` | Tarlai | Rawal | Scheme-II | 17430 |  |  |  | 09:00 | 14:00 |  | Shahzad Town
8 | IESCO | IBD | NO.I` | Tarlai | Tramri | King Hammad | 105526 |  |  |  | 09:00 | 14:00 |  | Independent
9 | IESCO | IBD | NO.I | Tarlai | Tarmari | Chatta Bakhtwar | 105507 |  |  |  | 09:00 | 14:00 |  | Chatta Bakhtawar.
10 | IESCO | IBD | Bhara Kahu | B/K Rural | University Grid 220KVA | Pir Sohawa | 122503 | 10-01-2026 12-01-2026 19-01-2026 22-01-2026 29-01-2026 |  |  | 09:00 | 14:00 | Reconductoring of 11 KV Pir Sohawa Feeder | Pir Sohawa and Sarrounding
1 | IESCO | IBD | Divn-II | I-10 | H-11 | I-10/2 (Old) | 72704 | 13.01.2026 20.01.2026 27.01.2026 31.01.2026 |  |  | 10.00 AM | 01.00 PM | Bifurcation of 11KV I-10/2 Feeder from H-11 Gss to newly Construction 132 KV I-11 GSS (2K23412DOP-HT-32) | I-10/2
2 | IESCO | IBD | Divn-II | I-10 | I-11 | I-10/2 (New) | 128604
1 | IESCO | Cantt | Cantt | Jhanda | 132KV Chaklala | CNC | 002524 | 11.01.2026 18.01.2026 |  |  | 9:30 | 12:30 | For shifting of HT/LT line from Jinnah Park Chowk to Ammar Chowk | Army House & sorrounding area | Subject to NOC for 11 KV CNC Feeder from Army House
2 |  |  | Tariqabad | Tariqabad | 132KV Chaklala | Humayun Road | 002525 | [6 empty] | Askari 13, 14 & 7, Dk Nawaz & sorrounding area
3 |  |  | Cantt | Jhanda | 132KV Cantt | Jhanda | 017921 | 11.01.2026 15.01.2026 18.01.2026 22.01.2026 | [5 empty] | jhanda chichi police line ,special branch askari 10 police station c/line &iesco complex
1 | IESCO | Attock | Taxila | Margalla | 132 KV Margalla | Bahlot | 083303 | 10.01.2026 14-01-2026 21-01-2026 24-01-2026 | 10.01.2026 14.01.2026 |  | 08:00 | 16:00 | for safety purpose during stringing of conductor between location No. 85 to 94 for remodeling work of 132KV T/line new Wah to Bhatar More to Fateh Jang | Bahlot
2 | IESCO | Attock | Taxila | Wah Cantt | 132KV New Wah Cantt | Lala Rukh | 014622 | 15.01.2026 18.01.2026 21.01.2026 | 12.01.2026 |  | 08:00 | 16:00 | for safety Purpose during Errection from location No. 24 to 40 along with stringing of conductor for remodeling of132KV T/Line New Wah (Wah-5) to POF North. | Lala Rukh
3 | IESCO | Attock | Taxila | Hasanabdal | 132KV New Wah Cantt | Hussainabad | 014627 |  | 13.01.2026 |  |  |  |  | Hussainabad
4 | IESCO | Attock | Taxila | Mohra Chowk | 132KV New Wah Cantt | Munirabad | 014628 |  | 12.01.2026 15.01.2026 |  |  |  |  | Munirabad
5 | IESCO | Attock | Taxila | Wah Cantt | 132KV New Wah Cantt | POF Emergency | 014610 |  | - |  |  |  |  | POF Emergency
1 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-I | 17715 | 18.01.2026 | - |  | 09:00 | 14:00 | For load shifting from 132KV Old Rawat Grid to Newly Constructed RCCI Rawat-II GSS | RCCI & sorrounding area
2 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-II | 17724 |  | - |  | 09:00 | 14:00 |  | RCCI & sorrounding area
3 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-III | 17726 |  | - |  | 09:00 | 14:00 |  | RCCI & sorrounding area
4 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-IV | 17730 |  | - |  | 09:00 | 14:00 |  | RCCI & sorrounding area
5 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-V | 17729 |  | - |  | 09:00 | 14:00 |  | RCCI & sorrounding area
6 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-VI | New |  | - |  | 09:00 | 14:00 |  | RCCI & sorrounding area
7 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-VII |  |  | - |  | 09:00 | 14:00 |  | RCCI & sorrounding area
8 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-VIII |  |  | - |  | 09:00 | 14:00 |  | RCCI & sorrounding area
9 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-IX |  |  | - |  | 09:00 | 14:00 |  | RCCI & sorrounding area
10 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-X |  |  | - |  | 09:00 | 14:00 |  | RCCI & sorrounding area
11 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | Old Rawat | 017716 | 17.01.2026 21.01.2026 26.01.2026 31.01.2026 | 07.01.2026 10.01.2026 |  | 09:00 | 14:00 | For shifting of HT Line from T-Chowk to HASCOL Pump T-Chowk Flyover | Rawat & sorrounding area
12 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | New Rawat | 017701 |  | 12.01.2026 |  | 09:00 | 14:00 |  | Rawat & sorrounding area
13 | IESCO | Cantt | Rawat | Rawat | 500KV New Rawat | AOWHS | 064506 |  | - |  | 09:00 | 14:00 |  | Emaar & sorrounding area
14 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | Suparco | 017717 |  | - |  | 09:00 | 14:00 |  | Suparco & sorrounding area
15 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | CWO | 17722 |  | - |  | 09:00 | 14:00 |  | CWO & surrounding area
16 | IESCO | Cantt | Rawat | Rawat | 132KV Sowan | IST | 87422 |  | - |  | 09:00 | 14:00 |  | Space Technology & sorrounding area
17 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | REHMATABAD | 002519 | 21.01.2026 28.01.2026 31.01.2026 | 06.01.2026 |  | 09:00 | 14:00 | For shifting of HT line Chungi No.III to Gulraiz Phase-III Chaklala Rwp Deposit Work | Rehmatabad & sorrounding area
18 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | REHMATABAD-II | 002530 |  | - |  | 09:00 | 14:00 |  | Rehmatabad & sorrounding area
19 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | JAIL PARK | 002516 |  | 12.01.2026 |  | 09:00 | 14:00 |  | Jail Park & sorrounding area
20 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | KOT JABBI | 002539 |  | 08.01.2026 13.01.2026 |  | 09:00 | 14:00 |  | Kot Jabbi & sorrounding area
21 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | MACCA CHOWK | 002535 |  | 01.01.2026 15.01.2026 |  | 09:00 | 14:00 |  | Mecca Chowk & sorrounding area
22 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | BOSTAN KHAN | 002538 |  | 10.01.2026 14.01.2026 |  | 09:00 | 14:00 |  | Bostan Road & sorrounding area
23 | IESCO | Cantt | Cantt | Chaklala | 132KV Cantt | Dk Farman Ali | 017922 | 15.01.2026 18.01.2026 22.01.2026 25.01.2026 | 07.01.2026 13.01.2026 |  | 09:00 | 14:00 | For HT Work of Tipu Road Feeder | Dhoke Farman Ali, Dk Khabba & sorrounding area
24 | IESCO | Cantt | Cantt | Chaklala | 132KV Cantt | Tipu Road | 017916 |  | 05.01.2026 10.01.2026 |  | 09:00 | 14:00 |  | Tipu Road, Fauji Tower & sorrounding area
25 | IESCO | City | City | Committee Chowk | 132KV Cantt | Committee Chowk | 17915 | 18-01-2026 22-01-2025 25-01-2026 28-01-2026 | 06.01.2026 14.01.2026 |  | 09:00 | 14:00 | Bifurcation of 11-KVTipu Road Feeder Emanating from 132-KV Cantt Grid under ELR Head (Work Order No.2K24-461-ELR-HT 21) | Committee Chowk arounding Srounding
26 | IESCO | City | City | Zafar-ul-Haq | 132KV Cantt | Zafar-ul-Haq | 17914 |  | 05.01.2026 08.01.2026 13.01.2026 |  | 09:00 | 14:00 |  | Zafar-ul-Haq Road, Murree Road, Srafraz Road , Dhoke Khabba,Mukha Singh state Milat Colony
27 | IESCO | City | City | Committee Chowk | 132KV Cantt | Arya Mohallah | 17933 |  | 03.01.2026 12.01.2026 |  | 09:00 | 14:00 |  | Arya Mohallah, Dhoke Elahi Bux
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | A.E (T) Sub Divisoin No-I Islamabad | 132KV Kahuta City (KHC-2) - Palandri (PLD-3) along with related earth Switch. |  |  | 17-01-2026 To 15-02-2026 (Contineous) |  |  | 17-01-2026 08:00 Hrs | 15-02-2026 18:00 Hrs | For Erection/stringing purpose | No area will be affected as 132KV GSS Kahuta City along with Chaint will be fed from 132KV GSS KRL Kahuta side & Palandri, Tararkhal & Hajeera will be fed from Kotli side.
1 | IESCO | Cantt | Rawat | Rawat | 132 KV Sowan | Sowan Indus | 87404 | 16.01.2026 | - |  | 09:00 | 12:00 | For removal of safety hazards at location near police station Humak Road Islamabad for Installation of 45' HT Structure. | Indpd
2 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | RCCI express | 87413 |  | - |  | 09:00 | 12:00 |  | Inductrial
3 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | Humak | 87419 |  | 10.01.2026 |  | 09:00 | 12:00 |  | Humak and surrending
4 | IESCO | Cantt | Sowan | Sowan | 132 KV Sowan | MODEL TOWN | 87403 |  | 07.01.2026 15.01.2026 |  | 09:00 | 12:00 |  | Model Town and surrending
5 | IESCO | Cantt | Rawat | Sowan | 132 KV Sowan | Sarwar Shaheed | 87401 |  | 13.01.2026 |  | 09:00 | 12:00 |  | Imrat and surrending
6 | IESCO | Cantt | Cantt Rwp | Sowan | 132 KV Sowan | PEPSI COLA | 87408 |  | - |  | 09:00 | 12:00 |  | Indpd
1 | IESCO | GSO CIRCLE IESCO ISD | SS&TL DIVISIONIESCO RAJJAR | A.E (T) Chakwal | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) | Following 11 KV O/G feeders will be affected. |  | 17-01-2026 |  |  | 08:00 Hrs | 17:00 Hrs. | For De-Jumpering at Loc No. 33 to Isolate the section from Loc No. 01 to 33 at Chakwal side for remodeling/stringing. | 132KV GSS Neela (Bhagwal) will be affected.
[6 empty] | NEELA | 64301 |  | 12.01.2026 |  |  |  |  | NEELA
[6 empty] | HASSAL | 64302 | [6 empty] | HASSAL
[6 empty] | BALKASSAR | 64303 |  | 15.01.2026 |  |  |  |  | BALKASSAR
[6 empty] | Kot Chaudhrian | 64304 |  | 12.01.2026 |  |  |  |  | KOT CHAUDHRIAN
[6 empty] | PIPLI | 64305 | [6 empty] | PIPLI
[6 empty] | DULLAHA | 64306 | [6 empty] | DULLAHA
[6 empty] | KARSAL | 64307 | [6 empty] | KARSAL
2 |  |  |  |  | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) |  |  | 17-01-2026 to 15-02-2026 (Contineous) |  |  | 15-01-2026 08:00 Hrs | 15-02-2026 18:00 Hrs | Remodeling/Stringing of Chakwal - Talagang circuit from Loc No. 01 to 33 | 132KV GSS Bhagwal will be affected from 09:00 Hrs to 15:00 Hrs. after that No area will be affected as 132KV Chakwal already feeding from 500KV Rawat, Bhagwal will be fed from Talagang side & Talagang will be fed from Tamman side.
1 | IESCO | Chakwal | Chakwal | Ghazi Abad | 132KV Grid Station Chakwal | MUREED | 002201 | 19.01.2026 24.01.2026 28.01.2026 31.01.2026 02.02.2026 07.01.2026 11.02.2026 14.02.2026 | 01.01.2026 05.01.2026 10.01.2026 |  | 0800 Hrs | 1400 Hrs | Stringing of Location # 06 to 33 of 132KV T/Line Chakwal - Talagang | Mureed & Surrounding Area
2 | [5 empty] | AL-QAIM MILLS | 002206 |  | - |  |  |  |  | Al-Qaim Mills & Surrounding Area
3 | [5 empty] | JAMALWAL | 002219 |  | 03.01.2026 07.01.2026 12.01.2026 15.01.2026 |  |  |  |  | Jamalwala & Surrounding Area
4 | [5 empty] | MENGAN | 002211 |  | 06.01.2026 13.01.2026 |  |  |  |  | Mengan & Srounding area
1 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV New Wah | Hassan Abdal | 14617 | 20.01.2026 22.01.2026 27.01.2026 29.01.2026 03.02.2026 05.02.2026 |  |  | 03:00 PM | 06.00 PM | shfiting of HT/LT Hassan Abdal City under City Beautificaton and Public Safety initiave | Hassan Abdal & Surrounding Area | 11 KV Hassan Abdal Feeder is Feeding Court Copmlex Wrothy C.E (O&M) Vide letter no 140-48 dated 08.01.2026 has stoped all shut down during court working hours (08.00am 03.00PM This office process / carried out shut down after working hours of court
1 | IESCO | GSO CIRCLE IESCO ISD | SS&TL DIVISIONIESCO RAJJAR | A.E (T) Mangla | 132KV Bus Isolator (ISO-81) & Power Transformer Breaker (IMG-81) at 132KV GSS Islamgarh | 11KV O/G of Islamgarh |  | 18-01-2026 |  |  | 08:00 Hrs | 16:00 Hrs. | For replacement of defective 11KV I/C & Bus Coupler | 132KV GSS Islamgarh will be affected.
[6 empty] | Islamgarh city | 106201 | [6 empty] | Bulk Supply of AJK
[6 empty] | Poona | 106202 | [6 empty] | Bulk Supply of AJK
[6 empty] | Kakra | 106203 | [6 empty] | Bulk Supply of AJK
[6 empty] | Poona-2 | 106204 | [6 empty] | Bulk Supply of AJK
[6 empty] | Kalyal Bansi | 106205 | [6 empty] | Bulk Supply of AJK
1 | IESCO | IBD | B/Kahu | Patriata | 132KV Kuldana Murree | TDCP | 13717 | 17.01.2026 20.01.2026 22.01.2026 26.01.2026 |  |  | 09:00 | 14:00 | for Removal/Shifting of Services remodling of Jhika Gali Chowk Tehsil & District Murree. | Chair Lift
2 | IESCO | IBD | B/Kahu | J/Gali | 132KV Kuldana Murree | MCM | 13716 |  |  |  | 09:00 | 14:00 |  | Jhika Gali, Gharial, Kashmiri Bazar, Dana, Aliot
3 | IESCO | IBD | B/Kahu | J/Gali | 132KV Kuldana Murree | Gharial | 13711 |  |  |  | 09:00 | 14:00 |  | Jhika Gali, Gharial, Kashmiri Bazar, Dana, Aliot
4 | IESCO | IBD | B/Kahu | Patriata | 132KV Kuldana Murree | Upper Topa | 13705 |  |  |  | 09:00 | 14:00 |  | Mohra Batnara, Sambal Bia, Ghora Bastal, Khajut, Hokra Karri.
5 | IESCO | IBD | B/Kahu | Patriata | 132KV Kuldana Murree | Patriata | 13712 |  |  |  | 09:00 | 14:00 |  | Charhan, Mohra Syedan, Sambal Syedan, Ghel, Sorasi, Dhanda, Waghal, Bandi, Ban, Khalabut
6 | IESCO | IBD | B/Kahu | Patriata | 132KV Kuldana Murree | PAF | 13710 |  |  |  | 09:00 | 14:00 |  | PAF
7 | IESCO | IBD | B/Kahu | Murree | 132KV Kuldana Murree | Kuldana | 13702 |  |  |  | 09:00 | 14:00 |  | Mall Road, Kashmir Point and Mashyari.
1 | IESCO | GSO | SS&TL ISD | AE(T) No.2 | Power Transformer T-1 (10/13 MVA ) At 132KV GSS PAEC (Sambli Bharamal) | PAEC (Sambli Bharalmal) | 114401 | 17-01-2026 |  |  | 9:00 | 14:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system | PAEC (Sambli Bharalmal) Consumer | Maintenance will be carried out by the A.E (M) Islamabad Team.
2 | IESCO | GSO | SS&TL ISD | RE KRL | Power Transformer T-3 (20/26 MVA ) At 132KV GSS KRL | 132KV Kahuta KRL | 8901 | 18-01-2026 |  |  | 10:00 | 13:00 |  | No are will be affect as 11KV feeders will be shfited on Power Transformer T-2 through Buscoupler
3 | IESCO | GSO | SS&TL Rawalpindi | R.E Sub Islamabad int.Airport | 132 KV GSS New Islamabad Int Airport (T-1) (20/26 MVA) | Consumer Grid |  | 17-01-2025 |  |  | 09:00 h | 16:00 h |  | Consumer Grid Station | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
4 | IESCO | GSO | SS&TL Rawalpindi | R.E Sub New Islamabad int.Airport | 132 KV GSS New Islamabad Int Airport (T-2) (20/26 MVA) | Consumer Grid |  | 18-01-2026 |  |  | 09:00 h | 16:00 h |  | Consumer Grid Station
1 | IESCO | Cantt | Rawat | Rawat | 132KV Rawat | Sihala College | 17708 | 18.01.2026 |  |  | 10:00 | 13:00 | For shifting of load from 132 KV GSS Old Rawat to Newl Constructed 132 KV GSS RCCI Rawat-II | Sihala college
1 | IESCO | Jhelum | Gujar Khan | City Gujar Khan | Gujar Khan | Scheme-1 | 4922 | 17.01.2026 |  |  | 10:00 | 12:00 | For Errection of HT poles IRO Deposit Work Beautificaiton of Gujar Khan City Bazar | Barki Jadeed, Nagail Umer Khan.
2 | IESCO | Jhelum | Gujar Khan | City Gujar Khan | Gujar Khan | Gujar Khan | 4901 | 17.01.2026 |  |  | 10:00 | 12:00 |  | Housing Scheme, Mohallah Hafizabad, Barki Jadeed, etc.
1 | IESCO | IBD | XEN-II | I-9 | I-10 | EVC-II | 6441 | 27-01-2026 |  |  | 10.00 AM | 01.00 PM | Provision of Electricity Connection at H-9 Metro Bus Depot For EV Charging Buses For Fitting of Steel-X-Arm | Independent
2 | IESCO | IBD | XEN-II | I-9 | I-8 | H-8/2 | 61111 | [6 empty] | H-8/2 Sector
3 | IESCO | IBD | XEN-I | Khana Dak | Zero Point | Highway | 22315 | 17-01-2026 |  |  | 10.00 AM | 01.00 PM | Shifiting of 11 KV Lines due to Rehabilitatation and Widening of Faizabad Interchang | Khana Dak,Ghori Town.etc
4 | IESCO | IBD | XEN-I | Khana Dak | Zero Point | Service Road | 22333 | [6 empty] | Abdullah Town,Sanam Chowk.etc
5 | IESCO | IBD | XEN-I | Rawal | Zero Point | Zia Masjid | 22342 | [6 empty] | Shakrial, Zia Masjid.etc
6 | IESCO | IBD | XEN-I | Rawal | Zero Point | Iqbql Town | 22314 | [6 empty] | Iqbql Town.etc
7 | IESCO | IBD | XEN-I | Rawal | I-8 | Sohan | 61134 | [6 empty] | Sohan,Muhammadi Town.etc
1 | IESCO | IBD | XEN-II | I-9 | I-10 | Industrial-I | 6409 | 24-01-2026 31.01.2026 |  |  | 10:00 | 13:00 | Shifting of H/T Line Due to Rehabilitayion and widening of 7 UP chowk to NISCOM Hospital Islamabad. | Independent
2 | IESCO | IBD | XEN-II | I-9 | I-10 | Industrial-II | 6422 | [6 empty] | Independent
3 | IESCO | IBD | XEN-II | I-9 | I-10 | Industrial-III | 6431 | [6 empty] | Independent
4 | IESCO | IBD | XEN-II | I-9 | I-10 | Warid | 6439 | [6 empty] | Independent
5 | IESCO | IBD | XEN-II | I-9 | I-10 | Old PTN | 6405 | [6 empty] | Independent
6 | IESCO | IBD | XEN-II | I-9 | I-10 | EVC-II | 6441 | [6 empty] | Independent
7 | IESCO | IBD | XEN-II | I-9 | H-11 | SES | 72731 | [6 empty] | Independent
8 | IESCO | IBD | XEN-II | I-9 | H-11 | Fazal Ghee | 72705 | [6 empty] | Independent
9 | IESCO | IBD | XEN-II | I-9 | H-11 | Ufone | 72733 | [6 empty] | Independent