## mail-approval-shutdown
S # | DISCO | Circle | Division | Sub Division | Name of 132 KV Grid Station | Name of Feeder | Feeder Code | Date | Existing Operation Maintenance Date | Proposed Change Date for Operation Maintenance | Time From | Time To | Purpose of Shut Down | Affected Area | Remarks
1 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | C.W.O. | 058204 | 01.01.2026 08.01.2026 13.01.2026 15.01.2026 20.01.2026 22.01.2026 27.01.2026 29.01.2026 | Nil |  | 0900 | 1400 | Shifting of HT/LT Line due to dulization of Lillah - Jhelum Road | Army Area - Civil Work Organization.
2 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | Abdullah Pur | 058206 |  | 01.01.2026 06.01.2026 10.01.2026, (Cancelled on dated 14.01.2026) |  | 0900 | 1400 |  | Chak Mujahid Shumali, Karyala, Chak Shadi, Pinanwal,
3 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | Jalal Pur | 058203 |  | 05.01.2026 08.01.2026 13.01.2026 |  | 0900 | 1400 |  | Chak Mujahid Shumali, Karyala, Chak Shadi, Pinanwal,
4 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | Sagharpur | 058202 |  | 03.01.2026 07.01.2026 (Cancelled on dated 12.01.2026) 15.01.2026 |  | 0900 | 1400 |  | Chak Mujahid Shumali, Karyala, Chak Shadi, Pinanwal,
2 |  |  |  |  | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) |  |  | 01-01-2026 to 31-01-2026 (Contineous) |  |  | 01-01-2026 09:00 Hrs | 31-01-2026 18:00 Hrs | Remodeling/Stringing of Chakwal - Talagang circuit from Loc No. 01 to 33 | 132KV GSS Bhagwal will be affected from 09:00 Hrs to 15:00 Hrs. after that No area will be affected as 132KV Chakwal already feeding from 500KV Rawat, Bhagwal will be fed from Talagang side & Talagang will be fed from Tamman side.
1 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV Bahtar | BABRAKI | 112015 | 05.01.2026 09.01.2026 16.01.2026 19.01.2026 23.01.2026 26.01.2026 30.01.2026 | 29.12.2025 13.01.2026 |  | 09:00 | 14:00 | 11Kv Pather Garh Feeder Erection of HT Str, PC Poles and strining | Babraki Crusher, Lunda Market, Dara Market and Kohsar Valley & surrounding area
2 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV Bahtar | KOHSAR VALLEY | 112013 |  | 22.12.2025 12.01.2026 |  | 09:00 | 14:00
3 | IESCO | Attock | Attock | Attock Cantt | 132 KV Sanjwal | ATTOCK CANTT | 018901 | 06-01-2026 13-01-2026 15-01-2026 20-01-2026 22-01-2026 27-01-2026 29-01-2026 | 31.12.2025 13.01.2026 |  | 09:00 | 14:00 | Strining & Errection of Pole in R/o 11 KV Independent MCH Attock | Attock Cantt, Saddar & surrounding area
4 | IESCO | Attock | Attock | Attock Cantt | 132 KV Sanjwal | DHOKE FATEH | 018911 | 12-01-2026 15-01-2026 20-01-2026 22-01-2026 27-01-2026 29-01-2026 | 31.12.2025 06.01.2026 |  | 09:00 | 14:00 |  | Dk. Fateh & surrounding area
5 | IESCO | Attock | Attock | Attock Cantt | 132 KV Sanjwal | KATCHERY | 018902 |  | 31.12.2025 15.01.2026 |  | 09:00 | 14:00 |  | Katachery & surrounding area
6 | IESCO | Attock | Attock | Attock Cantt | 132 KV Sanjwal | DARUL ISLAM | 018909 |  | 31.12.2025 07.01.2026 12.01.2026 |  | 09:00 | 14:00 |  | DI Colony & surrounding area
7 | IESCO | Attock | Attock | Attock City | 132 KV Attock | 3-MEELA | 075113 | 07-01-2026 10-01-2026 14-01-2026 20-01-2026 22-01-2026 27-01-2026 29-01-2026 | 30.12.2025 05.01.2026 14.01.2026 |  | 09:00 | 14:00 | Re-Conductring of 3-Meela feeder | Teen Meela & surrounding area
8 | IESCO | Attock | Attock | Attock City | 132 KV Attock | BAGH NEELAB | 075114 | 05-01-2026 07-01-2026 10-01-2026 15-01-2026 20-01-2026 22-01-2026 29-01-2026 | 30.12.2025 13.01.2026 |  | 09:00 | 14:00 |  | Bagh Neelab & surrounding area
11 | IESCO | Attock | Attock | Attock City | 132 KV Attock | FAWARA CHOWK | 075103 | 13.01.2026 20-01-2026 26-01-2026 28-01-2026 | 29.12.2025 08.01.2026 |  | 09:00 | 14:00 |  | A,B,C,R Block & surrounding area
1 | IESCO | Cantt | Tariqabad | Tariqabad | 132 KV Chaklala | Humayun Road | 002525 | 10.01.2026 17.01.2026 24.01.2026 31.01.2026 |  |  | 14:00 | 17:00 | For load shifting at Katchery Chowk safe city project | Askari 13, 14 & 7, Dk Nawaz & sorrounding area
2 | IESCO | Cantt | Cantt | Jhanda | 132KV Cantt | VIP | 17911 | 03.01.2026 15.01.2026 22.01.2026 29.01.2026 |  |  | 10:00 | 13:00 | For erection of poles at Katchery Chowk | VIP & sorrounding area
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Margalla | 132 KV T/Line Fateh jang – Bahtarmore T-Off Fauji Cement plant. (ISO-101) (along with related Earth Switches.) (FTJ-1 – BMW-1) |  |  | 09-01-2026 |  |  | 09:00 Hrs | 14:00 Hrs | For Safety purpose for de-jumpering at location No. 94 (dead Tower T-Off FCP) to isolate the working portion for dismantling of existing towers between Location No. 94 to Fateh Jang for remodeling of 132 KV T/Line New Wah to Fateh Jang to Bahtar More. | During this Shut Down only Fauji Cement Plant will be affected for 03 hrs & after de-jumpering the same will be fed from 132 KV Bahtarmore. However, 132 KV GSS Bahtar More will be fed from New Wah side & 132 KV GSS Fateh Jang will be fed from Sangjani along with other sources.
2 |  |  |  |  | 132 KV T/L Bahtermore (BMW-1) to Tower No. 94. (Dead Tower FCP) along with related earth switch |  |  | 09-01-2026 To 25-02-2026 (Contineous) |  |  | 09-01-2026 14:00 Hrs | 25-02-2026 16:00 Hrs | During this period, the portion of line will be isolated/ de-energized as working portion from 132 KV GSS Bahtermore to location No. 94. | No area will be affected. As 132KV Fauji Cement pland will be fed from 132KV GSS Fateh Jang side & 132KV GSS Bahtermore will be fed from 132KV GSS New Wah side.
10 | IESCO | IBD | Bhara Kahu | B/K Rural | University Grid 220KVA | Pir Sohawa | 122503 | 10-01-2026 12-01-2026 19-01-2026 22-01-2026 29-01-2026 |  |  | 09:00 | 14:00 | Reconductoring of 11 KV Pir Sohawa Feeder | Pir Sohawa and Sarrounding
1 | IESCO | IBD | Divn-II | I-10 | H-11 | I-10/2 (Old) | 72704 | 13.01.2026 20.01.2026 27.01.2026 31.01.2026 |  |  | 10.00 AM | 01.00 PM | Bifurcation of 11KV I-10/2 Feeder from H-11 Gss to newly Construction 132 KV I-11 GSS (2K23412DOP-HT-32) | I-10/2
2 | IESCO | IBD | Divn-II | I-10 | I-11 | I-10/2 (New) | 128604
11 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | Old Rawat | 017716 | 17.01.2026 21.01.2026 26.01.2026 31.01.2026 | 07.01.2026 10.01.2026 |  | 09:00 | 14:00 | For shifting of HT Line from T-Chowk to HASCOL Pump T-Chowk Flyover | Rawat & sorrounding area
12 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | New Rawat | 017701 |  | 12.01.2026 |  | 09:00 | 14:00 |  | Rawat & sorrounding area
13 | IESCO | Cantt | Rawat | Rawat | 500KV New Rawat | AOWHS | 064506 |  | - |  | 09:00 | 14:00 |  | Emaar & sorrounding area
14 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | Suparco | 017717 |  | - |  | 09:00 | 14:00 |  | Suparco & sorrounding area
15 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | CWO | 17722 |  | - |  | 09:00 | 14:00 |  | CWO & surrounding area
16 | IESCO | Cantt | Rawat | Rawat | 132KV Sowan | IST | 87422 |  | - |  | 09:00 | 14:00 |  | Space Technology & sorrounding area
17 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | REHMATABAD | 002519 | 21.01.2026 28.01.2026 31.01.2026 | 06.01.2026 |  | 09:00 | 14:00 | For shifting of HT line Chungi No.III to Gulraiz Phase-III Chaklala Rwp Deposit Work | Rehmatabad & sorrounding area
18 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | REHMATABAD-II | 002530 |  | - |  | 09:00 | 14:00 |  | Rehmatabad & sorrounding area
19 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | JAIL PARK | 002516 |  | 12.01.2026 |  | 09:00 | 14:00 |  | Jail Park & sorrounding area
20 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | KOT JABBI | 002539 |  | 08.01.2026 13.01.2026 |  | 09:00 | 14:00 |  | Kot Jabbi & sorrounding area
21 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | MACCA CHOWK | 002535 |  | 01.01.2026 15.01.2026 |  | 09:00 | 14:00 |  | Mecca Chowk & sorrounding area
22 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | BOSTAN KHAN | 002538 |  | 10.01.2026 14.01.2026 |  | 09:00 | 14:00 |  | Bostan Road & sorrounding area
25 | IESCO | City | City | Committee Chowk | 132KV Cantt | Committee Chowk | 17915 | 18-01-2026 22-01-2025 25-01-2026 28-01-2026 | 06.01.2026 14.01.2026 |  | 09:00 | 14:00 | Bifurcation of 11-KVTipu Road Feeder Emanating from 132-KV Cantt Grid under ELR Head (Work Order No.2K24-461-ELR-HT 21) | Committee Chowk arounding Srounding
26 | IESCO | City | City | Zafar-ul-Haq | 132KV Cantt | Zafar-ul-Haq | 17914 |  | 05.01.2026 08.01.2026 13.01.2026 |  | 09:00 | 14:00 |  | Zafar-ul-Haq Road, Murree Road, Srafraz Road , Dhoke Khabba,Mukha Singh state Milat Colony
27 | IESCO | City | City | Committee Chowk | 132KV Cantt | Arya Mohallah | 17933 |  | 03.01.2026 12.01.2026 |  | 09:00 | 14:00 |  | Arya Mohallah, Dhoke Elahi Bux
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | A.E (T) Sub Divisoin No-I Islamabad | 132KV Kahuta City (KHC-2) - Palandri (PLD-3) along with related earth Switch. |  |  | 17-01-2026 To 15-02-2026 (Contineous) |  |  | 17-01-2026 08:00 Hrs | 15-02-2026 18:00 Hrs | For Erection/stringing purpose | No area will be affected as 132KV GSS Kahuta City along with Chaint will be fed from 132KV GSS KRL Kahuta side & Palandri, Tararkhal & Hajeera will be fed from Kotli side.
2 | IESCO | GSO CIRCLE IESCO ISD | SS&TL DIVISIONIESCO RAJJAR | A.E (T) Chakwal | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) |  |  | 17-01-2026 to 15-02-2026 (Contineous) |  |  | 15-01-2026 08:00 Hrs | 15-02-2026 18:00 Hrs | Remodeling/Stringing of Chakwal - Talagang circuit from Loc No. 01 to 33 | 132KV GSS Bhagwal will be affected from 09:00 Hrs to 15:00 Hrs. after that No area will be affected as 132KV Chakwal already feeding from 500KV Rawat, Bhagwal will be fed from Talagang side & Talagang will be fed from Tamman side.
1 | IESCO | Chakwal | Chakwal | Ghazi Abad | 132KV Grid Station Chakwal | MUREED | 002201 | 19.01.2026 24.01.2026 28.01.2026 31.01.2026 02.02.2026 07.01.2026 11.02.2026 14.02.2026 | 01.01.2026 05.01.2026 10.01.2026 |  | 0800 Hrs | 1400 Hrs | Stringing of Location # 06 to 33 of 132KV T/Line Chakwal - Talagang | Mureed & Surrounding Area
2 | [5 empty] | AL-QAIM MILLS | 002206 |  | - |  |  |  |  | Al-Qaim Mills & Surrounding Area
3 | [5 empty] | JAMALWAL | 002219 |  | 03.01.2026 07.01.2026 12.01.2026 15.01.2026 |  |  |  |  | Jamalwala & Surrounding Area
4 | [5 empty] | MENGAN | 002211 |  | 06.01.2026 13.01.2026 |  |  |  |  | Mengan & Srounding area
1 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV New Wah | Hassan Abdal | 14617 | 20.01.2026 22.01.2026 27.01.2026 29.01.2026 03.02.2026 05.02.2026 |  |  | 03:00 PM | 06.00 PM | shfiting of HT/LT Hassan Abdal City under City Beautificaton and Public Safety initiave | Hassan Abdal & Surrounding Area | 11 KV Hassan Abdal Feeder is Feeding Court Copmlex Wrothy C.E (O&M) Vide letter no 140-48 dated 08.01.2026 has stoped all shut down during court working hours (08.00am 03.00PM This office process / carried out shut down after working hours of court
1 | IESCO | IBD | XEN-II | I-9 | I-10 | EVC-II | 6441 | 27-01-2026 |  |  | 10.00 AM | 01.00 PM | Provision of Electricity Connection at H-9 Metro Bus Depot For EV Charging Buses For Fitting of Steel-X-Arm | Independent
2 | IESCO | IBD | XEN-II | I-9 | I-8 | H-8/2 | 61111 | [6 empty] | H-8/2 Sector
1 | IESCO | IBD | XEN-II | I-9 | I-10 | Industrial-I | 6409 | 24-01-2026 31.01.2026 |  |  | 10:00 | 13:00 | Shifting of H/T Line Due to Rehabilitayion and widening of 7 UP chowk to NISCOM Hospital Islamabad. | Independent
2 | IESCO | IBD | XEN-II | I-9 | I-10 | Industrial-II | 6422 | [6 empty] | Independent
3 | IESCO | IBD | XEN-II | I-9 | I-10 | Industrial-III | 6431 | [6 empty] | Independent
4 | IESCO | IBD | XEN-II | I-9 | I-10 | Warid | 6439 | [6 empty] | Independent
5 | IESCO | IBD | XEN-II | I-9 | I-10 | Old PTN | 6405 | [6 empty] | Independent
6 | IESCO | IBD | XEN-II | I-9 | I-10 | EVC-II | 6441 | [6 empty] | Independent
7 | IESCO | IBD | XEN-II | I-9 | H-11 | SES | 72731 | [6 empty] | Independent
8 | IESCO | IBD | XEN-II | I-9 | H-11 | Fazal Ghee | 72705 | [6 empty] | Independent
9 | IESCO | IBD | XEN-II | I-9 | H-11 | Ufone | 72733 | [6 empty] | Independent
1 | IESCO | Cantt | Mandra | Wadala | 132KV Old Rawat | New Kalyam | 17721 | 20.01.2026 27.01.2026 | 24.01.2026 31.01.2026 |  | 09:00 | 14:00 | For Area Planning of 11KV Jatha Hathial & Pind Jhatla Feeder | Shah Khai awan & Sorrounding Area
2 | IESCO | Cantt | Mandra | Wadala | 132KV Old Rawat | Basali | 017728 |  | 17.01.2026 27.01.2026 |  | 09:00 | 14:00 |  | Basali & sorrounding area
3 | IESCO | Cantt | Mandra | Wadala | 132KV Old Rawat | Pind Jhatla | 017727 |  | 22.01.2026 26.01.2026 |  | 09:00 | 14:00 |  | Suparco & sorrounding area
4 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Islamabad Feed Mill | 064511 |  | - |  | 09:00 | 14:00 |  | IFM & sorrounding area
5 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Jatha Hathial | 064503 |  | 20.01.2026 29.01.2026 |  | 09:00 | 14:00 |  | Jatha Hathial & sorrounding area | Subject to provision of NOC.
6 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Industrial | 064502 |  | 24.01.2026 28.01.2026 31.01.2026 |  | 09:00 | 14:00 |  | Industrial & sorrounding area
7 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Reliance Waving Mill | 064501 |  | - |  | 09:00 | 14:00 |  | Reliance Weaving Mill & sorrounding area | Subject to provision of NOC.
8 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Bhall | 064507 |  | 17.01.2026 20.01.2026 27.01.2026 |  | 09:00 | 14:00 |  | Bhall & sorrounding area
9 | IESCO | Cantt | Tariqabad | Adyala | 500KV New Rawat | Jarrar Camp | 064510 |  | - |  | 09:00 | 14:00 |  | Jarrar Camp & sorrounding area | Subject to provision of NOC.
8 | IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot | 20/26MVA Power Transformer T-1 at 132KV GSS Khui Ratta | Following 11KV O/G will be affected |  | 27-01-2026 |  |  | 09:00 | 16:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Islamabad Team.
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Khui Ratta Express | 92808 | [6 empty] | Bulk Supply
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Charhoi Dongi | 92803 | [6 empty] | Bulk Supply
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Dana Behal | 92802 | [6 empty] | Bulk Supply
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Saree | 92804 | [6 empty] | Bulk Supply
9 | IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot | 20/26MVA Power Transformer T-3 at 132KV GSS Khui Ratta | Following 11KV O/G will be affected
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Bharat Gala | 92806 | [6 empty] | Bulk Supply
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Charhoi Exprss | 92805 | [6 empty] | Bulk Supply
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Darbar M Toti | 92807 | [6 empty] | Bulk Supply
| IESCO | GSO | SS&TL ISD | A.E (T) Rawalakot |  | Khui Ratta City | 92801 | [6 empty] | Bulk Supply
1 | IESCO | Cantt | Rawat | Kahuta | 132KV Kahuta City | Kahuta City-1 | 9001 | 24.01.2026 26.01.2026 28.01.2026 31.01.2026 02.02..2026 04.02.2026 07.02.2026 09.02.2026 11.02.2026 14.02.2026 | - |  | 07:00 | 18:00 | for Errection/Stringing at Location No. 05 to 26 at 132KV T/Line Kahuta City to Plandri. | Kahuta City-1 & Surrounding area
2 | IESCO | Cantt | Rawat | Kahuta | 132KV Kahuta City | Lehtrar-1 | 9005 | 22.01.2026 24.01.2026 26.01.2026 28.01.2026 31.01.2026 02.02.2026 04.02.2026 07.02.2026 09.02.2026 11.02.2026 14.02.2026 | 27.01.2026 |  |  |  |  | Lehtrar-1 & Surrounding area
3 | IESCO | Cantt | Rawat | Kahuta | 132KV Kahuta City | Narh | 9006 | 22.01.2026 24.01.2026 26.01.2026 28.01.2026 31.01.2026 | 19.01.2026 22.01.2026 28.01.2026 31.01.2026 |  |  |  |  | Narh & Surrounding area
1 | IESCO | Chakwal | Chakwal | Main Bazar | 132KV Chakwal | Main Bazar | '002214 | 24.01.2026 27.01.2026 31.01.2026 03.02.2026 07.02.2026 10.02.2026 14.02.2026 17.02.2026 |  |  | 09:00 | 14:00 | For Dismantling of HT/LT Structures and shifting of T/F from old to new line under area planning of 11 KV Islamia Chowk Feeder and 11 KV Main Bazar Feeder Emanating from 132 KV Chakwal Grid station | Surrounding area of Feeder
2 | IESCO | Chakwal | Chakwal | Main Bazar | 132KV Chakwal | ISLAMIA CHOWK | '002223 | 26.01.2026 29.01.2026 02.02.2026 11.02.2026 |  |  | 09:00 | 14:00 | For Shifting of line under deposit head Punjab Highway, CM Punjab new road construction project Bhoun road Chakwal | Surrounding area of Feeder
1 | IESCO | City | Westridge | Westridge | Pirwadhai | Askari-XI | 043325 | 20-01-2026 24-01-2026 29-01-2026 |  |  | 10:00 Hrs | 13:00 Hrs | D/W Army Grave Yard | Shamsabad, Gulshan Dadan, Murree Road, Faizabad
2 | IESCO | City |  |  | KTM | NRC | 8622 | [6 empty] | Karimabad, Khanna Road, Noora road and surroundings.
1 | IESCO | City | Westridge | Kamalabad | Kamalabad | Kamalabad | 1025 | 22-01-2026 28-01-2026 31-01-2026 |  |  | 10:00 Hrs | 01:00 Hrs | Reconducting of HT Conductor Safety Hazard Work Molve Khurshed Misrial Road Rawalpindi | Kamalabad & surrounding areas
2 | IESCO | City |  | Tarnol | Tarnol | Bajniyal-I | 104910 | 24-01-2026 29-01-2026 |  |  |  |  | Reconducting of HT Conductor LV Work Village Katarian Rawalpindi | Bajniyal & surrounding areas
3 | IESCO | City |  | Tarnol | KTM | P&T Wani | 8610 | 23-01-2026 30-01-2026 |  |  |  |  | Reconducting of HT Conductor Safety Hazard Dk. Boota C31Rawalpindi | Jhangi Syeda, Haideri Chowk & surrounding areas
4 | IESCO | City |  | Westridge | KTM | Dk. Chaudharian | 8621 | 20-01-2026 27-01-2026 |  |  |  |  | Installation of HT Pole Safety Hazard Work Lane No. 04 St. No. 02 Peshawar road Rawalpindi | Dk. Chaudrian and surrounding areas
1 | IESCO | Jhelum | Jhelum-II | Rural | Jhelum | Pakhwal | 7720 | 22.01.26 24.01.26 27.01.26 31.01.26 |  |  | 0900 | 1200 | Stringing of 11KV Pakhwal Feede | Vill: Pakhwal, Chak Doulat etc
12 | IESCO | Chakwal | Talagang | Talagang City | Talagang | MOORAT | 102411 | 29.01.2026 |  |  | 9:00 | 12:00 | For Removal of PC Poles | Moorat, Chakwal Road, Dk Chabeel, Dk Jhammal, Kaloo, Dk Jhamal new Abidi, Dk Manigal, Dk Naina, Dk Malang, Mamdoot, Adlaka, Chakwalin, Dk Jhalooka, Dk Dorrina, Dk Jangli, Mehmood Wala, Dk Roda
13 | IESCO | Chakwal | Talagang | Talagang City | Talagang | MADINA TOWN | 102415 |  |  |  | 9:00 | 12:00 | For Removal of PC Poles | Madina Town TLG, Dk Haider, new lorry Adda TLG, Banglow Noor Shah, Dk Ayub, Dk Kund, Dk Dakia, Civil Hospial
14 | IESCO | Chakwal | Talagang | Talagang City | Talagang | TALAGANG CITY | 102403 |  |  |  | 9:00 | 12:00 | For Removal of PC Poles | Maddni Chowk, Degree Collage , Sultan Road, Mundial Chowk, Movisian Hospital, Housing Colony Talagang, new Larry Adda ,
1 | IESCO | Attock | Taxila | Margalla | 132 KV Margalla | Bahlot | 083303 | 25.01.2026 31.01.2026 | 22.01.2026 28.01.2026 |  | 09:00 | 16:00 | for safety purpose during stringing of conductor between location No. 77 to 85 for remodeling work of 132KV T/line new Wah to Bhatar More to Fateh Jang | Bahlot
2 | IESCO | Attock | Taxila | Margalla | 132 KV Bhatar More | Dhraik | 112006 |  | 29.01.2026 |  | 09:00 | 16:00 |  | Dhrail
3 | IESCO | Attock | Taxila | Margalla | 132 KV Bhatar More | Multi Orchard | 112012 |  | - |  | 09:00 | 16:00 |  | Multi Orchard
1 | IESCO | Attock | Attock | Hazro | 132KV Faqirabad | Shahdhair | 12013 | 24.01.2026 29.01.2026 | 24.01.2026 |  | 09:00 | 14:00 | Errection of Poles IRO Area Planning Shahdhair & Hazro feeder | Shahdhair & Surrounding area.
3 | IESCO | Chakwal | Talagang | Tamman | Tamman | WANHAR | 072202 | 27.01.2026 | 27.01.2026 31.01.2026 |  | 09:00 | 14:00 | for completion of LV work Dk. Darbota Dakhali & ABC Cable work Dk. Ajmal Patwali. | Wanhar, Dhulli, Village Bhagttal.,
4 | IESCO | Chakwal | Talagang | Tamman | Tamman | PATWALI | 072207 |  | 22.01.2026 29.01.2026 |  | 09:00 | 14:00 |  | Village Patwali, Village Budhial, Misrial, Dhok Munian.
5 | IESCO | Chakwal | Talagang | Talagang City | Talagang | MOORAT | 102411 | 29.01.2026 | 29.01.2026 |  | 09:00 | 14:00 | for completion of LV work ABC Cable Patwali Road Adhlala.. | Moorat, Chakwal Road, Dk Chabeel, , Dk Malang, Mamdoot, Adlaka, Chakwalin, Dk Jhalooka, Dk Dorrina, Dk Jangli, Mehmood Wala, Dk Roda
6 | IESCO | Chakwal | Talagang | D.S.Bilawal | D.S.Bilawal | LAWA | 025902 |  | - |  | 09:00 | 14:00 | for completion of LV work near Atta M. house Lawa. | Lawa, Changa, Chaki Sheikh Jee, Dk Hayat Khail, Sumalawali, Ban Babral
1 | IESCO | GSO CIRCLE IESCO ISD | SS&TL DIVISIONIESCO RAJJAR | Sub Division | 10/13MVA Power Transformer T-2 at 132KV GSS Dil Jabba |  |  | 25-01-2026 to 28-01-2026 (Contineous) |  |  | 25-01-2026 08:00 Hrs | 28-01-2026 18:00 Hrs | To set Righ the Power Transformer | No area will be affected as load of Power Transformer T-2 will be shifted to Power Transformer T-1 through Bus Coupler.
2 |  |  |  |  | 132KV main Bus Bar at 132KV GSS Dil Jabba | Following 11KV O/G feeders will be affected. |  | 27-01-2026 |  |  | 09:00 Hrs | 14:00 Hrs | To change Bus Bar Dropper/Jumper | 132KV GSS Dil Jabba will be affected.
[6 empty] | Khanpur City | 132901 | [6 empty] | Khanpur City
[6 empty] | Jand Khanzada | 132902 | [6 empty] | Jand Khanzada
[6 empty] | Shahpur Syedan | 132903 | [6 empty] | Shahpur Syedan
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | R.E New Wah | 132KV New Wah (WAH-5) - POF North - POF West & 132KV New Wah (WAH-6) - POF East |  |  | 25-01-2026 |  |  | 09:00 Hrs | 13:00 Hrs | For opening of droppers/jumpers from Loc No. 18 to POF East, for erection of new ZM-60 Tower | No area will be affected as POF Grids (Consumer) will be fed through 11KV Generation of POF Power House.
2 | [7 empty] | 01-02-2026 |  |  | 09:00 Hrs | 13:00 Hrs | For Providing of Droppers/jumpers from Loc No. 18 to POF East
3 |  |  |  |  | 132KV New Wah (WAH-6) Loc No. 18 to POF East |  |  | 25-01-2026 To 01-02-2026 (Contineous) |  |  | 25-01-2026 09:00 Hrs | 01-02-2026 13:00 Hrs | For safety purpose for erection & stringing work between Loc No. 01 to 17 for remodeling work of 132KV T/Line POF East, West and North.
5 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.1 | Power Transformer T-3 (31.5/40 MVA) At 132KV GSS PirWadhai | following 11kv feedeers will be affected |  | 31-01-2026 |  |  | 09:00 | 14:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | Dhook Haso | 43309 | [6 empty] | Dk.Hassu, Moh Alam Abad, Gulshan Fatima, Moh Hafiz Abad, Gulshan Data.
[6 empty] | Ratta | 43304 | [6 empty] | Baboo Lal Hussain Road, Ratta Amral , Railway Workshop
[6 empty] | C.Factory | 43321 | [6 empty] | Police Line , Sabzi Mandi, Carriage Factory
[6 empty] | M.Road | 43318 | [6 empty] | PIA Cly, Cantt View Cly, Ilyas Colony, Niazi Town, Madina Cly, Range Road & Shallay Valley.
[6 empty] | AMC | 43319 | [6 empty] | Exempted
[6 empty] | BB Shaheed | 43327 | [6 empty] | Ratta Amral., Mohanpura & Surranding area.
[6 empty] | M.M K/Road | 43323 | [6 empty] | Gunjmandi Road, Astable Road , Civl Hospital.
[6 empty] | Ahsan Abad | 43332 | [6 empty] | Ahsan Abad
[6 empty] | Subhan Shaheed | 43333 | [6 empty] | Subhan Shaheed
[6 empty] | Railway Colony | 43331 | [6 empty] | Railway Colony
[6 empty] | CDL Colny | 43335 | [6 empty] | CDL Colny
[6 empty] | Alam Abad | 43336 | [6 empty] | Alam Abad
[6 empty] | FAUJI COLONY | 43337 | [6 empty] | FAUJI COLONY
[6 empty] | NUTECH UNI | 43338 | [6 empty] | NUTECH UNI
6 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-3 (10/13 MVA) at 132KV GSS G-5 | following 11kv feedeers will be affected |  | 31-01-2026 |  |  | 09:00 | 12:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Islamabad Team.
[6 empty] | Sareena Complex | 75018 | [6 empty] | Sareena Complex
[6 empty] | Sareena Hotle | 75013 | [6 empty] | Sareena Hotle
[6 empty] | K.Block | 75021 | [6 empty] | K.Block
[6 empty] | Comsteck | 75015 | [6 empty] | Comsteck
[6 empty] | Karakrum Hight | 75026 | [6 empty] | Karakrum Hight
7 |  |  |  | AE(T) No.2 | Power Transformer T-4 (10/13 MVA) at 132KV GSS G-5 | following 11kv feedeers will be affected |  | 01-02-2026 |  |  | 09:00 | 12:00
[6 empty] | USA-B | 75023 | [6 empty] | USA-B
[6 empty] | USA-A | 75022 | [6 empty] | USA-A
[6 empty] | USA-C | 75024 | [6 empty] | USA-C
[6 empty] | Old USA Embassy | 75019 | [6 empty] | Old USA Embassy
8 | IESCO | GSO Circle | SS&TL ISD | RE-I-8 | 132KV GSS Taramari Power Transformer T-1 (31.5/40MVA) | Following 11KV Feeders willl be affected |  | 01-02-2026 |  |  | 09:00 | 12:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | Khana Dak | 105501 | [6 empty] | Khana Dak
[6 empty] | Burma | 105502 | [6 empty] | Burma and Surrounding
[6 empty] | Tramri | 105503 | [6 empty] | Tramri and surrounding
[6 empty] | Sudhran Road | 105504 | [6 empty] | Village Sudhran village and surrounding
[6 empty] | ISI | 105505 | [6 empty] | ISI flats
[6 empty] | Kurri Road | 105506 | [6 empty] | Bahria Enclave
[6 empty] | Al-Noor Colony | 105515 | [6 empty] | Gangal, Dr qadeer Khan Road and srounding
[6 empty] | Wahed abad | 105516 | [6 empty] | Wahed abad
[6 empty] | Lehtrar Road | 105517 | [6 empty] | Lehtrar Road
9 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-1 (20/26 MVA) 132KV GSS D-12 | following 11kv feedeers will be affected |  | 07-02-2026 |  |  | 09:00 | 12:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | FECHS (E-11/2) | 104003 | [6 empty] | FECHS Sector (E-11/2)
[6 empty] | D-12/2 | 104002 | [6 empty] | SectorD-12/2
[6 empty] | D-12/1 | 104001 | [6 empty] | Sector D-12/1
[6 empty] | Services | 104005 | [6 empty] | Services Society
[6 empty] | Shah Allah Ditta | 104011 | [6 empty] | SHAH ALLAH DITTA PIND SIRISARAL,PIND SANGRIYAL
[6 empty] | Northern Strip E-11 | 104013 | [6 empty] | Northern Strip E-11
[6 empty] | Northern Strip -2 | 104014 | [6 empty] | Northern Strip -2
10 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-2 (20/26 MVA) 132KV GSS D-12 | following 11kv feedeers will be affected |  | 08-02-2026 |  |  | 9:00 | 11:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rawalpindi Team.
[6 empty] | Railway road | 104004 | [6 empty] | DHREK MOHRI,BANNI STOP,ABADI RAILWAY RD
[6 empty] | D-12/Markaz | 104010 | [6 empty] | Sector D-12/Markaz
[6 empty] | D-12/4 | 104007 | [6 empty] | Sector D-12/4
[6 empty] | D-12/3 | 104006 | [6 empty] | Sector D-12/3
[6 empty] | MPCHS | 104008 | [6 empty] | E-11/3 (MPHS)
[6 empty] | NPF | 104009 | [6 empty] | SECTOR E-11/4 (NPF)
[6 empty] | Kalinjar | 104012 | [6 empty] | village Kalinjar & srounding
11 | IESCO | GSO | SS&TL Islamabad | AE(T) No.2 | Power Transformer T-9 (20/26 MVA) 500KV GSS New Rawat | following 11kv feedeers will be affected |  | 08-02-2026 |  |  | 9:00 | 13:00 | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system |  | Maintenance will be carried out by the A.E (M) Rajjar Team.
[6 empty] | Relaince | 064501 | [6 empty] | Relaince
[6 empty] | Behal | 064507 | [6 empty] | Behal
[6 empty] | Ghumti | 064512 | [6 empty] | Ghumti
[6 empty] | IFM | 064511 | [6 empty] | IFM
[6 empty] | Jrar camp | 064510 | [6 empty] | Jrar camp
12 | IESCO | GSO | SS&TL Islamabad | AE(T) No.2 | Power Transformer T-10 (20/26 MVA) 500KV GSS New Rawat | following 11kv feedeers will be affected |  | 08-02-2026 |  |  | 12:00 | 16:00
[6 empty] | Industrial | 064502 | [6 empty] | Industrial
[6 empty] | Aamar | 064506 | [6 empty] | Aamar
[6 empty] | Lab-2 | 064505 | [6 empty] | Lab-2
[6 empty] | Lab-1 | 064504 | [6 empty] | Lab-1
[6 empty] | Jhata Hathyal | 064503 | [6 empty] | Jhata Hathyal
1 | IESCO | Jhelum | Gujar Khan | City Gujar Khan | Gujar Khan | Hayat Sir Road | 4908 | 28.01.2026 |  |  | 15:00 | 17:00 | For Completion of LV Work Mohallah Hafizabad | Hayat Sir Road, Pharwal etc.
2 | IESCO | Jhelum | Gujar Khan | City Gujar Khan | Gujar Khan | Ward No. 08 | 4911 | 28.01.2026 |  |  | 15:00 | 17:00 |  | Ward No. 8, Sandal, Sapyali etc
1 | IESCO | Chakwal | Chakwal | Chakwal City | Chakwal | AARA BAZAR | 2218 | 29.01.2026 |  |  | 10:00 | 13:00 | For Installation of HT Pole & 100KVA Transformer of NGSC App: No. 14525015925 | Ara Bazar, Urdu Bazar, Ghala Mandi, Railway Road, Talagang Road, Pindi Road, Cristian Colony, Moh: Rehmania, Dhoke Feroze etc
IRO Aysha Shabir
Moh Peer Ladila Chowk
1 | IESCO | Jhelum | G. Khan | Gujar Khan | Gujar Khan | Gujar Khan | 4901 | 27.01.2026 |  |  | 0930 Hrs | 1230 Hrs | Completion of deposit work beautification of Main Bazar Gujar Khan | Gujar Khan City, SIE etc
2 | IESCO | Jhelum | G. Khan | Gujar Khan | Gujar Khan | Scheme-I | 4922 | [6 empty] | Scheme Gujar Khan, Barki etc
1 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Chaklala | Humayun Road | 002525 | 27.01.2026 29.01.2026 31.01.2026 |  |  | 14:00 | 17:00 | For shifting of HT Line & Demolishing Building at Katchery Chowk Project | VIP, Courts, Katchehry, Askari 13, 14 & 7, Dk Nawaz & sorrounding area
1 | IESCO | City | Westridge | Kamalabad | 132 KV GSS I/16 (Incoming #1) | Officer Colony | 104614 | 27-01-2026 |  |  | 10:00 Hrs | 13:00 Hrs | For Coupling of new 11 KV OG Panel (Make S.S.E) Taj Residencia Feeder. | Officer Colony & Surrounding
2 |  |  |  | Seham |  | HPT (Radio Pak) | 104613 | [6 empty] | Conusumer
3 | [5 empty] | I-16/3 | 104605 | [6 empty] | I-16/3 Sector
4 | [5 empty] | FOECHS | 14611 | [6 empty] | Foreign Office housing society
5 | [5 empty] | I-16 Markaz | 104608 | [6 empty] | I-16/3 Sector & Markaz
6 | [5 empty] | PHA-1 | 104617 | [6 empty] | PHA Flates
7 | [5 empty] | I-16/1 | 104604 | [6 empty] | I-16/1 Sector
1 | IESCO | City | Westridge | Tarnol | KTM | EME Complex | 008615 | 28-01-2026 31-01-2026 10.02.2026 12.02.2026 18.02.2026 |  |  | 10:00 Hrs | 13:00 Hrs | HT Fitting & Stringing AQ Khan Research Laboratory & Haji Camo widening | EME Complex
2 | [5 empty] | Jhangi | 008608 | [6 empty] | Shaheenabad, Faisal Cly, Jhangi Syedan, Tarnol & Surrounding
3 | [5 empty] | P&T Wani | 008610 | [6 empty] | Jhangi Syedan, Haidri Chowk & Surrounding area
4 | [5 empty] | Azharabad | 008620 | [6 empty] | Peshawer Road, Pind Paracha
5 | [5 empty] | Golra | 008605 | [6 empty] | Naseerabad Awan Colony
6 | [5 empty] | Zarkoon Heights | 008628 | [6 empty] | Zarkoon Heights
7 | [5 empty] | CWO | 008601 | [6 empty] | --
8 | [5 empty] | New Azharabad | [7 empty] | Not Energized