## mail-approval-shutdown
S # | DISCO | Circle | Division | Sub Division | Name of 132 KV Grid Station | Name of Feeder | Feeder Code | Date | Time From | Time To | Purpose of Shut Down | Affected Area | Remarks
1 | IESCO | GSO Circle IESCO Isd | SS&TL Division IESCO Rwp | A.E (T) Margalla | 132KV New Wah - (WAH-15) - Bahtermore (BMW-2) along with related earth switch |  |  | 31-05-2026 To 30-06-2026 (Contineous) | 31-05-2026 14:00 Hrs | 30-06-2026 14:00 Hrs | For erection & Stringing activities. (during this period, the portion of line New Wah - Bahternmore will be Isolated/ De-Energized as workingportion) | No area will be affected as 132KV GSS Bahtermore will be fed from 132KV GSS Fateh Jang side & 132KV GSS New Wah will be fed from 220KV GSS Burhan side.
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | A.E (T) Sub Divisoin No-I Islamabad | 132KV Kahuta City (KHC-2) - Palandri (PLD-3) along with related earth Switch. |  |  | 15-05-2026 To 30-06-2026 (Contineous) | 15-05-2026 18:00 Hrs | 30-06-2026 18:00 Hrs | For Erection/stringing purpose | No area will be affected as 132KV GSS Kahuta City along with Chaint will be fed from 132KV GSS KRL Kahuta side & Palandri, Tararkhal & Hajeera will be fed from Kotli side. However, 60 to 70 MW load management may be required to ovaid over loading or any contingency.
1 | IESCO | GSO CIRCLE IESCO ISD | SS&TL DIVISIONIESCO RAJJAR | A.E (T) Chakwal | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) |  |  | 24-05-2026 to 15-06-2026 (Contineous) | 24-05-2026 18:00 Hrs | 15-06-2026 18:00 Hrs | Remodeling/Stringing of Chakwal - Talagang circuit from Loc No. 01 to 33 | 132KV GSS Bhagwal will be affected from 09:00 Hrs to 15:00 Hrs. after that No area will be affected as 132KV Chakwal already feeding from 500KV Rawat, Bhagwal will be fed from Talagang side & Talagang will be fed from Tamman side. However, 35 to 40 MW load management may be required to ovaid over loading or any contingency.
1 | IESCO | GSO Circle IESCO Isd | SS&TL Division IESCO Rwp | A.E (T) New Wah | 132KV New Wah (WAH-6) to POF (East, West & North)along with related earth switch |  |  | 24-05-2026 To 14-06-2026 Contineous | 24-05-2026 08:00 Hrs | 14-06-2026 16:00 Hrs | For safety purpose for erection of Loc No. 20 & stringing of conductor between Loc No. 16 to 17 for remodeling work of 132KV T/Line POF East, West & North | On 24-5-2026 from 08:00Hrs to 16:00Hrs, 132KV GSS South, East, West & North will be affected. After that No area will be effected as all POF Grids will be fed from WAH-5, which PTW will be cancelled on 24-05-2026 at 16:00 HRs.
1 | IESCO | Cantt | Plandri | Plandri | 132KV GSS Plandri. | Azad Pattan | 48525 | 16.05.2026 18.05.2026 21.05.2026 24.05.2026 01.06.2026 04.06.2026 08.06.2026 10.06.2026 13.06.2026 | 06:00 Hrs | 15:00 Hrs | for Stringing of Tower Loc # 18 to 31 at 132KV SDT T/Line Azad Pattan Plandri | Azad Pattan & Surrounding area
1 | IESCO | Chakwal | Chakwal | Ghaziabad | Chakwal | JAMALWAL | 2219 | 04.06.2026 09.06.2026 | 8:00 | 11:00 | For Removal of Safety Hazards At Moh Shakar Pattian Village Mangwal | Mangwal, POL Joya Mair, Khoday, Balo Kassar, Uthwal, Minwal, Murhal, Shah Pur, Jamalwal, Dhok Budha, Khanwal, Latifwal, Sakriala, Dhoke Mureed, Bagh Zair, Bagh Bala, Wadhray etc.
1 | IESCO | Chakwal | Chakwal | Main Bazar | Chakwal | ISLAMIA CHOWK | 2223 | 08.06.2026 11.06.2026 13.06.2026 15.06.2026 17.06.2026 | 7:00 | 10:00 | For Completion of D-Work of Road Widening Project (Shifting of HT/LT Line And T-Formers From Bhoun Road Chakwal) | Moti Bazar, Islamia Chowk to Bhoun Chowk, Nia Mohallah, Khumeni Chowk, Moh: Gharbi, Moh: Khawajgan, Sarpak, Kot Ganish Eid Gah,
1 | IESCO | IBD | B/Kahu | B/K (U) | 132/220 KV G/S B/Khu | Shahpur | 89218 | 02.06.2026 09.06.2026 | 08:00 | 12:00 | Stringing of HT line/ Installation of HT Structure 58' Beneath the existing HT lines in IRO Bifurcation of 11KV Shah Pur Feeder /Strinning of HT line in R/O External Electrification of Park View City Housing Society | Bhara Kahu Bazar, Sanjalian and Surrounding Area
2 | IESCO | IBD | B/Kahu | B/K (U) | 132/220 KV G/S B/Khu University | T&T | 89204 |  |  |  |  | Mangoo Town, 17 Meel, Abdullah Town.
3 | IESCO | IBD | B/Kahu | B/K (U) | 132/220 KV G/S B/Khu | B/ Khu-II | 89219 |  |  |  |  | Madina Town, Nain Sukh,and Surrounding Area
4 | IESCO | IBD | Div-1 | Nilore | 132/220kv G/S B/Khu | Park View | 122511 |  |  |  |  | Park View city
5 | IESCO | IBD | Div-1 | Nilore | 132/220kv G/S B/Khu | Athal | 89217 |  |  |  |  | Simly dam road , Athal Road, Tumair, Athal.
6 | IESCO | IBD | Div-1 | F-6 | 132/220kv G/S B/Khu | Diplomatic Enclave | 89206 | 09.06.2026 | 07:00 | 11:00 | Stringing of HT line in R/O External Electrification of Park View City Housing Society & Bifurcation of 11KV Shah Pur Feeder | Diplomatic Enclave
7 | IESCO | IBD | Div-1 | G-6 | 132/220kv G/S B/Khu | Bani Gala | 122507 |  |  |  |  | Bani Gala
8 | IESCO | IBD | Div-1 | G-6 | 132/220kv G/S B/Khu | Mohra Noor (Bani Gala) | 122509 |  |  |  |  | Mohra Noor Bani Gala
9 | IESCO | IBD | B/Kahu | B/K (U) | 132/220kv G/S B/Khu | Mohra Noor | 122504 |  |  |  |  | Mal Pur, Lake view Park, Bani Gala Dk. Jellani, Mohra Noor
10 | IESCO | IBD | B/Kahu | B/K (R) | 132/220 KV G/S B/Khu | Tret | 89203 |  |  |  |  | Nai Abadi,Country Form
11 | IESCO | IBD | B/Kahu | B/K (R) | 132/220 KV G/S B/Khu | Golf city | 89216 |  |  |  |  | Golf City
12 | IESCO | IBD | Div-1 | Nilore | 132/220kv G/S B/Khu | Park View | 122511 |  |  |  |  | Park View city
13 | IESCO | IBD | B/Kahu | J/Gali | 132KV Kuldana Murree | GHARIAL | 13711 | 03.06.2026 10.06.2026 16.06.2026 | 09:00 | 14:00 | Removal / Shifting of services remodling of Jhika Gali Chowk Tehsil & District Murree | J/gali Bazar Gjarial camp.Kashmiri Bazar,seher bagla Aliot
14 | IESCO | IBD | B/Khu | B/Khu (R) | 132/220 KV G/S B/Khu | Pir Sohawa | 122503 | 04.06.2026 09.06.2026 15.06.2026 18.06.2026 | 07:00 | 11:00 | Reconducting of 11KV Pir Sohawa Feeder | Kotla, Pir sohawa, Kohala bala and surrounding area
15 | IESCO | IBD | B/Kahu | B/K (U) | 132 KV Tramri GS | Rehara | 105511 | 09.06.2026 |  |  | Federal Urdu University at Kurri Road Zone-IV Near Bahria Enclave Islamabad | Mohra Noor, Rehara
16 | IESCO | IBD | B/Kahu | B/K (U) | 132 KV Tramri GS | Kurri | 105506 |  |  |  |  | Kuri Sher.
17 | IESCO | IBD | B/Kahu | B/K (U) | 132 KV Tramri GS | CM Pak Zong | 105509 |  |  |  |  | Office of CM PAK
8 | IESCO | IBD | NO.I | Khanna Dk | Tramari | Khanna DK | 105501 | 08.06.2026 11.06.2026 | 07:00 | 11:00 | Area Planning of 11KV UC Road Feeder and 11KV Koral Feeder | Khanna DK & Surrounding area
9 | IESCO | IBD | NO.I | Khanna Dk | Tramari | Khanna East | 105510 |  |  |  |  | Khanna East & Surrounding area
10 | IESCO | RWP | Satellite Town | Gangal | Tramari | Khanna-II/ Qadeer Road | 105514 |  |  |  |  | Khanna-II & Surrounding area
11 | IESCO | RWP | Satellite Town | Gangal | Tramari | Al Noor Colony | 105515 |  |  |  |  | Al Noor Colony & Surrounding area
12 | IESCO | IBD | NO.I | Tarlai | Tramari | Shareefabad | 105502 |  |  |  |  | Shareefabad & Surrounding area
13 | IESCO | IBD | NO.I | Tarlai | Tramari | Ghouri Garden | 105513 |  |  |  |  | Ghouri Garden & Surrounding area
14 | IESCO | IBD | NO.I | Tarlai | Tramari | Shareefabad | 105502 | 16.06.2026 20.06.2026 |  |  |  | Shareefabad & Surrounding area
15 | IESCO | IBD | NO.I | Tarlai | Tramari | Ghouri Garden | 105513 |  |  |  |  | Ghouri Garden & Surrounding area
1 | IESCO | City | S/Town | Sadiqabad | 132KV Chaklala | Benazir Bhutto Hospital | 2531 | 03.06.2026 10.06.2026 17.06.2026 | 07:00 | 11:00 | Sanction for Dual Source IRO Rawalpindi Institute of Cardialogy Hospital Rawalpindi | Benazir Bhutto Hospital
2 | IESCO | City | City | Zafar-ul-Haq | 132KV Chaklala | Tehmasamabad | 2518 |  |  |  |  | Tehmasamabad
3 | IESCO | City | City | Zafar-ul-Haq | 132KV Chaklala | Dk.Hukam Dad | 2527 |  |  |  |  | Dk.Hukam Dad
4 | IESCO | Cantt | Cantt | Civil Line | 132KV Chaklala | RIC | 2534 |  |  |  |  | RIC and Surrounding area. | During the Shut down the load of RIC will be shifted to Dk. Farman Ali feeder
5 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | Rahimabad | 002541 |  |  |  |  | Rahimabad & sorrounding area
1 | IESCO | Chakwal | Chakwal | Ghazi Abad | 132KV Grid Station Chakwal | JAMALWAL | 002219 | 09.06.2026 11.06.2026 15.06.2026 22.06.2026 | 0700 Hrs | 1200 Hrs | for Stringing of Location # 08 to 25 of 132KV T/Line Chakwal - Talagang | Jamalwala & Surrounding Area
2 | [5 empty] | MENGAN | 002211 |  |  |  |  | Mengan & Srounding area
1 | IESCO | IBD | XEN-I | Tarlai | Tarmari | Kund Rajgan | 105522 | 04.06.2026 06.06.2026 10.06.2026 16.06.2026 | 8:00: AM | 11:00: AM | External Elecfrification Work IRO IT Technology Park Chak Shahzad Islamabad | Chata Bakhtawer & Surrounding Areas
2 | IESCO | IBD | XEN-B/Kahu | B/Kahu (U) | Tarmari | IT.Park | New |  |  |  |  | IT.Park
3 | IESCO | IBD | XEN-I | Tarlai | Rawal | Scheme-II | 17430 |  |  |  |  | Scheme-I & Scheme-II
4 | IESCO | IBD | XEN-B/Kahu | B/Kahu (U) | Tarmari | IT.Park | New | 09.06.2026 23.06.2026 25.06.2026 |  |  |  | IT.Park
1 | IESCO | Attock | Taxila | Margalla | 132KV Taxila | Museam | 21214 | 09-06-2026 11-06-2026 | 07:00pm | 10:00pm | Safety Hazard | Rehbar Colony
2 |  |  |  | Hassan Abdal | 132KV New wah | Hassan Abdal | 14617 | 04-06-2026 08-06-2026 10-06-2026 15-06-2026 17-06-2026 | 03:00pm | 06:00pm | shifting of HT/LT line Hassan Abdal city under City Beautification and public safety initiative | Hassan Abdal | 11 KV Hssan Abdal Feeder is Feeding to court complex worthy C.E(O&M) vide letter no.140-48 dated 08.01.2026 has stoped all shut down during court working hours (08.00 am to 03.00 PM ) so after working hours shut down is being processed
3 |  |  |  | Sangjani | 132KV sang jani B17 | Saray Kharboza | 121802 | 04-06-2026 08-06-2026 | 07:00pm | 10:00pm | LV/safety Hazard Works | Saray Kharboza
4 |  |  |  |  | 220KV Sangjani | Shah Allah Ditta | 81011 | 09-06-2026 11-06-2026 | 07:00pm | 10:00pm | LV/safety Hazard Works | Shah Allah Ditta
1 | IESCO | Cantt | Cantt | Civil Line | 132KV Chaklala | Rawalpindi-III | 002510 | 13.06.2026 20.06.2026 | 8:00 | 11:00 | For Removal of Safety Hazard at Ishfaq Hospital near Punjab House Safety Hazard & near Chaklala GSS & for completion of LV Proposal at Street No.02 Dk Khabba | IESCO Complex, District Courts, DCO Office & Surrounding areas
2 | [5 empty] | Jahangir Road | 002505 |  |  |  |  | Jahangir Road & Surrounding areas
3 |  |  |  | Jhanda | 132KV Cantt | Jhanda Chichi | 017921 |  |  |  |  | Jhanda Chichi & sorrounding area
4 |  |  |  | Civil Line | 132KV Cantt | Dk Farman Ali | 017922 |  |  |  |  | Dhoke Farman Ali, Dk Khabba & sorrounding area
5 |  |  |  | Chaklala | 132KV Chaklala | Kot Jabbi | 002539 |  |  |  | For Removal of Safety Hazard at Street No.07, 08 & 09 Gulbahar Colony Chaklala | Kot Jabbi & sorrounding area
1 | IESCO | IBD | XEN-II | I-9 | I-8 | I-8/4 | 61121 | 06.06.2026 09.06.2026 | 8:00: AM | 11:00: AM | HT Proposal for Bifurcation of I-8 Markaz Feeder Emanating from 132 KV I-8 Grid Station Under DOP Head 2K25412 DOP HT 52 | I-8/4
2 | IESCO | IBD | XEN-II | I-9 | I-8 | I-8 Markaz | 61129 |  |  |  |  | I-8 Markaz
3 | IESCO | IBD | XEN-II | I-9 | I-8 | CCC-II | 61135 |  |  |  |  | CCC-II
4 | IESCO | IBD | XEN-I | Tarlai | Tarmari | Tarmari | 105503 | 04.06.2026 08.06.2026 | 8:00: AM | 11:00: AM | Directorate Genral Inter-services Intelligence Jinnah/pothwar Complex Islamabad at Jinnah/Pothwar Complex for conversion of 11 KVA ISI Feeder | Tarmari
5 | IESCO | IBD | XEN-I | Rawal | Tramri | Waheedabad | 105516 |  |  |  |  | Waheedabad
6 | IESCO | IBD | XEN-I | Tarlai | Tramri | Kund Rajgan | 105522 |  |  |  |  | Kund Rajgan
7 | IESCO | IBD | XEN-I | Tarlai | Tramri | King Hammad | 105526 |  |  |  |  | King Hammad
8 | IESCO | IBD | XEN-I | Tarlai | Tarmari | Azad Shaheed | 105512 |  |  |  |  | Azad Shaheed
9 | IESCO | IBD | XEN-I | Tarlai | Tarmari | Lehtrar Road | 105517 |  |  |  |  | Lehtrar Road
10 | IESCO | IBD | XEN-I | Tarlai | Tramri | Chatta Bakhwar | 105507 |  |  |  |  | Chatta Bakhwar
11 | IESCO | IBD | XEN-B/Kahu | B/Kahu (U) | Tramri | Kuri Road | 105506 |  |  |  |  | Kuri Road
12 | IESCO | IBD | XEN-B/Kahu | B/Kahu (U) | Tramri | Rehara | 105511 |  |  |  |  | Village Rehara
13 | IESCO | IBD | XEN-B/Kahu | B/Kahu (U) | Tramri | CM Pak Zong | 105509 |  |  |  |  | Independent
1 | IESCO | Jhelum | Gujar Khan | Sohawa | Gujar Khan | Kulia | 4909 | 04.06.26 | 09:00 | 11 | For Completion of LV Works | Bhai Khan, Misa Kaswal etc.
2 | IESCO | Jhelum | Gujar Khan | Guliana | Gujar Khan | Kountrilla | 4917 | 05.06.26 | 09:00 | 11 |  | Jero Ratial, Kharali Bangial etc
3 | IESCO | Jhelum | Gujar Khan | Sohawa | Sohawa | Nai Khangah | 125004 | 06.06.26 | 09:00 | 11 |  | Sehala Minhas Nai Khangah etc.
4 | IESCO | Jhelum | Gujar Khan | City Gujar Khan | Gujar Khan | Hayat Sir Road | 4908 | 08.06.26 | 14.3 | 16.3 |  | W/NO. 19 Hayat Sir Road etc.
1 | IESCO | Attock | Taxila | Sang Jani | 220 KV Sang Jani | Shah Allah Ditta | 081011 | 04.06.2026 06.06.2026 08.06.2026 | 07:00 Hours | 09:00 Hours | AMI Project | GT Road,Convent School,Zila Tax,Madrassa Road
2 | IESCO | Attock | Taxila |  | 132 KV B-17 Grid | Sarai Kharbooza | 121802 | 05.06.2026 09.06.2026 10.06.2026 11.06.2026 12.06.2026 13.06.2026 15.06.2026 16.06.2026 17.06.2026 | 07:00 Hours | 09:00 Hours |  | Dhoke Abbasi,Johd,Sarai Kharbooza
1 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV New Wah | Pothar Gar | 014609 | 05.06.2026 09.06.2026 | 09:00 Hours | 11:00 Hours | Installation of transformer near KSB Pump of LV work | Dolian,Wah Village,Qandharipur,Pathar Gar
1 | IESCO | Attock | Taxila | Hassan Abdal | 132 KV Bahtar More | Kohsar Valley | 112013 | 05.06.2026 09.06.2026 | 07:00 Hours | 09:00 Hours | Shifting of HT line under 500 KV transmission line Pathar Gar | Kohsar Valley
2 | IESCO | Attock | Taxila | Hassan Abdal |  | Babraki | 112015 |  |  |  |  | Babraki Crushers,Lunda Market,Dara Market
1 | IESCO | City | Westridge | Tarnol | 132 KV KTM | Jhangi | 008608 | 23.06.2026 29.06.2026 | 08:00 Hrs | 11:00 Hrs | Near Benazir Chowk Fateh Jang Road Rawalpindi | Shaheenabad, Faisal Colony, Jhangi Syedan, Tarnol and surrounding area
1 | IESCO | City | Westridge | Westidge | 132 KV KTM | NRC | 008622 | 09.06.2026 13.06.2026 | 07:00 Hrs | 10:00 Hrs | Near Police Station Westridge | Westridge Bazar, Hali Road, Churr Chowk, Race Course Ground and surrounding area
2 |  |  |  | Tarnol | 132 KV Tarnol | Bajnial-I | 104910 | 06.06.2026 11.06.2026 |  |  | Pind Ranjha Tarnol | Village Bajnial and surrounding area
1 | IESCO | City | Westridge | Westridge | 132 KV KTM | Millatabad | 008616 | 06.06.2026 08.06.2026 | 08:00 Hrs | 11:00 Hrs | Emergency Work Peshawer Road Underpass project | Millatabad and surrounding area
2 | [5 empty] | Cheering Cross | 008602 |  |  |  |  | Race Course, Peshawer Road and surrounding area
3 |  |  |  | Misrial | 132 KV Pirwadhai | Askari-XI | 043325 |  |  |  |  | Askari-XI
1 | IESCO | City | Westridge | Gulzar-e-Quaid | 132KV Chaklala | Sector-IV | 002536 | 08.06.2026 11.06.2026 15.06.2026 18.06.2026 22.06.2026 29.06.2026 | 07:00 | 11:00 | Stringing of Work IRO Bifurcation of 11KV Dk. Gangal feeder emanating from 132KV Chaklala GSS under ELR Head (2k26-431 ELT-HT-01) | Airport Housing Society, Sector-4 (I.G.H Block) & Surrounding area.
2 | IESCO | City | Westridge | Gulzar-e-Quaid | 132KV Chaklala | APHS | 002526 |  |  |  |  | Airport Society, Dk. Anwar & Surrounding area.
3 | IESCO | Cantt | Chaklala | Chaklala | 132KV Chaklala | Rehmatabad-1 | 002519 |  |  |  |  | Rehmatabad-1 & Surrounding area
4 | IESCO | City | Westridge | Gulzar-e-Quaid | 132KV Chaklala | PAF | 002509 |  |  |  |  | PAF & Surrounding area.
5 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | Takbeer-I | 2543 |  |  |  |  | Takbeer Project & sorrounding area
6 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | Chaklala | 2503 |  |  |  |  | Chaklala & Surrounding area.
7 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | Kot Jabbi | 2539 |  |  |  |  | Kot Jabbi & Surrounding area.
8 | IESCO | City | Westridge | Tarnol | 132 KV Tarnol | Shalimar Town | 104912 | 10.06.2026 |  |  | Reconductoring of HT Line of Top City feeder | Shalimar Town and surrounding area
9 | IESCO | City | Westridge | Tarnol | 132 KV Tarnol | Nogazi | 104901 | 10.06.2026 24.06.2026 |  |  |  | Nogazi and surrounding area
10 | IESCO | City | Westridge | Tarnol | 132 KV Tarnol | Bajniyal-1 | 104910 |  |  |  |  | Bajniyal-1 and surrounding area
11 | IESCO | City | Westridge | Tarnol | 132 KV Tarnol | Top City | 104905 |  |  |  |  | Top City and surrounding area
12 | IESCO | Cantt | Cantt | Korang | 132KV NPF | FECHS | 90001 | 06.06.2026 09.06.2026 13.06.2026 16.06.2026 20.06.2026 23.06.2026 |  |  | For erection of poles IRO 11 KV Independent Feeder IRO Fedeation Employees Housing Society Lohi Bher Islamabad | FECHS & Surrounding areas
13 | IESCO | Cantt | Cantt | Korang | 132KV NPF | NPF-I | 090003 |  |  |  |  | NPF & Surrounding areas
14 | IESCO | Cantt | Cantt | Korang | 132KV NPF | NPF-II | 090004 |  |  |  |  | NPF & Surrounding areas
15 | IESCO | Cantt | Cantt | Korang | 132KV NPF | Doctor Town | 090016 |  |  |  |  | Doctor Town
16 | IESCO | Cantt | Cantt | Korang | 132KV NPF | PWD-I | 090014 |  |  |  |  | PWD'& Surrounding areas
17 | IESCO | Cantt | Cantt | Korang | 132KV NPF | PWD-II | 090015 |  |  |  |  | PWD'& Surrounding areas
18 | IESCO | City | Taeiqabad | Adyala | 132KV Adyala | Adyala | 109106 | 10.06.2026 30.06.2026 |  |  | for Stringing of Work IRO Area Planning of 11KV Shahpur & Dk. Noor feeder | Adyala & Surrounding area.
19 | IESCO | City | Taeiqabad | Adyala | 132KV Adyala | Dk. Noor | 109104 |  |  |  |  | Dk. Noor & Surrounding area.
20 | IESCO | Cantt | Taeiqabad | Adyala | 132KV Adyala | Samarzar | New |  |  |  |  | Samarzar & Surrounding area.
1 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | Old Rawat | 17716 | 09.06.2026 13.06.2026 20.06.2026 24.06..2026 | 7:00 | 11:00 | For shifting of HT line from T-Chowk to HASCOL Pump T-Chowk Flyover | Rawat & sorrounding area
2 | IESCO | Cantt | Rawat | Rawat |  | New Rawat | 17701 |  |  |  |  | Rawat & sorrounding area
3 | IESCO | Cantt | Rawat | Rawat | 500KV New Rawat | AOWHS | 64506 |  |  |  |  | Emaar & sorrounding area
4 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | Suparco | 17717 |  |  |  |  | Suparco & sorrounding area
5 | IESCO | Cantt | Rawat | Rawat |  | CWO | 17722 |  |  |  |  | CWO & surrounding area
6 | IESCO | Cantt | Rawat | Kallar | 132 KV Kallar Syedan | Doberan | 098106 | 12.06.2026 21.06.2026 |  |  | For Removal of Safety Hazard at Chak Mirza Sada Kamal | Doberan & surrounding area
7 | IESCO | Cantt | Rawat | Kallar |  | Kambeli Sadiq | 098102 | 08.06.2026 17.06.2026 |  |  | For Removal of Safety Hazard at Makh & Makh Chaudrian | Kambeli Sadiq & surrounding area
1 | IESCO | Attock | Attock | Attock City | 132KV Attock | Attock Rural | 75101 | 06.06.2026 10.06.2026 13.06.2026 16.06.2026 20.06.2026 24.06.2026 29.06.2026 | 07:00 | 11:00 | Reconducting of 3-Meela Feeder | Attock, Takbeer Colony & surrounding area
2 | IESCO | Attock | Attock | Attock City | 132KV Attock | Teen Mela | 75113 |  |  |  |  | Teen Mela & Surrounding Area
3 | IESCO | Attock | Attock | Attock City | 132KV Attock | Bagh Nelab | 75114 |  |  |  |  | Bagh Nelab & Surrounding Area
4 | IESCO | Attock | Attock | Attock City | 132KV Attock | People Colony | 75110 | 09.06.2026 |  |  | Replacement of Old Wire & Pole Under Beautification of Attock | Pepole Coly & Surrounding Area
5 | IESCO | Attock | Attock | Attock City | 132KV Attock | Fawara Chowk | 75103 | 09.06.2026 13.06.2026 18.06.2026 |  |  |  | A.B.C.R Block, City area, Lorry area & surrounding area
6 | IESCO | Attock | Attock | Attock Cantt | 132KV Sanjwal | Katchery | 18902 | 11.06.2026 23.06.2026 30.06.2026 |  |  | shifting nof line from Exsiting line to new proposed HT Str,58 IRO 11KV independent Feeder MCH Attock | Katchery & Surrounding Area
7 | IESCO | Attock | Attock | Attock Cantt | 132KV Sanjwal | Dar ul Islam Colony | 18909 |  |  |  |  | Dar ul Islam Colony & Surrounding Area
8 | IESCO | Attock | Attock | Attock Cantt | 132KV Sanjwal | Attock Cantt | 18901 |  |  |  |  | Attock Cantt & Surrounding Area
1 | IESCO | Chakwal | Chakwal | Ghaziabad | Chakwal | MUREED | 2201 | 06.06.2026 | 08:00 | 11:00 | Replacement of Damaged HT PC Pole with Steel Structure | District Complex, Chakora, New Chakwal City, Village Mureed, Thoa Bahadar, Hastal, Balkassar Motorway Interchange, Dhoke Maken, Dhoke Sayal, Hastal etc
1 | IESCO | City | S.Town | Dk. Kala Khan | 132 KV I-8 | Qayyumabad | 061116 | 06.06.2026 | 09:00 | 11:00 | Completioin of safety hazards work | Kuri Road, Haroon Chowk & Surrounding Area
1 | IESCO | Cantt | Cantt | Civil Line | 132 KV Chaklala | Rawalpindi-III | 002510 | 07.06.2026 10.06.2026 | 8:00 | 11:00 | For shifting of HT/ LT Lines at Katchery Avenue | IESCO Complex, District Courts, DCO Office & Surrounding areas
|  |  | Rawat | RAWAT | 132KV Old Rawat | New Rawat | 017701 | 06.06.2026 13.06.2026 20.06.2026 |  |  | For shifting of HT/ LT Lines at Potohar Avenue | Rawat & sorrounding area
2 |  |  |  |  | 132KV Sowan | Zaraj-I | 87411 |  |  |  |  | Zaraj-I & Surrounding area
3 | [5 empty] | Zaraj-II | 87423 |  |  |  |  | Zaraj-II & Surrounding area
4 | [5 empty] | Zeta-I | 87424 |  |  |  |  | Zeta Mall & Surrounding area
5 | [5 empty] | IST | 87422 |  |  |  |  | IST Universty & Surrounding area
6 | [5 empty] | Dk Awan | 87417 |  |  |  |  | DK Awan & Surrounding area
7 |  |  | Cantt |  |  | Mora Nagial | 87421 |  |  |  |  | Mora Nagial & Surrounding area