## mail-approval-shutdown
S # | DISCO | Circle | Division | Sub Division | Name of 132 KV Grid Station | Name of Feeder | Feeder Code | Date | Time From | Time To | Purpose of Shut Down | Affected Area | Remarks
1 | IESCO | GSO Circle IESCO Isd | SS&TL Division IESCO Rwp | A.E (T) Margalla | 132KV New Wah - (WAH-15) - Bahtermore (BMW-2) along with related earth switch |  |  | 25-03-2026 To 31-05-2026 (Contineous) | 25-03-2026 14:00 Hrs | 31-05-2026 14:00 Hrs | For erection & Stringing activities. (during this period, the portion of line New Wah - Bahternmore will be Isolated/ De-Energized as workingportion) | No area will be affected as 132KV GSS Bahtermore will be fed from 132KV GSS Fateh Jang side & 132KV GSS New Wah will be fed from 220KV GSS Burhan side.
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | A.E (T) Sub Divisoin No-I Islamabad | 132KV Kahuta City (KHC-2) - Palandri (PLD-3) along with related earth Switch. |  |  | 16-04-2026 To 15-05-2026 (Contineous) | 16-04-2026 18:00 Hrs | 15-05-2026 18:00 Hrs | For Erection/stringing purpose | No area will be affected as 132KV GSS Kahuta City along with Chaint will be fed from 132KV GSS KRL Kahuta side & Palandri, Tararkhal & Hajeera will be fed from Kotli side. However, 60 to 70 MW load management may be required to ovaid over loading or any contingency.
1 | IESCO | GSO CIRCLE IESCO ISD | SS&TL DIVISIONIESCO RAJJAR | A.E (T) Chakwal | 132KV Chakwal (CWL-7) - Bhagwal (NLA-1) - Talagang (TLG-1) |  |  | 16-04-2026 to 24-05-2026 (Contineous) | 16-04-2026 18:00 Hrs | 24-05-2026 18:00 Hrs | Remodeling/Stringing of Chakwal - Talagang circuit from Loc No. 01 to 33 | 132KV GSS Bhagwal will be affected from 09:00 Hrs to 15:00 Hrs. after that No area will be affected as 132KV Chakwal already feeding from 500KV Rawat, Bhagwal will be fed from Talagang side & Talagang will be fed from Tamman side. However, 35 to 40 MW load management may be required to ovaid over loading or any contingency.
1 | IESCO | City | Westridge | Gulzar-e-Quaid | 132KV Chaklala | Sector-IV | 002536 | 29.04.2026 02.05.2026 12.05.2026 16.05.2026 19.05.2026 23.05.2026 | 07:00 | 11:00 | For realignment of 11 KV HT Poles - Dry Port Road Rawalpindi | Airport Housing Society, Sector-4 (I.G.H Block) & Surrounding area.
2 | IESCO | City | Westridge | Gulzar-e-Quaid | 132KV Chaklala | APHS | 002526 |  |  |  |  | Airport Society, Dk. Anwar & Surrounding area.
3 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | Rehmatabad-I | 2519 |  |  |  |  | Rehmatabad & sorrounding area
4 | [5 empty] | Chaklala | 2503 |  |  |  |  | Rehmatabad & sorrounding area
5 | [5 empty] | Takbeer-I | 2543 |  |  |  |  | Takbeer Project & sorrounding area
6 | [5 empty] | Takbeer-II | [5 empty] | Takbeer Project & sorrounding area
7 | [5 empty] | Takbeer-III | [5 empty] | Takbeer Project & sorrounding area
8 | [5 empty] | Kot Jabbi | 2539 |  |  |  |  | Kot Jabbi & sorrounding area
8 | IESCO | IBD | NO.I | Khanna Dk | Tramari | Khanna DK | 105501 | 06-05-2026 12-05-2026 16-05-2026 21-05-2026 | 07:00 | 11:00 | Area Planning of 11KV UC Road Feeder and 11KV Koral Feeder | Khanna DK & Surrounding area
9 | IESCO | IBD | NO.I | Rawal | Tramari | Burma | 105502 |  |  |  |  | Burma & Surrounding area
10 | IESCO | IBD | NO.I | Rawal | Tramari | Waheedabad | 105516 |  |  |  |  | Waheedabad & Surrounding area
11 | IESCO | IBD | NO.I | Khanna Dk | Tramari | Rehman Enlave | Not Allocated |  |  |  |  | Rehman Enlave & Surrounding area
12 | IESCO | IBD | NO.I | Khanna Dk | Tramari | Khanna East | 105510 |  |  |  |  | Khanna East & Surrounding area
13 | IESCO | RWP | Satellite Town | Gangal | Tramari | Khanna-II/ Qadeer Road | 105514 |  |  |  |  | Khanna-II & Surrounding area
14 | IESCO | RWP | Satellite Town | Gangal | Tramari | Al Noor Colony | 105515 |  |  |  |  | Al Noor Colony & Surrounding area
15 | IESCO | IBD | NO.I | Tarlai | Tramari | Shareefabad | 105502 |  |  |  |  | Shareefabad & Surrounding area
16 | IESCO | IBD | NO.I | Tarlai | Tramari | Ghouri Garden | 105513 |  |  |  |  | Ghouri Garden & Surrounding area
17 | IESCO | IBD | NO.I | Tarlai | Tramari | Scheme-I | 105525 |  |  |  |  | Scheme-I & Surrounding area
1 | IESCO | City | Westridge | MES | Pirwadhai | COB Lane | 043329 | 02.05.2026 07.05.2026 11.05.2026 16.05.2026 | 06:00 | 12:00 | for Stringing of 132KV newly erected Poles from Loc # 32 to 37 | Cob lane and surrounding areas
2 | IESCO | City | Westridge | Misrial | Pirwadhai | Askari-XI | 043325 |  |  |  |  | Askari-XI, Lane No. 01 to 07, St. No. 01 to 14 and surrounding areas
3 | IESCO | City | Westridge | Westridge | KTM | Cheering Cross | 008602 |  |  |  |  | Gulnar colony, Qasim Market, Raja Akram Road, Roomi Lane, Seham Road and surrounding areas
1 | IESCO | IBD | B/Khu | J/Gali | 132KV Kuldana Murree | Gharial | 13711 | 05-05-2026 12-05-2026 19-05-2026 | 07:00 | 11:00 | Removal / Shifting of services remodling of Jhika Gali Chowk Tehsil & District Murree | J/gali Bazar Gjarial camp.Kashmiri Bazar,seher bagla Aliot
2 | IESCO | IBD | B/Kahu | B/K (R) | University | Angori | 89214 | 06-05-2026 13-05-2026 | 07:00 | 11:00 | Shifting of HT line I/R of DD Maintenance NHA Passing over street light at Bhara Kahu, Murree & Patriata | Sian, Chakka, Bobri, Angori
3 | IESCO | IBD | B/Kahu | B/K (R) | 132/220 KV G/S B/Khu | Golf City | 89216 |  | 07:00 | 11:00 |  | Golf city
4 | IESCO | IBD | B/Khu | B/K (R) | 132/220 KV G/S B/Khu | Tret | 89203 |  | 07:00 | 11:00 |  | Nai Abadi,Country Form
5 | IESCO | IBD | B/Kahu | Murree | 132KV Kuldana Murree | Kuldana | 13702 | 20-05-2026 | 07:00 | 11:00 |  | Mall Road, Kashmir Point and Mashyari.
6 | IESCO | IBD | B/Kahu | Murree | 132KV Kuldana Murree | Pindi point | 13707 |  | 07:00 | 11:00 |  | Senavo batnara, sumble biba, ghora bastal, khajut, hokra karri
7 | IESCO | IBD | B/Khu | Patriata | 132KV Kuldana Murree | Upper Topa | 13705 |  | 07:00 | 11:00 |  | Mohra Batnara, Sambal Bia, Ghora Bastal, Khajut, Hokra Karri.
8 | IESCO | IBD | B/Khu | Patriata | 132KV Kuldana Murree | Patriata | 13712 |  | 07:00 | 11:00 |  | Charhan, Mohra Syedan, Sambal Syedan, Ghel, Sorasi, Dhanda, Waghal, Bandi, Ban, Khalabut
9 | IESCO | IBD | B/Khu | B/Khu (R) | 132/220 KV G/S B/Khu | Pir Sohawa | 122503 | 04-05-2026 07-05-2026 11-05-2026 14-05-2026 18-05-2026 21-05-2026 | 07:00 | 11:00 | Reconducting of 11KV Pir Sohawa Feeder | Kotla, Pir sohawa, Kohala bala and surrounding area
1 | IESCO | Cantt | Cantt | Korang | 132KV NPF | NPF-I | 090003 | 19.05.2026 21.05.2026 | 08:00 | 11:00 | For erection of poles IRO 11 KV Independent Feeder IRO Fedeation Employees Housing Society Lohi Bher Islamabad | NPF & Surrounding areas
2 | [5 empty] | NPF-II | 090004 |  |  |  |  | NPF & Surrounding areas
3 | [5 empty] | Doctor Town | 090016 |  |  |  |  | Doctor Town
4 | [5 empty] | PWD-I | 090014 |  |  |  |  | PWD'& Surrounding areas
5 | [5 empty] | PWD-II | 090015 |  |  |  |  | PWD'& Surrounding areas
1 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Cantt | Khadim Hussain Road | 17906 | 03.05.2026 10.05.2026 17.05.2026 24.05.2026 | 8:00 | 11:00 | For Construction of GPO Underpass Signal Free Mall Road Project Part A Rawalpindi | Khadim Hussain Road
2 |  |  |  | Tariqabad |  | CMH Flats | 17936 |  |  |  |  | CMH Flats
3 |  |  | Cantt | Civil Line |  | Adam Jee Road | 17923 |  |  |  |  | Adam Jee Road
4 |  |  |  | Civil Line |  | Askari 7 | 17919 |  |  |  |  | Askari 7
5 |  |  |  | Civil Line |  | Sir Syed Road | 17913 |  |  |  |  | Sir Syed Road
6 |  |  |  | Saddar |  | FFC | 17927 |  |  |  |  | Fauji Fertilizer
7 |  |  | Tariqabad | R.A Bazar |  | GHQ Express | 017924 |  |  |  |  | GHQ & sorrounding area | Subject to provision of NOC from GHQ
8 |  |  |  | Tariqabad | 132KV Chaklala | State Bank | 2521 |  |  |  |  | State Bank
1 | IESCO | City | Westridge | Westridge | KTM | Dk. Chaudrian | 008621 | 02.05.2026 07.05.2026 11.05.2026 16.05.2026 | 07:00 | 11:00 | Emergency work Peshawar road underpass project | Lane No. 04, 05 Range road and surrounding areas
2 | [5 empty] | Peshawar Road | 008612 |  |  |  |  | Peshawar Road Lane No. 04 to 07, Mehboob Lane, Fazeelabad and surrounding areas
3 | [5 empty] | Millatabad | 008616 |  |  |  |  | Misrial Road, Ilyas Colony, Lane 1,2,3 and surrounding areas
4 | [5 empty] | Cheering Cross | 008602 |  |  |  |  | Gulnar colony, Qasim Market, Raja Akram Road, Roomi Lane, Seham Road and surrounding areas
5 | [5 empty] | NRC | 008622 |  |  |  |  | Westridge bazar, Hali Road, Iqbal Road, Churr Chowk Race Course ground and surrounding areas
6 |  |  |  |  | Pirwadhai | COB Lane | 043329 |  |  |  |  | Cob lane and surrounding areas
7 |  |  |  | Misrial |  | Askari-XI | 043325 |  |  |  |  | Askari-XI, Lane No. 01 to 07, St. No. 01 to 14 and surrounding areas
8 | IESCO | City | Westridge | Tarnol | 132 KV KTM | Golra | 008605 | 03.05.2026 06.05.2026 20.05.2026 25.05.2026 | 07:00 | 11:00 | D/W A.Q Khan Research Laboratory | Naseerabad, Awan Colony and surrounding area
9 | [5 empty] | Shammas Colony | 008626 |  |  |  |  | H-13 and surrounding area
10 | [5 empty] | Quaid-e-Azam Hospital | 008624 |  |  |  |  | Quaid-e-Azam International Hospital
11 | [5 empty] | Zarkoon Heights | 008628 |  |  |  |  | Zarkoon Heights
12 | [5 empty] | P&T Wani | 008610 |  |  |  |  | Jhangi Syedan, Haideri Chowk and surrounding area
13 | [5 empty] | New Azharabad | [5 empty] | Azharabad and surrounding area
14 | [5 empty] | Azharabad | 008620 |  |  |  |  | Peshawer Road, Pind Paracha and surrounding area
15 | [5 empty] | EME Complex | 008615 |  |  |  |  | EME Complex
16 | [5 empty] | CWO | 008601 |  |  |  |  | CWO
1 | IESCO | IBD | NO.I` | Tarlai | Tramri | Kund Rajgan | 105522 | 11-05-2026 14-05-2026 25-05-2026 | 07:00 | 11:00 | Stringing of Osprey Conductor CM Pak Complex Kurri Road Islamabad | Chatta Bakhtawar
2 | IESCO | IBD | NO.I` | Tarlai | Rawal | Scheme-II | 17430 |  |  |  |  | Shahzad Town
3 | IESCO | IBD | NO.I` | Tarlai | Tramri | King Hammad | 105526 |  |  |  |  | Independent
4 | IESCO | IBD | NO.I | Tarlai | Tarmari | Chatta Bakhtwar | 105507 |  |  |  |  | Chatta Bakhtawar.
5 | IESCO | IBD | No.II | I-9 | I-10 | Fazal Rebbar | 6429 | 16-05-2026 23-05-2026 |  |  | Shifting of HT Line Due to Rehabilitation and Widening of 10th Avenue Road Islamabad | Independent
6 | IESCO | IBD | No.II | I-9 | I-10 | New PTN | 6436 |  |  |  |  | New PTN
7 | IESCO | RWP | Settlite Town | F- Block | I-10 | Katarian | 6410 |  |  |  |  | Katarian
8 | IESCO | IBD | No.II | I-9 | I-10 | MG Steel | 6440 |  |  |  |  | Independent
9 | IESCO | RWP | Settlite Town | Asghar Mall | I-10 | Banni | 6406 |  |  |  |  | Banni and Sorroundings
10 | IESCO | IBD | NO.II | I-9 | H-11 | U Fone | 72733 | 09-05-2026 23-05-2026 |  |  | Shifting of 11 KV Feeder due to dualization of service Road North from 7UP Chowk to Near NESCO Hospital Sector H-11 ICT | Independent
11 | IESCO | IBD | NO.II | I-9 | H-11 | SES | 72731 |  |  |  |  | Independent
12 | IESCO | IBD | NO.II | I-9 | H-11 | Fazal Ghee | 72705 |  |  |  |  | Independent
13 | IESCO | IBD | NO.II | I-9 | I-10 | Industrial-III | 6431 |  |  |  |  | Independent
14 | IESCO | IBD | NO.II | I-9 | I-10 | Industrial-II | 6422 |  |  |  |  | Independent
15 | IESCO | IBD | NO.II | I-9 | I-10 | Warid Telecom | 6439 |  |  |  |  | Independent
16 | IESCO | IBD | NO.II | I-9 | I-10 | PTN | 6405 |  |  |  |  | Independent
17 | IESCO | IBD | NO.II | I-9 | I-10 | Industrial-I | 6409 |  |  |  |  | Independent
18 | IESCO | IBD | No.II | I-9 | I-10 | EVC-II | 6441 |  |  |  |  | Independent
39 | IESCO | IBD | NO.II | F-8 | G-9 | F-8/1 | 122317 | 05-05-2026 11-05-2026 14-05-2026 19-05-2026 | 07:00 | 11:00 | Removal of HT Fault on 11 KV Centaurus Hotel Feeder | F-8/1
40 | IESCO | IBD | NO.II | F-8 | G-9 | F-8 Markaz | 122316 |  | 07:00 | 11:00 |  | F-8
41 | IESCO | IBD | NO.II | G-7 | G-9 | Meezan Bank | 122321 |  | 07:00 | 11:00 |  | Independent
42 | IESCO | IBD | NO.II | F-8 | G-9 | HC3-Pims | 122324 |  | 07:00 | 11:00 |  | Independent
43 | IESCO | IBD | NO.II | G-9 | H-11 | CWO | 72708 | 04-05-2026 07-05-2026 18-05-2026 21-05-2026 | 07:00 | 11:00 | for removal of HT fault on independent 11 KV EOBI Feeder Emanating from 132 KV H-11 Islamabad | Independent
44 | IESCO | IBD | NO.II | G-9 | H-11 | G-10 Markaz | 72720 |  | 07:00 | 11:00 |  | G-10 Markaz
45 | IESCO | IBD | NO.II | G-11 | H-11 | Category House | 72711 |  | 07:00 | 11:00 |  | Independent
46 | IESCO | IBD | NO.II | G-9 | H-11 | G-10 Muave Area | 72703 |  | 07:00 | 11:00 |  | G-10 Markaz
5 | IESCO | Chakwal | Talagang | D.S.Bilawal | D.S.Bilawal | SUKKA | 25911 | 13.05.2026 18.05.2026 20.05.2026 25.05.2026 | 08:00 | 11:00 | Completion of LV Works Moh: Lorry Adda, Dhok Jafral Village Latti | Sukka, Terhada, Dk Bhussian, Dk Fateh Khail, Dk Pendal, Kot Shamas , Dk Sadqal, Letti, Dk Sodwali
6 | IESCO | Chakwal | Talagang | Tamman | Tamman | MAIL | 72208 | 19.05.2026 | 08:00 | 11:00 | Completion of LV Work Moh: Mian Village Mial | Mail, Dk Ardal, Dk Fateh Shah, Dk Mushaib, Dk Balwali, Dk Armali, Dk Mundial, Dk Mial Dam
4 | IESCO | City | Wesdtridge | Tarnol | 132 KV Tarnol | Nogazi | 104901 | 12.05.2026 26.05.2026 30.05.2026 | 08:00 | 11:00 | Recording of HT line of Top City Feeder | Nogazi, Dk. Miskeen, Main Fateh Jang Road and Surrounding areas
5 | [5 empty] | Top City | 104905 |  |  |  |  | Top City
6 | [5 empty] | Bajniyal-I | 104910 |  |  |  |  | Bajnial Village
1 | IESCO | IBD | B/Kahu | B/K (U) | 220 KV University Ibd | Shah Pur | 89218 | 06.05.2026 13.05.2026 | 07:00 | 11:00 | Stringing of HT line/ Installation of HT Structure 58' Beneath the existing HT lines in IRO Bifurcation of 11KV Shah Pur Feeder /Strinning of HT line in R/O External Electrification of Park View City Housing Society | Shah pur, Phulgran, Spring Vally.
2 | IESCO | IBD | B/Kahu | B/K (U) |  | N.I.H | 89210 |  |  |  |  | Malpur, Lake view, Banigala, NIH, Dk. Jillani, LVL, Dk. Mohri.
3 | IESCO | IBD | B/Kahu | B/K (U) |  | T&T 17 MILES | 89204 |  |  |  |  | Mangoo Town, 17 Meel, Abdullah Town.
4 | IESCO | IBD | B/Khu | B/K (U) | 132/220 KV G/S B/Khu | BHARA KAHU | 89201 |  |  |  |  | Bhara Kahu Bazar, Sanjalian and Surrounding area
5 | IESCO | IBD | B/Khu | B/K (U) | 132/220 KV G/S B/Khu | BHARA KAHU-II | 89219 |  |  |  |  | Madina Town, Nain Sukh,and Surrounding area
6 | IESCO | IBD | B/Khu | B/Khu (R) | 132KV BHARA KAHU | Tret | 122501 |  |  |  |  | Nai Abadi,Country Form
7 | IESCO | IBD | B/Khu | B/K (R) | 220 KV University Ibd | BEHRIA GOLF CITY | 89216 |  |  |  |  | Golf City
8 | IESCO | IBD | Div-1 | Nilore | 132KV BHARA KAHU | PARK VIEW CITY-I | 122511 |  |  |  |  | Park View city
9 | IESCO | IBD | Div-1 | Nilore | 220 KV University Ibd | Athal | 89217 |  |  |  |  | Simly dam road , Athal Road, Tumair, Athal.
1 | IESCO | Chakwal | Chakwal | Ghazi Abad | 132KV Grid Station Chakwal | JAMALWAL | 002219 | 05.05.2026 11.05.2026 16.05.2026 20.05.2026 23.05.2026 | 0700 Hrs | 1200 Hrs | for Stringing of Location # 08 to 25 of 132KV T/Line Chakwal - Talagang | Jamalwala & Surrounding Area
2 | [5 empty] | MENGAN | 002211 |  |  |  |  | Mengan & Srounding area
2 | IESCO | Chakwal | Chakwal | Main Bazar | Chakwal | ISLAMIA CHOWK | 2223 | 09.05.2026 14.05.2026 16.05.2026 | 08:00 | 11:00 | For Dismantling of Poles Area Planning of 11KV Islamia Chowk Feeder and 11KV Mian Bazar Feeder | Moti Bazar, Islamia Chowk to Bhoun Chowk, Nia Mohallah, Khumeni Chowk, Moh: Gharbi, Moh: Khawajgan, Sarpak, Kot Ganish Eid Gah,
3 | IESCO | Chakwal | Dhudial | Tariq Shaheed | Chakwal | BEHKRI | 2204 | 19.05.2026 |  |  | For Completion of SDG Work Ext of LT Line Village Dhab Kalan H/o Mudasar | Faisal Colony, Bahadar Abad, Sub-Jail, Village Thanil Fatohi, Har Char Dhab, Mian Mair, Chak Norang, Chak Umra, Behkri, Pinwal, Chak Malook, Noorwal, Dhoke Bair, Chak Bazeed
4 | IESCO | Chakwal | Dhudial | Tariq Shaheed | Chakwal | SARKAL | 2207 | 21.05.2026 |  |  | For Completion of SDG Work Ext of LT Line Village Sutwal H/o M. Shafiq | Moh: Sargojarah, Shah Hassan Town, Tatral, Dhallal, Dab, Sutwal, Mohra Kor Chashim, Dheedwal, Sarkal Mair, Mohra Shaikhan, Kotaha Abdal & Rabbal etc.
4 | IESCO | Attock | Taxila | Taxila | 132 KV Taxila | Sher shah sori | 21217 | 12.05.2026 14.05.2026 | 08.00 am | 11:00pm | LV Moh. Abdulla Abad and Moh Ghuhar | Moh. Abdulla Abad and Moh Parri Ghuhar
5 | IESCO | Attock | Taxila | Margalla | 132 KV Taxila | Museem | 21214 | 12.05.2026 14.05.2026 21.05.2026 26.05.2026 | 08.00 am | 11:00pm | Museem Valley &khuram gujar Safety Hazard works | Khuram Gujjar
1 | IESCO | IBD | XEN-B/K | Murree | Murree | Company Bagh | 13713 | 15.05.2026 22.05.2026 | 8:00 | 11:00 | Stringing of HT Line Madni Masjid Danoi. Ghulam Mohidin Company Bagh. | Bansra Gali,Tret,Ghora Gali
2 | IESCO | IBD | XEN-B/K | J/Gali | Minhasa | Dahlla | 79411 | 09.05.2026 16.05.2026 |  |  |  | Lower Dewal,Phagwari,Dehla
3 | IESCO | City | Westridge | Tarnol | Tarnol | Bajnial-II | 104911 | 12.05.2026 | 08:00 Hrs | 11:00 Hrs | LV Work for installation of 50 KVA T/F | Bajnial and surrounding area
4 | IESCO | City | Westridge | Tarnol | G-13 | Nust Road | 106708 | 13.05.2026 20.05.2026 | 08:00 Hrs | 11:00 Hrs | LV Work for installation of 200 KVA T/F | Nust Road and surrounding area
1 | IESCO | Cantt | Tariqabad | Adyala | 132 KV Adyala | Kalyal | 109101 | 16.05.2026 | 8:00 | 11:00 | For completion of work IRO LV Work Sanjoli State Lane No.01 | Kalyal & sorrounding area
10 | IESCO | Cantt | Tariqabad | Q.A Colony | 132KV Ranyal | Hayal | 120402 | 13.05.2026 | 8:00 | 11:00 | For removal of Safety Hazard | Qureshiabad & sorrounding area
11 | IESCO | Cantt | Tariqabad | Dhamial |  | Gulistan e Fatima | 120403 |  | 8:00 | 11:00 |  | Girja Road & sorrounding area
12 | IESCO | Cantt | Tariqabad | Adiala | 132KV Adiala | Rose Lane | 109105 | 14.05.2026 | 8:00 | 11:00 | For installation of 200 KVA T/F IRO Caltex Road | Rose Lane & sorrounding area
1 | IESCO | Cantt | Cantt | Korang | 132KV NPF | FECHS | 09001 | 19.05.2026 21.05.2026 | 08:00 | 11:00 | For erection of poles IRO 11 KV Independent Feeder IRO Fedeation Employees Housing Society Lohi Bher Islamabad | NPF & Surrounding areas
1 | IESCO | Attock | Attock | Attock Cantt | 132KV Sanjwal | Attock Cantt | 18901 | 11.05.2026 16.05.2026 20.05.2026 | 07:00 | 11:00 | shifting nof line from Exsiting line to new proposed HT Str,58 IRO 11KV independent Feeder MCH Attock | Attock Cantt & Surrounding Area
2 | IESCO | Attock | Attock |  |  | Dhoke Fteh | 18911 |  | 07:00 | 11:00 |  | Dhoke Fateh & Surrounding Area
3 | IESCO | Attock | Attock |  |  | Dar ul Islam Colony | 18909 |  | 07:00 | 11:00 |  | Dar ul Islam Colony & Surrounding Area
4 | IESCO | Attock | Attock |  |  | Katchery | 18902 |  | 07:00 | 11:00 |  | Katchery & Surrounding Area
6 | IESCO | Attock | Attock | Attock City | 132KV Attock | Attock Rural | 75101 | 07.05.2026 12.05.2026 16.05.2026 21.05.2026 | 07:00 | 11:00 | Reconducting of 3-Meela Feeder | Attock, Takbeer Colony & surrounding area
7 | IESCO | Attock | Attock |  |  | Teen Mela | 75113 |  | 07:00 | 11:00 |  | Teen Mela & Surrounding Area
8 | IESCO | Attock | Attock |  |  | Bagh Nelab | 75114 |  | 07:00 | 11:00 |  | Bagh Nelab & Surrounding Area
9 | IESCO | Attock | Attock | Attock City | 132KV Attock | Fawara Chowk | 75103 | 09.05.2026 18.05.2026 | 07:00 | 11:00 | Replacement of Old Wire & Pole Under Beautification of Attock | A.B.C.R Block, City area, Lorry area & surrounding area
10 | IESCO | Attock | Attock | Hattain | 132Faqir Abad | Qazi Abad | 12001 | 09.05.2026 14.05.2026 | 07:00 | 11:00 | Erection pole 11 KV Independent Cambelpur Gareen Housing Socity | Qazi Abad & surrounding area
11 | IESCO | Attock | Attock | Attock City | 132 KV Sanjwal | PM Colony | 18910 | 09.05.2026 14.05.2026 19.05.2026 | 07:00 | 11:00 |  | PM Colony
12 | IESCO | Attock | Attock | Attock City | 133 KV Sanjwal | Air University | 18913 |  | 07:00 | 11:00 |  | Air University
1 | IESCO | City | City | Committee Chowk | 132 KV Cantt | Committee Chowk | 017915 | 07.05.2026 14.05.2026 | 07:00 | 11:00 | Bifurcation of 11 KV Tipu Road Feeder Emanating from 132 KV Cantt grid Station Under ELR Head | Committee Chowk and surrounding areas
2 | [5 empty] | Arya Mohallah | 017933 |  |  |  |  | Arya Mohallah, Dk. Elahi Bux
3 |  |  |  | Z.Haq |  | Zafar-ul-Haq | 017914 |  |  |  |  | Z.Haq Road, Murree Road, Sarfaraz Road, Dhok Khabba, Mukha Singh State, Millat colony and surrounding area.
4 |  |  |  | Gunjmandi |  | Fawara Chowk | 017934 |  |  |  |  | Fawara Chowk, Trunk Bazar, Talwaran Bazar, Sabzi Mandi and surrounding area.
5 | IESCO | Cantt | Cantt | Saddar | 132KV Cantt | Bank Road-I | 17901 |  |  |  |  | Bank Road-I & Surrounding area
6 | IESCO | Cantt | Cantt | Saddar | 132KV Cantt | City Center | 17925 |  |  |  |  | City Center & Surrounding area
7 | IESCO | Cantt | Cantt | Saddar | 132KV Cantt | Pakistan Railway | 17935 |  |  |  |  | Pakistan Railway
8 | IESCO | Cantt | Cantt | Civil Line | 132KV Cantt | Tipu Road | 17916 |  |  |  |  | Tipu Road & Surrounding area
9 | IESCO | Cantt | Cantt | Civil Line | 132KV Cantt | Dk. Farman Ali | 17922 |  |  |  |  | Dk. Farman Ali & Surrounding area
10 | IESCO | Cantt | Cantt | Tariqabad | 132KV Cantt | CMH Flats | 17936 |  |  |  |  | CMH Flats & Surrounding area
1 | IESCO | City | Westridge | Tarnol | 132 KV Tarnol | Bajniyal-II | 104911 | 12.05.2026 14.05.2026 | 08:00 Hrs | 11:00 Hrs | Stringing work IRO Safety Hazard work village barkat | Bajnial village
1 | IESCO | City | Westridge | Gulzar-e-Quaid | 132KV Chaklala | Sector-IV | 002536 | 07.05.2026 12.05.2026 16.05.2026 19.05.2026 23.05.2026 | 07:00 | 11:00 | Stringing of Work IRO Bifurcation of 11KV Dk. Gangal feeder emanating from 132KV Chaklala GSS under ELR Head (2k26-431 ELT-HT-01) | Airport Housing Society, Sector-4 (I.G.H Block) & Surrounding area.
2 | IESCO | City | Westridge | Gulzar-e-Quaid | 132KV Chaklala | APHS | 002526 |  | 07:00 | 11:00 |  | Airport Society, Dk. Anwar & Surrounding area.
3 | IESCO | Cantt | Chaklala | Chaklala | 132KV Chaklala | Rehmatabad-1 | 002519 |  | 07:00 | 11:00 |  | Rehmatabad-1 & Surrounding area
4 | IESCO | City | Westridge | Gulzar-e-Quaid | 132KV Chaklala | PAF | 002509 |  | 07:00 | 11:00 |  | PAF & Surrounding area.
5 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | Takbeer-I | 2543 |  | 07:00 | 11:00 |  | Takbeer Project & sorrounding area
9 | IESCO | Cantt | Cantt | Korang | 132KV NPF | NPF-I | 090003 | 09.05.2026 13.05.2026 16.05.2026 | 07:00 | 11:00 | For erection of poles IRO 11 KV Independent Feeder IRO Fedeation Employees Housing Society Lohi Bher Islamabad | NPF & Surrounding areas
10 | IESCO | Cantt | Cantt | Korang | 132KV NPF | NPF-II | 090004 |  | 07:00 | 11:00 |  | NPF & Surrounding areas
11 | IESCO | Cantt | Cantt | Korang | 132KV NPF | Doctor Town | 090016 |  | 07:00 | 11:00 |  | Doctor Town
12 | IESCO | Cantt | Cantt | Korang | 132KV NPF | PWD-I | 090014 |  | 07:00 | 11:00 |  | PWD'& Surrounding areas
13 | IESCO | Cantt | Cantt | Korang | 132KV NPF | PWD-II | 090015 |  | 07:00 | 11:00 |  | PWD'& Surrounding areas
1 | IESCO | Cantt | Mandra | Wadala | Rawat | Basali | 017728 | 11.05.26 14.05.26 19.05.26 | 0700 | 1100 | Erection of Poles /Fitting & Stringing of HT Conductor iro Deposit Feeder EXIMPO Cool Chains Pvt Ltd.Cold Storage at Haraka | BASALI, MOHRA KOTIAN, DK GURHA, DK JUMMA, CHANDNI CHOWK ETC
2 | IESCO | Cantt | Tariqabad | Adyala | 500 KV New Rawat | Jarar Camp | 064510 |  | 0700 | 1100 |  | JARAR CAMP & SURROUNDING AREA
3 | IESCO | Cantt | Mandra | Chak Beli Khan | 500 KV New Rawat | Bhall | 064507 |  | 0700 | 1100 |  | BHALL & SURROUNDING AREA
4 | IESCO | Cantt | Mandra | Wadala | 500 KV New Rawat | Jatha Hathial | 064503 |  | 0700 | 1100 |  | JHATHA HATHIAL, NAKRALI, CHAPPER, JABBAR MIANA, LARRI MALANA ETC
5 | IESCO | Cantt: | Mandra | Mandra | Gujar khan | LTC | 4914 | 16.05.26 20.05.26 23.05.26 | 0700 | 1100 | Completion of Deposit work iro Tariq sharif Smart city | LTC
6 | IESCO | Cantt | Mandra | Mandra | Gujar Khan | New Mandra | 004918 |  | 0700 | 1100 |  | DK. Farman Ali, Karyala, Dk. Habib, Thandi Sarak, Mohra Gattian, Jorian , etc
7 | IESCO | Cantt: | Mandra | Mandra | Gujar khan | Old Mandra | 4904 |  | 0700 | 1100 |  | Mandra. Chihari , Bochial , etc
8 | IESCO | Cantt: | Mandra | Mandra | Gujar khan | Hamid Jhangi | 4915 |  | 0700 | 1100 |  | Hamid Jhangi ,etc
9 | IESCO | Jhelum | Gujar Khan | City Gujar khan | Gujar khan | Hayat Sir Road | 4908 |  | 0700 | 1100 |  | W/No.19 Hayat Sir Road W/No.11
16 | IESCO | Jhelum | Jhelum-II | Sanghoi | Sanghoi | Khai Kulia | 126301 | 09.05.26 18.05.26 21.05.26 | 0700 | 1100 | Completion of Depsoit work Shifting of HT/LT Line Lillah to PD Khan Road | Khai Kula , Bin Shaheed, Daryala Etc
17 | IESCO | Jhelum | Jhelum-II | Sanghoi | Jhelum | Nathwala | 7716 |  | 0700 | 1100 |  | Maloot, Watalian, Potha, Badlot, Daryala, Village Jango,. Kot Baseera,
18 | IESCO | Jhelum | Jhelum-II | Sanghoi | Jhelum | Sanghoi | 7712 |  | 0700 | 1100 |  | Sanghoi , etc
19 | IESCO | Jhelum | Jhelum-II | Sanghoi | Jhelum | Safddar Shaheed | 7722 |  | 0700 | 1100 |  | Nawan Lok, Chotala, Khurd, Rasool Nagar, Bhimber
20 | IESCO | Cantt: | Rawat | Rawat | Gangal | Japan road | 110901 | 13.05.26 25.05.26 | 0700 | 1100 | Dismentling of PC Poles IRO Mobeen Abad Feeder Japan Road | Sihala . Jhandala . Gangal , Japan road , etc
21 | [8 empty] | 0700 | 1100
22 | [8 empty] | 0700 | 1100
23 | IESCO | Rawat | Rawat | Rawat | Gangal | Jhandala |  |  | 0700 | 1100 | For safety Pupose | Jhandala , etc
24 | IESCO | Jhelum | Jhelum-II | Sanghoi | 132KV Sanghoi | New Sanghoi | 126302 | 09.05.26 13.05.26 16.05.26 20.05.26 23.05.26 | 0700 | 1100 | Stringing of 11 KV Sanghoi Feeder | Sanghoi etc.
25 | IESCO | Jhelum | Jhelum-II | Sanghoi | 132KV Sanghoi | Chotala | 126303 |  | 0700 | 1100 |  | Chotala etc.
26 | IESCO | Jhelum | Jhelum-II | Sanghoi | 132KV Sanghoi | Khai Khulia | 126301 |  | 0700 | 1100 |  | Khai Kullian etc.
29 | IESCO | Jhelum | Jhelum-1 | Rajjar | 132KV Rajjar | Karyala | 047008 | 09.05.26 12.05.26 18.05.26 21.05.26 25.05.26 | 0700 | 1100
30 | IESCO | Jhelum | Jhelum-1 | Rajjar | 132KV Rajjar | Metro City | 047012 |  | 0700 | 1100
31 | IESCO | Jhelum | Jhelum-1 | Rajjar | 132KV Rajjar | Grand City | 047008 |  | 0700 | 1100
32 | IESCO | Jhelum | Jhelum-1 | Rajjar | 132KV Rajjar | Bolani | 047006 |  | 0700 | 1100
33 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | Abdullah Pur | 058206 | 12.05.26 19.05.26 | 0700 | 1100 | Shifting of line Lillah Jhelum Road | Chak Mujahid Shumali, Karyala, Chak Shadi, Pinanwal,
34 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | Jalal Pur | 058203 |  | 0700 | 1100 |  | Chak Mujahid Shumali, Karyala, Chak Shadi, Pinanwal,
35 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | Sagharpur | 058202 |  | 0700 | 1100 |  | Chak Mujahid Shumali, Karyala, Chak Shadi, Pinanwal,
36 | IESCO | Chakwal | P.D Khan | Pinanwal | Pinanwal | C.W.O. | 058204 |  | 0700 | 1100 |  | Army Area - Civil Work Organization.
37 | IESCO | Chakwal | P.D.Khan | Pinanwal | Pinanwal | DHARYALA JALIP | 058205 | 19.05.26 | 0700 | 1100 |  | Chak Mujahid, Dharyala Jalip, Khothian Jalip, Dera Khothian, Mirza Pur, Karim Pur, Jaiti Pur, Azam Pur, Burj Sattar, Fateh abad, Chak Hameed, Dhingwal, Chak Ali Shah, Adowal
38 | IESCO | Chakwal | P.D.Khan | Pinanwal | Dandot | Duffer | 29001 | 19.05.26 | 0700 | 1100 |  | P.D Khan. Katchery etc
39 | IESCO | Jhelum | Jhelum-I | Cantt | 132KV Jhelum | City Housing | 7729 | 11.05.26 16.05.26 20.05.26 23.05.26 | 0700 | 1100 | Errection of poles and stringing of ADS-IV Jhelum | City Housing Jhelum
40 | IESCO | Jhelum | Jhelum-I | Cantt | 132KV Jhelum | Sanghoi | 7712 |  | 0700 | 1100
41 | IESCO | Jhelum | Jhelum-I | Cantt | 132KV Jhelum | Safdar Shaheed | 7722 |  | 0700 | 1100
42 | IESCO | Jhelum | Jhelum-I | Cantt | 132KV Jhelum | Nathwal | 7716 |  | 0700 | 1100
43 | IESCO | Jhelum | Jhelum-I | Cantt | 132KV Jhelum | LangarPur | 7725 |  | 0700 | 1100 |  | Langar pur etc.
44 | IESCO | Jhelum | Jhelum-1 | Cantt | 132KV Jhelum | Akram Shaheed | 7719 | 13.05.26 18.05.26 25.05.26 | 0700 | 1100
45 | IESCO | Jhelum | Jhelum-1 | Cantt | 132KV Jhelum | Zubair Shaheed | 7717 |  | 0700 | 1100
46 | IESCO | Jhelum | Jhelum-II | Sanghoi | 132KV Sanghoi | New Sanghoi | 126302 | 11.05.26 16.05.26 | 0700 | 1100 | LV Work | Sanghoi etc.
47 | IESCO | Jhelum | Jhelum-II | Sanghoi | 132KV Sanghoi | Chotala | 126303 |  | 0700 | 1100 |  | Chotala etc.
48 | IESCO | Jhelum | Jhelum-2 | Dina.1 | 132Kv Dina | M. Riaz Shaheed | 46808 | 11.05.26 14.05.26 | 0700 | 1100 | LV Work | Chamala, Bora Jungla, Chak Akka, Dk. Awan, Kalowal
49 | IESCO | Jhelum | Jhelum-2 | Dina.1 | 132Kv Dina | Dina.3 (Rohtas) | 46803 |  | 0700 | 1100 |  | Rohtas,Chak Almas Etc
51 | IESCO | Jhelum | Jhelum-2 | Rural | 132KV Jhelum | Pakhwal | 7720 | 10.05.26 17.05.26 24.05.26 | 0700 | 1100 | 11KV Pakhwal Feeder | Village Pakhwal, Chak Daulat
52 | IESCO | Jhelum | Jhelum-1 | Urban | 132KV Jhelum | F-7 ( Kutchery) | 7707 | 10.05.26 17.05.26 24.05.26 | 0700 | 1100
53 | IESCO | Jhelum | Jhelum-1 | Urban | 132KV Jhelum | Ajmal Shaheed | 7718 |  | 0700 | 1100
54 | IESCO | Jhelum | Jhelum-1 | Urban | 132KV Jhelum | Karim Pura | 7729 |  | 0700 | 1100 |  | Karim Pura, Ramzan Pura, Etc
55 | IESCO | Jhelum | Jhelum-1 | Urban | 132KV Jhelum | Bilal Town | 7730 |  | 0700 | 1100 |  | Bilal Town, Bheri Colony, Ayesha Clinic
56 | IESCO | Jhelum | Jhelum-1 | Urban | 132KV Jhelum | Abbas Pura | 007727 |  | 0700 | 1100 |  | Abass Pura, Karim Pura, Ramzan Pura
57 | IESCO | Jhelum | Jhelum-2 | Rural | 132Kv Jhelum | Borian | 7726 |  | 0700 | 1100
58 | IESCO | Jhelum | Jhelum.2 | Rural | 132Kv Jhelum | F.2 (Chip Board) | 7702 |  | 0700 | 1100 |  | Kala Gurjan Ehsan Road Etc
59 | IESCO | Jhelum | Jhelum.2 | Rural | 132Kv Jhelum | Industrial | 7721 |  | 0700 | 1100 |  | S.I.E. Rathain
60 | IESCO | Jhelum | Jhelum.2 | Rural | 132Kv Jhelum | F.10 ( Kala Base) | 7710 |  | 0700 | 1100 |  | Kala Gurjan Ehsan Road Etc
| IESCO | Attock | Taxila | Sang Jani | 220 KV Sang Jani | Shah Allah Ditta | 081011 | 07.05.2026 11.05.2026 13.05.2026 16.05.2026 19.05.2026 22.05.2026 24.05.2026 26.05.2026 | 07:00 Hours | 09:00 Hours | AMI Project | GT Road,Convent School,Zila Tax,Madrassa Road
| IESCO | Attock | Taxila |  | 132 KV B-17 Grid | Sarai Kharbooza | 121802 | 09.05.2026 12.05.2026 14.05.2026 18.05.2026 20.05.2026 23.05.2026 25.05.2026 | 07:00 Hours | 09:00 Hours |  | Dhoke Abbasi,Johd,Sarai Kharbooza
1 | IESCO | Cantt | Mandra | Jatli | 132KV Jatli | Bhangali | 007406 | 13.05.2026 16.05.2026 | 8:00 | 11:00 | For Deposit work of Shifting of HT Line Crossing Over the Arazi Record Center Village Naseerabad | Bhangali & sorrounding area
1 | IESCO | Attock | Taxila | Taxila | 132 KV Taxila | Bhoi Gar | 021222 | 12.05.2026 13.05.2026 14.05.2026 | 09:00 Hours | 11:00 Hours | for Shifting of HT line Bhalar Top Taxila Safety Hazards | Village Bhoi Gar,Bhalar Top,Ihata Farooqia.
1 | IESCO | IBD | XEN-I | F-6 | B/Kahu | Punjab House | 122506 | 16.05.2026 21.05.2026 | 8:00: AM | 11:00: AM | Shifting of 05 No.11KV Feeder Overhead Line to Underground at sector F-5/2 Islamabad 2K25411DOP HT 40 | Punjab House
2 | IESCO | IBD | XEN-I | F-6 | B/Kahu | Khayban-E-Iqbal | 122505 |  |  |  |  | Khayban-e-Iqbal
3 | IESCO | IBD | XEN-I | F-6 | G-5 | F-6/2 | 75005 |  |  |  |  | F-6/2
4 | IESCO | IBD | B/Kahu | B/Kahu Rural | University | Bari Imam | 89212 |  |  |  |  | Bari Imam
5 | IESCO | IBD | B/Kahu | B/Kahu Rural | B/Kahu | Pir Sohawa | 122503 |  |  |  |  | Pir Sohawa
6 | IESCO | IBD | B/Kahu | B/Kahu Rural | B/Kahu | Saidpur | 122510 |  |  |  |  | Saidpur
1 | IESCO | IBD | XEN-I | Khanna Dak | NPF | Lohi Bher | 90002 | 19.05.2026 21.05.2026 | 8:00: AM | 11:00: AM | Erection of Poles/Stringing Work IRO 11KV Independent Feeder IRO Federatio Employees Housing Society Lohi Bher Islamabad | Lohi Bher,Koral Harn Mera Toot Stop
1 | IESCO | Jhelum | G. Khan | Sohawa | Gujar Khan | Kulia | 4909 | 15.05.26 18.05.26 22.05.26 | 0730Hrs | 1030 Hrs | Completion of deposit work Metro City Gujar Khan | Bhai khan, Missa
2 | IESCO | Jhelum | G. Khan | Guliana | Gujar Khan | Kountrilla | 4917 |  |  |  |  | Jero Ratial, Kharali,
3 | IESCO | Jhelum | G. Khan | Guliana | Sohawa | Pind Mattery Khan | 125003 |  |  |  |  | Aheer, Jhand Mehloo etc
4 | IESCO | Jhelum | G. Khan | Sohawa | Gujar Khan | Bhai Khan | 4919 |  |  |  |  | Jand Mehlu, Laddar
1 | IESCO | City | S.Town | F-Block | 132 KV GSS I-10 (T-III) | Holy Family Hospita | 006418 | 16.05.2026 | 0900 | 1100 | Shifting and dismantling of H.T line due to rehabilitationi and widening of 10 th Avenue | Holy Family
1 | IESCO | Cantt | Tariqabad | Adyala | 132 KV Adyala | Kalyal | 109101 | 14.05.2026 18.05.2026 21.05.2026 | 8:00 | 11:00 | For installation of Poles IRO Khawaja Corporation Chowk to Gorakh Pur Adyala Road Rawalpindi for road widening | Dk. Parian, Adyala Jail, Shahpur, Gorakhpur, Sammar Zar Cly, Shah pur Syedan.
2 | [5 empty] | Shahpur | 109103 |  |  |  |  | Kalyal Adyala Road, Khaja Corportion, Jarahi, Janjua Town, Natinal Housing Society
3 | [5 empty] | Adyala | 109106 |  |  |  |  | Adyala Road Khawaja Corporation, Mubarak Lane, Ali Town, Chungi No.20, Dhoke Noor etc.
4 | [5 empty] | Khasala | 109108 |  |  |  |  | Khasala village
5 |  |  |  | Tariq Abad |  | Humayun-1 | 109111 |  |  |  |  | Askari-14 & Surrounding areas.
6 |  |  |  | Adyala |  | Dhok Noor | 109104 |  |  |  |  | Dhoke Mehra, Dhoke Haji Imam Din, Dhoke noor, Tarbela Colony
7 | [5 empty] | Gulshanabad | 109102 |  |  |  |  | Gulshanabad
8 | [5 empty] | Rose Lane | 109105 |  |  |  |  | New Lalazar, 502 Workshop
9 | [5 empty] | Adyala Jail | 109107 |  |  |  |  | Adyala Jail
10 | [5 empty] | Shaigan | 109110 |  |  |  |  | Shaigan
11 | [5 empty] | Defence Road | 109113 |  |  |  |  | Defence Road.
12 | [5 empty] | Samar zar | 109114 |  |  |  |  | Samarzar Housing Society.
13 |  |  |  | Tariq Abad |  | Askari-14 | 109112 |  |  |  |  | Askari-14
14 |  |  |  | Adiala |  | PGHS | 109109 |  |  |  |  | Punjab Government Housing Scheme & sorrounding area
1 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Bhall | 064507 | 14.05.2026 19.05.2026 04.06.2026 | 8:00 | 11:00 | For compeletion of LV Work IRO Kalla Kotha | Bhall & sorrounding area
2 | IESCO | Cantt | Mandra | Jatli | 132KV Padshahan | Ramman | 007402 | 21.05.2026 03.06.2026 |  |  | For Safety Hazard Work Village Jhabgi Pheroo Jatli | Rama Village & sorrounding area
1 | IESCO | IBD | XEN-I | G-6 | Rawal | Club-I | 17417 | 15.05.2026 18.05.2026 | 8:00: AM | 11:00: AM | Sub Divisional Officer Rawal Dam at Rawal Dam Premises Islamabad | Sohan & Surrounding Areas
2 | IESCO | IBD | XEN-I | G-6 | Rawal | Filtration Plant | 17436 |  |  |  |  | Independent
3 | IESCO | IBD | XEN-I | G-6 | Rawal | Shahzad Town | 17424 |  |  |  |  | Shahzad Town
1 | IESCO | Chakwal | Talagang | Talagang City | Talagang | GPO CHOWK | 102406 | 14.05.2026 | 8:00 | 11:00 | For Installation of Optical Fiber Cable Network by Manager Safe City Project Talagang | Main Bazar TLG, Chowk Sadiqabad, Moh Eid Gha, Moh Jhatala, Gali Satian,
2 | [5 empty] | MALIKWAL | 102408 |  |  |  |  | Malikwal , Changee Chwok, Umer Masjid , Old Mandi Movisioan, Chah Fiaza, Thana
3 | [5 empty] | TALAGANG CITY | 102403 |  |  |  |  | Maddni Chowk, Degree Collage , Sultan Road, Mundial Chowk, Movisian Hospital,
4 | [5 empty] | MADINA TOWN | 102415 |  |  |  |  | Madina Town TLG, Dk Haider, new lorry Adda TLG, Banglow Noor Shah, Dk Ayub,
5 | [5 empty] | MOORAT | 102411 |  |  |  |  | Moorat, Chakwal Road, Dk Chabeel, Dk Jhammal, Kaloo, Dk Jhamal new Abidi,
6 | [5 empty] | KALOO | 102417 |  |  |  |  | Dk Jhammal, Kaloo, Dk Jhamal new Abidi, Dk Manigal, Dk Naina
7 | [5 empty] | MADINA TOWN | 102415 | 16.05.2026 |  |  |  | Madina Town TLG, Dk Haider, new lorry Adda TLG, Banglow Noor Shah, Dk Ayub,
8 |  |  | P.D.Khan | Kahoon | C.S.Shah | DALWAL | 24605 | 16.05.2026 18.05.2026 | 8:00 | 11:00 | For Completion of Safety Hazard Works Villages Dalwal, Dulmial, Deera Pajgran, Dhok Mughal | Katas, Fazalabad, Main road Tatral, Wahoola, Dalwal, Thoa Rajan, Badshahpur, Malkina, Warla, Maloot,
9 | [5 empty] | KATAS | 24602 | 20.02.2026 23.05.2026 25.05.2026 | 8:00 | 11:00 |  | Katas, Tatral, Dulmial, Dheri Syedan, Arrar, Dharyala Kahoon, Maghal, Badshahpur, Dalilpur, Khairpur
10 |  |  | Chakwal | Kallar Kahar | Noorpur Sethi | DHARUKNA | 59708 | 21.05.2026 | 8:00 | 11:00 | For Completion of LV Work Village Jhamra | Dharukna, Wasnal, Jhamra, Pahar Khan, Kahoot, Bhaseen, Taliaylah, Shery Wala Kahar.
1 | IESCO | City | Satellite Town | Gangal | 132 KV I-8 | Fazaiya | 061112 | 14.05.2026 21.05.2026 | 08:00 Hrs | 11:00 Hrs | Safety Hazard Work at Jamia Ghousia Rizvia St. No. 85 I-8/4 | Fazaiya Colony and surrounding areas
1 | IESCO | City | Westridge | Westridge | 132 KV KTM | Cheering Cross | 008602 | 14.05.2026 | 08:00 Hrs | 11:00 Hrs | Emergency Work Peshawer Road Underpass project | Gulnar Cly, Qasim Market, Raja Akram Road, Roomi Lane, Seham Road and surrounding areas
2 |  |  |  |  | 132 KV Pirwadhai | Cobe Lane | 043329 |  |  |  |  | Cob lane and surrounding area
1 | IESCO | City | Westridge | Kamalabad | 132 KV I-16 | Officer Colony | 104614 | 19.05.2026 | 08:00 Hrs | 11:00 Hrs | LV work near progressive school Dk. Gujran | Dk. Gujran, Officer Colony, Friends Colony, Hamza Colony and surrounding area
2 |  |  |  | Tarnol | 132 KV Tarnol | Bajnial-I | 104910 | 16.05.2026 18.05.2026 |  |  | LV work village Katarian | Bajniyal and surrounding area
1 | IESCO | City | Westridge | Tarnol | 132 KV KTM | Zarkoon Heights | 008628 | 20.05.2026 23.05.2026 | 08:00 Hrs | 11:00 Hrs | D/W Electricity connection to modern prison | Bhaddana and surrounding areas
2 |  |  |  |  | 132 KV F-16 | Bhadhana | 111404 |  |  |  |  | Zarkoon Heights
1 | IESCO | City | Satellite Town | Gangal | 132 KV Taramri | Al-Noor Colony | 105515 | 18.05.2026 | 08:00 Hrs | 11:00 Hrs | Erection of poles IRO Shifting of HT/LT line and transformer for rehabilitation/improvement of chowk and road from Chungi No. 08 to Khanna Pul Rawalpindi | Al-Noor Colony, Khanna Road Karimabad and surrounding areas
2 |  |  |  | Muslim Town | 132 KV Satellite Town | Shaheed Muhammad Din | 095818 |  |  |  |  | Khurram Colony, Band Khanna Road, Bhariy Colony and surrounding areas
3 |  |  |  | Gangal | 132 KV I-8 | Jinnah Camp | 061117 | 25.05.2026 |  |  |  | Jinnah Camp Complex
4 |  |  |  |  | 132 KV Taramri | Al-Noor Colony | 105515 |  |  |  |  | Al-Noor Colony, Khanna Road Karimabad and surrounding areas
5 |  |  |  | Sadiqabad | 132 KV Satellite Town | C-Block | 095831 | 20.05.2026 |  |  | Shifting of Underground 11 KV National Market Feeder to Overhead near 6th road Rawalpindi | C-Block, Dk.Khillo, Kurri Road
6 | [5 empty] | Sadiqabad | 095815 |  |  |  |  | Dk. Babu Irfan, S/Abad, M.Town, Affandi Colony and surrounding areas
7 |  |  |  | Ch.Chowk | 132 KV I-8 | A-Block | 061104 |  |  |  |  | A-Block, Dk. Paracha, C-Block, Murree Road and surrounding areas
8 |  |  |  | Sadiqabad | 132 KV Satellite Town | Affandi Colony | 095808 |  |  |  |  | S/Abad, M.Town, Affandi Colony and surrounding areas
9 |  |  |  | Ch.Chowk |  | National Market | 095822 |  |  |  |  | National Market, Asgharmall Scheme and surrounding areas
10 |  |  |  | F-Block |  | 4th Road | 095804 |  |  |  |  | Said Pur, B-Block, D-Block, Comm. Center, Dk. Hayat and surrounding areas
11 |  |  | City | Asgharmall |  | Asgharmall | 095805 |  |  |  |  | Asgharmall and surrounding areas
1 | IESCO | City Rwp | City | K.S.Syed | I-10 | Khayaban-E-Sir Syed | 6411 | 16.05.2026 | 9:00 | 11:00 | Shifting & Dismentling pf H/T line due to rehabilitation and widening of 10th Avenue | Sector-I & Sector-II and Arounding Srounding
2 | IESCO | City Rwp | City | K.S.Syed | I-10 | Amin Town | 6437 |  |  |  |  | Amin Town, Dk Najoo Bazar
3 | IESCO | City Rwp | City | K.S.Syed | I-10 | Muhammadi Chowk | 6438 |  |  |  |  | Sect-III, Sect-4-B, Muhammdi Chowk Main Road K.S.Syed
4 | IESCO | IBD | Div-II | I-10 | I-10 | Muhammad Hussain Steel | 006417 |  |  |  |  | Sector I-10/4
5 | IESCO | IBD | Div-II | I-10 | I-10 | I-10/4 | 006408 |  |  |  |  | Sector I-10/4